| Summary |  |
| --- | --- |
| Application Details |  |
| Permit Number | CG0084201 |
| Application Reference | PAN-032787 |
| Submission Batch | AMP8 UMON 3 - Batch 6 (12/05/2026) |
| NEP Driver | AMP8 W_U_MON3 |
| Unique NEP ID | DCWW100393a |
| Operator Name | Dŵr Cymru Cyfyngedig |
| Site/Asset Name | Trefriw Wastewater Treatment Works |
| Environment Team | Conwy |
| Area | North West |
| Local Authority | Conwy County Borough Council |
| Allocated permitting officer | Oluwasegun Tinubu |

| Dates |  |
| --- | --- |
| Arrived to Permit Delivery Team | 12/05/2026 |
| Payment / added to AMP tracker | 12/05/2026 |
| Arrived with Permit Officer | 13/05/2026 |
| Duly Made Decision | 15/05/2026 |
| Duly Made Notification Sent | 12/05/2026 |

| Administrative Checks |  |  |  |
| --- | --- | --- | --- |
| Correct submission spreadsheet used |  |  | YES |
| Correct variation type and fee |  |  | YES |
| Variation type: | Minor | Fee: | £915.00 |
| Basic details (site name, address) correct |  |  | YES |
| All documents saved to the DMS |  |  | YES |

| Basic Technical Checks |  |
| --- | --- |
| Correct permit number supplied | YES |
| Relevant NGRs provided and correct | YES |
| Information provided matches previous permit (e.g. screen size, weir setting, DWF) | YES |
| Site plan provided and correct | YES |
| PSKPM provided (if applicable) | YES |
| Receiving waters correct? | YES |

| AMP8 UMON 3 Driver specific |  |
| --- | --- |
| Current permit was varied for UMON 3/4 drivers in AMP7 | YES |
| NGR provided for MCERT’d EDM | YES |
| EDM MCERTS certificate been supplied | YES |
| EDM MCERTS certificate has been signed off | YES |