| Summary |  |
| --- | --- |
| Application Details |  |
| Permit Number | AN0308601 (to be consolidated with AN0308501) |
| Application Reference | PAN-032350 |
| Submission Batch | AMP7 UMON 3&4 31/03/2026 – single application |
| NEP Driver | AMP7 UMON 3 & 4 |
| Unique NEP ID | N/A |
| Operator Name | Dŵr Cymru Cyfyngedig |
| Site/Asset Name | Cardiff Eastern District Pumping Station |
| Environment Team | Cardiff & Vale of Glamorgan |
| Area | SE |
| Local Authority | Cardiff |
| Allocated permitting officer | Thomas Dauncey |

| Dates |  |
| --- | --- |
| Arrived to Permit Delivery Team | 31/03/2026 |
| Payment / added to AMP tracker | 02/04/2026 |
| Arrived with Permit Officer | 03/04/2026 |
| Duly Made Decision | 10/06/2026 |
| Duly Made Notification Sent | 10/06/2026 |
| RFI Sent | 16/04/2026 |

| Administrative Checks |  |  |  |
| --- | --- | --- | --- |
| Correct submission spreadsheet used |  |  | N/A Online Application Form |
| Correct variation type and fee |  |  | YES / NO |
| Variation type: | Substantial | Fee: | £ 4,730 |
| Basic details (site name, address) correct |  |  | YES |
| All documents saved to the DMS |  |  | YES |

| Basic Technical Checks |  |
| --- | --- |
| Correct permit number supplied | YES |
| Relevant NGRs provided and correct | NO – mostly missing, will request list of required NGRS |
| Information provided matches previous permit (e.g. screen size, weir setting, DWF) | NO – not provided, will request confirmation |
| Site plan provided and correct | NO – incorrect labelling for UMON3&4. NGRs missing. |
| PSKPM provided (if applicable) | Not provided – requested one |
| Receiving waters correct? | YES |

| Only complete the following if the variation is Not Duly Made |  |
| --- | --- |
| Date of Not Duly Made decision | 16/04/2026 |
| Reason for Not Duly Made decision | Missing vital information, need clarification on conflicting information, PSKPM required. 30/04/2026 – Most information was provided. Emergency Sampling NGRs were missing. Have emailed to request. Will Duly make when we receive. NGRs received 10/06/2026. |
| Deadline for RFI response | 30/04/2026 |