## Consent Application information
| If FE permit is to be or has already been consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities |  |  |  |  | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Current permit in modern EPR format? | Address | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | Receiving Waters Name | DWF m3/day | Overflow / weir setting l/s | Screen Size | Storm tank / storage capacity | Non-standard operating techniques? | Other Comments
Llanuwchllyn WWTW | CM0000801 | N/A | N/A | No | North of Llanuwchllyn, Bala, Gwynedd, LL23 7TW | SH 88098 30300 | N/A | N/A | N/A | N/A | SH 87826 30550 | N/A | N/A | SH 87825 30523 | N/A | N/A | N/A | N/A | N/A | N/A | Afon Twrch | 363.2 | N/A | N/A | N/A | None | Also requires 3 in 5 DWF conditions to be added. Unpermitted for Storm activity - on unpermitted list