Please note – this document is purely to assist you in making your decision and may not necessarily cover all information you require.

| Deployment Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-032388 |
| Permit Reference Number: | EPR/QP3592ZY |
| Permit Holder: | Geo2 Remediation Ltd |
| Site Address: | Enterprise Autos, Newbridge Bypass A467,Crumlin, NP11 4QJ |
| Grid Reference: | 321420 198060 |

| Administrative Checks- By admin officer |  |  |
| --- | --- | --- |
|  | Comments |  |
| Consultation | Waste reg team: SE.waste.queries@cyfoethnaturiolcymru.gov.uk Environment team: ET.NewportCaerphilly&BlaenauGwent@cyfoethnaturiolcymru.gov.uk NLO: No NLO contact in place Land/groundwater remediation only: Geoscience: geoscience@cyfoethnaturiolcymru.gov.uk Local Authority Contaminated Land: crm@caerphilly.gov.uk |  |
| Date due: | 23/04/2026 |  |
| Permit compliance rating and multiplier |  | Rating A- 100% |

| Administrative Checks- By determining officer |  |  |
| --- | --- | --- |
|  | Action completed or document provided? (Yes, No or n/a) | Comments |
| Correct fee? | N | See permit compliance rating and multiplier |
| Original fee received and cleared | Y | Amount: £2,251.00 Date cleared on MyNRW: 08/04/2026 Transaction number: 2153688 Ref: BS/080426/22/ GEO2 REMEDIATION LGEO2 2026/27 charging scheme states a land remediation deployment fee is £2,160. The applicant therefore needs to be refunded the difference to the sum of £91. |
| Additional fee received and cleared | n/a |  |
| MyMap report completed? | Y |  |
| Location map | Y |  |
| Site Specific Risk Assessment | Y | A (basic) CSM has been provided in doc ref: v3 MPP2 Enterprise 0816 Supporting Information2 |

| Saving documents- by determining permitting officer | Y N |
| --- | --- |
| Save embedded application documents from application form |  |

Word versions of online forms - NRW View (sharepoint.com)

| # About your permit | Y N n/a | Comments |
| --- | --- | --- |
| # What permit is being deployed under? | # - SR2008 No27 |  |
| # Has the permit number been given? | # Y |  |
| # Is the base permit still live? | # Y | # Active on EA public register |
| # Has there been any variations | # n/a |  |
| # Was the permit issued by the Environment Agency or NRW? | # Environment Agency | # SR2008 No27 based on EA permit : # EA |
| # Has name and address of permit holder been provided? | # Y |  |
| # Has contact information been provided? | # Y |  |

| # Deployment details | Y N n/a | Comments |
| --- | --- | --- |
| # Have we been consulted on, and agreed to, the Conceptual Site Model/Risk Assessment/Remediation Strategy? | # Y |  |
| # If yes, have references and contact information been provided? | # Y | # Incident Reference 2410575 # Helen Jordan, Technical Support Officer # Anti-Pollution Works Notice 24.7.25 # Gavin Dodd, Environment Officer # Hannah Biggs, Specialist Advisor Contaminated Land |
| # If yes, has there been any changes? | # N |  |
| # Document uploaded? | # n/a |  |
| # Does the applicant want this application to be assessed without having remediation targets pre-agreed by us? | # n/a |  |
| # Has there been any other pre-application advice? | # N |  |
| # If yes, have references and contact information been provided? | # n/a |  |

| # About the site | Y N n/a | Comments |
| --- | --- | --- |
| # The site name, address, NGR given? | # Y | # Easting and northing given the grid reference is # ST 21420 98060 |
| # Does the site address and 12 digit grid reference match? | # Y |  |
| # Is the site located within the boundary of another Environmental Permit? | # N |  |
| # If yes, have they provided details? | # n/a |  |
| # Site plan provided? | # Y | # Two site plans have been provided one before site development and one after redevelopment. The plant equipment pumping and treatment works will be moved. The two site plans show this Cleary and is within the deployment area. # No further actions needed. |
| # Has there been an approved deployment in the same area within the last 12 months? | # N |  |
| # Does it include the following? - Operating boundary - Security and access arrangements - Areas of waste soils and contaminated material, substances or products for remediation by the mobile plant - Location/siting of principal plant and equipment - Process, treatment, storage, and quarantine areas - Drainage systems - Location of boundary monitoring points and pollution control units - Potential receptors (i.e. housing, watercourses etc.) - Protected sites (if applicable i.e. SAC, SPA, Ramsar or SSSI within 1km) | # 1. Y # 2. Y # 3. Y # 4. Y # 5. Y # 6. Y # 7. Y # 8. Y # 9. n/a |  |

| # Waste types and quantities | Y N n/a | Comments |
| --- | --- | --- |
| # Has the waste types, quantities etc and treatment types been provided? | # Y | # Contaminated # Groundwater # 19 13 # 07* # Pump and Treat, with oil/water/silt # separation and carbon filtration |
| # Are the waste types and quantities from specified in the operator’s permit? | # Y | # See comments at the bottom of the decision document. |
| # Has the document been uploaded? | # Y | # Geo2. 25.816.18.3. Remediation Strategy |

| # Specified activities to be carried out on site | Y N n/a | Comments |
| --- | --- | --- |
| # Has details on suitability of treatment methods been provided? | # Y | # See comments at bottom of the decision document |
| # Has the operator told us which treatment technology they will use? | # Y |  |
| # Are all of the proposed treatment technologies listed in the operator’s permit? | # Y |  |
| # Is the treatment technology fit for purpose? | # Y | # See comments at bottom of the decision document |
| # Has details on residual materials/waste been provided? | # Y |  |
| # Are we satisfied that these will be handled appropriately? | # Y |  |
| # Has details on quarantine facilities been provided? | # N | # Online form states recovered fuel will be quarantined and stored in 200 litre drums but is missing information on: # that the drums are within a bund # and impermeable surfacing. # This was resolved in the request for information (see comments at the bottom of the decision document). |
| # Are we satisfied the maximum capacities of the quarantine facilities are suitable to prevent or minimise pollution? | # Y | # See above comment. |
| # Have the locations of the quarantine facilities been included on the site plan? | # Y |  |
| # Has the document been uploaded? | # Y | # Geo2. 25.816.18.3. Remediation Strategy |

| # Activities involving the import of waste | Y N n/a | Comments |
| --- | --- | --- |
| # Will the activity involve the import of wastes? | # N |  |
| # Does the site form part of a Cluster project? * | # N |  |
| # Has waste acceptance information been provided? | # n/a |  |
| # Has the document been uploaded? | # n/a |  |

| # Duration of this deployment | Y N n/a | Comments |
| --- | --- | --- |
| # Is the duration of the deployment 12 months or less? | # Y | # See comments at the bottom of the decision document. |

| # Management supervision | Y N n/a | Comments |
| --- | --- | --- |
| # Has the technically competent manager details been provided? | # Y |  |
| # Has the nominated competent person details been provided? | # Y |  |
| # Has the site supervision plan been provided? | # Y |  |
| # Is the site supervision plan appropriate? | # N | # One visit every fortnight. RFI to ask how long in hours this site visit will be. # This was resolved in the request for information (see comments at the bottom of the decision document). |
| # Has the document been uploaded? | # Y | # MPP2 Enterprise 0816 Supporting Information2 |

| # Conceptual site model and risk assessment | Y N n/a | Comments |
| --- | --- | --- |
| # Has the conceptual site model (CSM)/risk assessment been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # MPP2 Enterprise 0816 Supporting Information2 |

| # Pollution control | Y N n/a | Comments |
| --- | --- | --- |
| # Have the pollution control measures been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # MPP2 Enterprise 0816 Supporting Information2 |

| # Emission monitoring plans | Y N n/a | Comments |
| --- | --- | --- |
| # Has the site specific monitoring plan been provided? # The following may be applicable: - Groundwater - Surface water - Soil gases - Air emissions - Noise - Vibrations - Odour - Volatile Organic Compounds | # Y |  |
| # Have the indicator parameters been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # MPP2 Enterprise 0816 Supporting Information2 |

| # Record Keeping - Commissioning, operating and maintenance | Y N n/a | Comments |
| --- | --- | --- |
| # Details of record keeping given? | # Y |  |
| # Document uploaded? | # Y | # MPP2 Enterprise 0816 Supporting Information2 |

| # Supporting documents | Y N n/a | Comments |
| --- | --- | --- |
| Have relevant documents been ticked and supplied? - Site plan showing all required features - Conceptual Site Model and Risk Assessment - Pollution Control - Monitoring Plans - Record Keeping details | # 1. Y # 2. Y # 3. Y # 4. Y # 5. Y |  |

| # Confidentiality and national security | Y N n/a | Comments |
| --- | --- | --- |
| # Has confidentially been claimed? | # N |  |
| # Has national security been claimed? | # N |  |

| # Declaration | Y N n/a | Comments |
| --- | --- | --- |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | # n/a |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | # Y |  |
| # Has a relevant person or approved person signed the declaration? | # Y |  |

| Site specific risk assessment | Y N n/a | Comments |
| --- | --- | --- |
| If there are other potential sensitive receptors has a site specific risk assessment been submitted? | Y | A conceptual site model has been provided. |
| Does the site specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards | Y |  |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution | N | An ancient semi natural woodland borders deployment boundary. The Coed Goferau, Crumlin SINC borders deployment boundary. A protected habitat borders the deployment boundary. A request for information was sent asking for these receptors to be included in the conceptual site model. |
| - Measures that will minimise or mitigate the impact will be put in place | Y |  |

| SSSI/ Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 1 km of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | N |  |
| Has a “likely significant effect” been identified? - If yes, consult with the relevant Environment team. - If no, save the Appendix 4 to the DMS as “information only” | n/a |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site (project) within 1km of a European Site (SPA, pSPA, SAC or cSAC) or a Ramsar site? | No- there is no conceivable impact pathway between the project and any European site features, due to the location of the project. |

Comments

Consultation responses: The comments left on the from were considered during the determination of this deployment.

MyMap and location assessment: For details of the Mymap assessment see the DMS.

Request for information: 15/06/2026 - Confirm the quarantine area and recovered fuel is located in areas that use secondary contaminant i.e. bunding and the underlying surfacing is impermeable. The applicant has confirmed this. - Provide the duration (in hours) of each fortnightly site visit. The applicant has confirmed the fortnightly site visit will be minimum of 2 hours and typically 4 hours. NRW have considered the visit duration as appropriate considering the plant can operate autonomously and has telemetry installed. NRW considers the site visit duration proportionate to the environmental risks posed by the deployment. - Update the CSM so that it includes the identified sensitive receptors ancient woodlands & local wildlife site. The applicant has updated the CSM to acknowledge these receptors and the mitigation measures in place to reduce detriment to these sensitive sites. NRW agree with the CSM. No further action required.

Other information to note: Waste types and quantities 2.2 of the permit (SR2008No27) states the permit can accept contaminated substances which 19 13 07* aqueous liquid wastes and aqueous concentrates from groundwater remediation containing hazardous substances would fall under (contaminated groundwater containing petrochemicals). The quantity to be treated is agreed in the deployment application in this case 36500 m3. i.e. 100 m3 per day. Which matches the proposals of the deployment application. Suitability of treatment methods The application has proposed remediation of the contaminated ground water by pump and treat, with oil/water/silt separation and carbon filtration. This method is complaint with SR2008No27 as a treatment type based on Ex-situ treatment of pumped groundwater via filtration and carbon adsorption. NRW considers the remediation method as appropriate. Water resources and Water quality permits Groundwater will be abstracted in accordance with abstraction license WA/056/0062/0003 via a water resources permit that is effective and expires on 31/03/29 via pump and treat. The abstract license permits 43.2 m3 per day at point A. While point B and C permits 28.8m3 each per day. Totalling 100m3 per day and matches the proposal of the deployment application. The abstraction is also compliant with annual quantities defined in this permit. Treated wastewater will be returned into the ground using soakaway boreholes hydraulically upgradient of the hydrocarbon source under a water quality permit EPR/DB3693ZK. This permit has been issued and was effective from 13/05/2026. This permits the discharge of 100m3 per day back to ground water by two discharge consents D1 and D2. Table s3.1a has specified the point source emissions to groundwater and specified limits. Duration of the deployment The applicant has stated the deployment may last more than 12 months in the online form but are aiming to compete works within 12 months. In the request for information it was explained to the applicant the 12 month period for the deployment activity does not start until the first day of operations and not from when a deployment application is issued (for land remediation deployments). It was also explained to the applicant if there is an indication during the deployment activity, works are likely to take longer than 12 months that the applicant contact NRW as soon as possible so a decision on the best route forward is made.

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Permitting Officer: Owen Clee Date: 16/06/2026 |  |
| ## Team leader or ToP approval: Huw Davies Date: 16/06/2026 |  |

| Appendix 1 – Time recording |  |
| --- | --- |
| Admin/consultations (Permit support) | 60 |
| Determination (waste permitting and consultation response time) | 1,600 |
| Total (to be added to PALS) | 1,660 minutes |

| Appendix 2 – Location Checks |  |  |
| --- | --- | --- |
| Designations | Present? | Comments |
| Special protection areas (SPA) Potential special protection areas (pSPA) | N |  |
| Special areas of conservation (SAC) Candidate special areas of conservation (cSAC) | N |  |
| Ramsar sites | N |  |
| Site of Special Scientific Interest (SSSI) | N |  |
| Ancient woodland | Y | An ancient semi natural woodland borders deployment boundary. |
| Areas of Outstanding Natural Beauty (AONB) | N |  |
| Heritage Coast | N |  |
| Local nature reserves | N |  |
| Local wildlife sites | Y | The Coed Goferau, Crumlin SINC borders deployment boundary. |
| National nature reserves | N |  |
| National parks | N |  |
| Scheduled ancient monuments | N |  |
| World Heritage Sites | N |  |
| Controlled waters such as rivers and lakes | Y | The Ebbw River is located 37 metres away from the deployment boundary. |
| European Protected Species | N |  |
| Nationally Protected Species | N |  |
| Section 7 Priority species | N |  |
| Section 7 Priority habitats | Y | Lowland heathland protected habitat borders the deployment boundary. |

AONB’s, Ancient Woodlands, Scheduled Ancient Monuments, Local and National Nature Reserves, National Parks and Heritage Coasts.

Potential hazards include dust, odours and run-off / leachate.

Receptors to be affected include environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities.