| Permit Number: | PAN-004174 |
| --- | --- |
| Applicant name: | Radnorshire Wildlife Trust |
| Site Address: | Gilfach Nature Reserve, St. Harmon, Rhayader, LD6 5LF |
| Discharge Point NGR: | SN 96479 71672 |
| Respond by date: | 29/01/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The applicant proposes to install a new infiltration system to connect to an existing septic tank on site, it is a new discharge as the building was previously derelict and no discharge existed. The system will serve a single domestic property with 3 inhabitants and 3 public toilets on the nature reserve. The infiltration system will be designed and built in accordance with the relevant British Standard and the discharge will consist of a maximum of 1m3/day of effluent which is domestic in nature.

Habitats Screening Report – Designations or protected species/habitats:

The screening report can be found on the DMS here

The discharge is directly within the Marcheini Uplands, Gilfach Farm and Gamallt SSSI, an Appendix 4 has been completed but it has been filed for audit as none of the ‘operations requiring consent’ relate to this proposal.

A Form 1 has not been completed for the Elenydd-Mallaen SPA as the discharge outside of the designated boundary. Although the features of the SPA are mobile species and may roost outside of the boundary, the small scale of the engineering works and the nature of the discharge will mitigate any impact on the designated species.

If you disagree with the above justifications, please let me know ASAP and I will complete a form 1 or expand further and consult on my Appendix 4.

Risk Assessment Results (modelling or L1 Risk Assessment):

A L1 Risk assessment has been completed and can be found on the DMS here.

The score on the assessment is 1.

Miscellaneous:

This proposal has stemmed from a lottery grant providing funding for the development of facilities within the nature reserve with the hope being that this will improve engagement from the public with the local biodiversity.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Geoscience response can be found on an email thread on the DMS, no other internal consultation responses were received.

The permit can be issued.

Date: 30/01/2019