Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	BP0044401

	Application Reference
	PAN-033327

	Submission Batch
	AMP8 UMON 3 - Batch 7 (03/07/2026)

	NEP Driver
	AMP8 W_U_MON3

	Unique NEP ID
	DCWW100183a

	Operator Name
	Dŵr Cymru Cyfyngedig 

	Site/Asset Name
	Crymych Wastewater Treatment Works

	Environment Team
	Pembrokeshire

	Area
	South West

	Local Authority
	Pembrokeshire 

	Allocated permitting officer
	Oluwasegun Tinubu



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	03/07/2026

	Payment / added to AMP tracker
	03/07/2026

	Arrived with Permit Officer
	06/07/2026

	Duly Made Decision
	10/07/2026

	Duly Made Notification Sent
	10/07/2026



	Administrative Checks

	Correct submission spreadsheet used
	YES 

	Correct variation type and fee
	YES 

	Variation type: 
	Minor	Fee:
	£915.00

	Basic details (site name, address) correct
	YES 

	All documents saved to the DMS
	YES



	Basic Technical Checks

	Correct permit number supplied
	YES 

	Relevant NGRs provided and correct
	YES 

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	YES

	Site plan provided and correct
	YES 

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	YES



	AMP8 UMON 3 Driver specific

	Current permit was varied for UMON 3/4 drivers in AMP7
	YES

	NEP checked
	YES

	NGR provided for MCERT’d EDM
	YES 

	EDM MCERTS certificate or report been supplied
	YES 
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