Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	AN0021801

	Application Reference
	PAN-030785

	Submission Batch
	AMP6 and AMP7 Resubmission (29/10/2025

	NEP Driver
	N/A

	Unique NEP ID
	N/A

	Operator Name
	Dŵr Cymru Cyfyngedig 

	Site/Asset Name
	Barry Town PS (Long Sea Outfall)

	Environment Team
	Cardiff & Vale

	Area
	SE

	Local Authority
	Vale of Glamorgan

	Allocated permitting officer
	Tom Dauncey



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	29/10/2025

	Payment / added to AMP tracker
	Payment received - BS/081025/04 DWR CYMRU WELSH WADCWW 0105227131 K

	Arrived with Permit Officer
	29/10/2025

	Duly Made Decision
	27/02/2026

	Duly Made Notification Sent
	02/03/2026

	RFI Sent 
	26/11/2025



	Administrative Checks

	Correct submission spreadsheet used
	NO – but information was elsewhere in the application

	Correct variation type and fee
	YES 

	Variation type: 
	Choose an item.	Fee:
	£2957

	Basic details (site name, address) correct
	YES 

	All documents saved to the DMS
	YES 



	Basic Technical Checks

	Correct permit number supplied
	YES 

	Relevant NGRs provided and correct
	YES

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	YES 

	Site plan provided and correct
	YES 

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	YES 



	Other/Driver specific 

	Spill triggers

	Type of trigger (e.g. SFW or BW)
	BW 

	Trigger value 
	application states a “14 BW Spill Limit and AMP9 Improvement condition to be included (as agreed in COG Moors / Barry Catchment Workshop in March 2025)” but no information on what that is. Policy don’t know, have contacted the Environment Team who made the agreement. 



	Only complete the following if the variation is Not Duly Made

	Date of Not Duly Made decision
	26/11/2025

	Reason for Not Duly Made decision
	Additional information – see below

	Deadline for RFI response
	Was ongoing – see below



Additional notes: The Environment Team were consulted with to confirm a future effective date and trigger limit with the Operator, but protracted the RFI period. 
An Operating Technique was agreed to be supplied between the Operator and Environment Team but the document was not site specific and required a further RFI. An new OT was provided. 
The application made no reference to an emergency discharge activity and a PSKPM had to be provided after it was Duly Made. 
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