| Summary |  |
| --- | --- |
| Application Details |  |
| Permit Number | AN0021801 |
| Application Reference | PAN-030785 |
| Submission Batch | AMP6 and AMP7 Resubmission (29/10/2025 |
| NEP Driver | N/A |
| Unique NEP ID | N/A |
| Operator Name | Dŵr Cymru Cyfyngedig |
| Site/Asset Name | Barry Town PS (Long Sea Outfall) |
| Environment Team | Cardiff & Vale |
| Area | SE |
| Local Authority | Vale of Glamorgan |
| Allocated permitting officer | Tom Dauncey |

| Dates |  |
| --- | --- |
| Arrived to Permit Delivery Team | 29/10/2025 |
| Payment / added to AMP tracker | Payment received - BS/081025/04 DWR CYMRU WELSH WADCWW 0105227131 K |
| Arrived with Permit Officer | 29/10/2025 |
| Duly Made Decision | 27/02/2026 |
| Duly Made Notification Sent | 02/03/2026 |
| RFI Sent | 26/11/2025 |

| Administrative Checks |  |  |  |
| --- | --- | --- | --- |
| Correct submission spreadsheet used |  |  | NO – but information was elsewhere in the application |
| Correct variation type and fee |  |  | YES |
| Variation type: | Choose an item. | Fee: | £2957 |
| Basic details (site name, address) correct |  |  | YES |
| All documents saved to the DMS |  |  | YES |

| Basic Technical Checks |  |
| --- | --- |
| Correct permit number supplied | YES |
| Relevant NGRs provided and correct | YES |
| Information provided matches previous permit (e.g. screen size, weir setting, DWF) | YES |
| Site plan provided and correct | YES |
| PSKPM provided (if applicable) | N/A |
| Receiving waters correct? | YES |

| Other/Driver specific |  |
| --- | --- |
| Spill triggers |  |
| Type of trigger (e.g. SFW or BW) | BW |
| Trigger value | application states a “14 BW Spill Limit and AMP9 Improvement condition to be included (as agreed in COG Moors / Barry Catchment Workshop in March 2025)” but no information on what that is. Policy don’t know, have contacted the Environment Team who made the agreement. |

| Only complete the following if the variation is Not Duly Made |  |
| --- | --- |
| Date of Not Duly Made decision | 26/11/2025 |
| Reason for Not Duly Made decision | Additional information – see below |
| Deadline for RFI response | Was ongoing – see below |

Additional notes: The Environment Team were consulted with to confirm a future effective date and trigger limit with the Operator, but protracted the RFI period.

An Operating Technique was agreed to be supplied between the Operator and Environment Team but the document was not site specific and required a further RFI. An new OT was provided.

The application made no reference to an emergency discharge activity and a PSKPM had to be provided after it was Duly Made.