Please note – this document is purely to assist you in making your decision and may not necessarily cover all information you require.

| Deployment Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-033202 |
| Permit Reference Number: | EPR/AB3107SF |
| Permit Holder: | John F Hunt Regeneration Limited |
| Site Address: | Land at Shotton Steel Works, Zone 4 Deeside Industrial Park, Weighbridge Road, Deeside, CH5 2NH |
| Grid Reference: | SJ 31228 70408 |

| Administrative Checks- By admin officer |  |  |
| --- | --- | --- |
|  | Comments |  |
| Consultation | Waste reg team: WasteReg.NE@cyfoethnaturiolcymru.gov.uk Environment team: WrexhamFlintshireEnvironmentTeam@cyfoethnaturiolcymru.gov.uk NLO: No NLO contact Land/groundwater remediation only: Geoscience: geoscience@cyfoethnaturiolcymru.gov.uk Local Authority Contaminated Land: pollution.control@flintshire.gov.uk |  |
| Date due: | 09/07/2026 |  |
| Permit compliance rating and multiplier |  | Rating A- 100% |

| Administrative Checks- By determining officer |  |  |
| --- | --- | --- |
|  | Action completed or document provided? (Yes, No or n/a) | Comments |
| Correct fee? | Y | See permit compliance rating and multiplier |
| Original fee received and cleared | Y | Amount: £2,160 Date cleared on MyNRW: 17/06/2026 Transaction number: 2156904 MyNRW ref: BS/170626/38 JOHN F HUNT REGENEFP 17/06/26 1203200000001780414262 |
| Additional fee received and cleared | n/a |  |
| MyMap report completed? | Y |  |
| Location map | Y |  |
| Site Specific Risk Assessment | Y |  |

| Saving documents- by determining permitting officer | Y N |
| --- | --- |
| Save embedded application documents from application form | Y |

Word versions of online forms - NRW View (sharepoint.com)

| # About your permit | Y N n/a | Comments |
| --- | --- | --- |
| # What permit is being deployed under? | # SR2008 No27 |  |
| # Has the permit number been given? | # Y |  |
| # Is the base permit still live? | # Y | # English –live on EA public register |
| # Has there been any variations | # N |  |
| # Was the permit issued by the Environment Agency or NRW? | # Environment Agency | # Using SR2008 No27 EA version. |
| # Has name and address of permit holder been provided? | # Y |  |
| # Has contact information been provided? | # Y |  |

| # Deployment details | Y N n/a | Comments |
| --- | --- | --- |
| # Have we been consulted on, and agreed to, the Conceptual Site Model/Risk Assessment/Remediation Strategy? | # Y |  |
| # If yes, have references and contact information been provided? | # Y |  |
| # If yes, has there been any changes? | # N |  |
| # Document uploaded? | # Y |  |
| # Does the applicant want this application to be assessed without having remediation targets pre-agreed by us? | # n/a |  |
| # Has there been any other pre-application advice? | # N |  |
| # If yes, have references and contact information been provided? | # n/a |  |

| # About the site | Y N n/a | Comments |
| --- | --- | --- |
| # The site name, address, NGR given? | # Y |  |
| # Does the site address and 12-digit grid reference match? | # Y |  |
| # Is the site located within the boundary of another Environmental Permit? | # N |  |
| # If yes, have they provided details? | # n/a |  |
| # Site plan provided? | # Y |  |
| # Has there been an approved deployment in the same area within the last 12 months? | # N |  |
| # Does it include the following? - Operating boundary - Security and access arrangements - Areas of waste soils and contaminated material, substances or products for remediation by the mobile plant - Location/siting of principal plant and equipment - Process, treatment, storage, and quarantine areas - Drainage systems - Location of boundary monitoring points and pollution control units - Potential receptors (i.e. housing, watercourses etc.) - Protected sites (if applicable i.e. SAC, SPA, Ramsar or SSSI within 1km) | # 1. Y # 2. Y # 3. Y # 4. Y # 5. Y # 6. Y # 7. Y # 8. Y # 9. Y | # Doc ref used : # Drawings.pdf # TE1920TE00XXRPGE008V05 # Interim ROARS Hotspot # and Unexpected Contam.pdf |

| # Waste types and quantities | Y N n/a | Comments |
| --- | --- | --- |
| # Has the waste types, quantities etc and treatment types been provided? | # Y | # Concrete 20,000 m3 17 01 01 # Brick 10,000 m3 17 01 02 # Soils and stones 130,000 m317 05 03* # Treatment: Screening/particle size reduction. |
| # Are the waste types and quantities from specified in the operator’s permit? | # Y | # 2.2.1 of the permits allows waste soils and contaminated material, substances or products. Natural resources Wales consider the proposed wastes to be treated to be following the intentions of the permit. # The waste quantity is determined at the deployment stage, and no limit is given in the permit. The operator is proposing to treat a total of 160,000 m3. |
| # Has the document been uploaded? | # Y |  |

| # Specified activities to be carried out on site | Y N n/a | Comments |
| --- | --- | --- |
| # Has details on suitability of treatment methods been provided? | # Y |  |
| # Has the operator told us which treatment technology they will use? | # Y | # screening/particle size reduction only. As this an Environment agency (English) permit the operator is permitted to do this with no remediation taking place. # The applicant has confirmed the soil, and stones are geotechnically & chemically suitable for made ground. # The deployment is implementing a hot spot strategy to screen and crush waste. Where waste is not suitable for re-use this waste will be quarantined and removed off site. |
| # Are all of the proposed treatment technologies listed in the operator’s permit? | # Y | # See above comment |
| # Is the treatment technology fit for purpose? | # Y |  |
| # Has details on residual materials/waste been provided? | # Y |  |
| # Are we satisfied that these will be handled appropriately? | # Y |  |
| # Has details on quarantine facilities been provided? | # Y |  |
| # Are we satisfied the maximum capacities of the quarantine facilities are suitable to prevent or minimise pollution? | # Y |  |
| # Have the locations of the quarantine facilities been included on the site plan? | # Y | # . |
| # Has the document been uploaded? | # Y |  |

| # Activities involving the import of waste | Y N n/a | Comments |
| --- | --- | --- |
| # Will the activity involve the import of wastes? | # N |  |
| # Does the site form part of a Cluster project? * | # N |  |
| # Has waste acceptance information been provided? | # n/a |  |
| # Has the document been uploaded? | # n/a |  |

| # Duration of this deployment | Y N n/a | Comments |
| --- | --- | --- |
| # Is the duration of the deployment 12 months or less? | # Y |  |

| # Management supervision | Y N n/a | Comments |
| --- | --- | --- |
| # Has the technically competent manager details been provided? | # Y |  |
| # Has the nominated competent person details been provided? | # Y |  |
| # Has the site supervision plan been provided? | # Y |  |
| # Is the site supervision plan appropriate? | # Y |  |
| # Has the document been uploaded? | # n/a |  |

| # Conceptual site model and risk assessment | Y N n/a | Comments |
| --- | --- | --- |
| # Has the conceptual site model (CSM)/risk assessment been provided? | # Y | # Need justification on low groundwater risk on the basis that: # all materials to be processed are chemically suitable for use. # At the same time the deployment proposes handling: # 130,000m³ of hazardous waste soil (17 05 03*). # Resolved in request for information 1 see comments at the bottom of the decision document. |
| # Has the document been uploaded? | # Y |  |

| # Pollution control | Y N n/a | Comments |
| --- | --- | --- |
| # Have the pollution control measures been provided? | # Y |  |
| # Has the document been uploaded? | # Y |  |

| # Emission monitoring plans | Y N n/a | Comments |
| --- | --- | --- |
| # Has the site-specific monitoring plan been provided? # The following may be applicable: - Groundwater - Surface water - Soil gases - Air emissions - Noise - Vibrations - Odour - Volatile Organic Compounds | # Y |  |
| # Have the indicator parameters been provided? | # Y |  |
| # Has the document been uploaded? | # Y |  |

| # Record Keeping - Commissioning, operating and maintenance | Y N n/a | Comments |
| --- | --- | --- |
| # Details of record keeping given? | # Y |  |
| # Document uploaded? | # Y |  |

| # Supporting documents | Y N n/a | Comments |
| --- | --- | --- |
| Have relevant documents been ticked and supplied? - Site plan showing all required features - Conceptual Site Model and Risk Assessment - Pollution Control - Monitoring Plans - Record Keeping details | # 1. Y # 2. Y # 3. Y # 4. Y # 5. Y |  |

| # Confidentiality and national security | Y N n/a | Comments |
| --- | --- | --- |
| # Has confidentially been claimed? | # N |  |
| # Has national security been claimed? | # N |  |

| # Declaration | Y N n/a | Comments |
| --- | --- | --- |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | # Y |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | # Y |  |
| # Has a relevant person or approved person signed the declaration? | # Y |  |

| Site specific risk assessment | Y N n/a | Comments |
| --- | --- | --- |
| If there are other potential sensitive receptors has a site-specific risk assessment been submitted? | Y | The applicant has provided a conceptual site model. |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards | N | More justification needed on: # Low risk to groundwater as treated wastes is # handling: # 130,000m³ of # hazardous waste soil (17 05 03*). Resolved in request for information 1 see comments at the bottom of the decision document. |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution | N | The deployment boundary is within 549 meters within the: Dee Estuary / Aber Dyfrdwy (Wales) SAC River Dee and Bala Lake / Afon Dyfrdwy a Llyn Tegid (Wales) SAC The Dee Estuary (Wales) SPA Dee Estuary /Aber Afon Dyfrdwy SSSI Afon Dyfrdwy (River Dee) SSSI The Dee Estuary (Wales) RAMSAR Within 1km Shotton Lagoons and Reedbeds SSSI (969 meters). The provided CSM does reference the ‘River Dee’ but not the specific designations listed Above and is therefore not site specific Resolved in request for information 1 see comments at the bottom of the decision document. |
| - Measures that will minimise or mitigate the impact will be put in place | N | See above comment. |

| SSSI/ Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 1 km of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y | The appendix 4 assessment saved for inf0ormational purposes can be found on the DMS. |
| Has a “likely significant effect” been identified? - If yes, consult with the relevant Environment team. - If no, save the Appendix 4 to the DMS as “information only” | n/a |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site (project) within 1km of a European Site (SPA, pSPA, SAC or cSAC) or a Ramsar site? | Yes- see below |
| HRA is not required (Stage 1 of OGN200 assessment- Determining the need for a Habitats Regulations Assessment): HRA is not required (no FORM 1 has been completed) because there is no conceivable impact pathway between the project and any European site features, due to the nature or location of the project. European sites within 1km The deployment boundary is 550 meters from the following European designated sites: - Dee Estuary / Aber Dyfrdwy (Wales) SAC Features Habitats - Estuaries - Mudflats and sandflats not covered by seawater at low tide - Salicornia and other annuals colonising mud and sand - Atlantic salt meadows - Embryonic shifting dunes - Shifting dunes along the shoreline with white dunes - Humid dune slacks Species - River lamprey - Sea lamprey - Petalwort - River Dee and Bala Lake / Afon Dyfrdwy a Llyn Tegid (Wales) SAC Features - Nationally important species. Luronium natans Floating water-plantain - Type VII Mesotrophic upland plateau rivers - Type VIII Moderate gradient sand/shale rivers below uplands. - Type VI Middle reaches of upland rivers traversing more base rich strata. - Type II Clay rivers with diverse substrates and flow patterns. - Atlantic salmon Salmo salar - Sea lamprey Petromyzon marinus - Brook lamprey Lampetra planeri - River Lamprey Lampetra fluviatilis - Bullhead Cottus gobio - European otter Lutra lutra - The Dee Estuary (Wales) SPA Features - Bar-tailed godwit - Common tern - Little tern - Sandwich tern - Leach’s petrel - Little egret - Bewick’s swan - Whooper swan - Smew - Hen harrier, - Merlin, - Peregrine falcon - Golden plover, - Ruff - Wood sandpiper - Short-eared owl - Kingfisher - Redshank - Shelduck - Teal - Pintail - Oystercatcher - Grey plover - Knot - Dunlin - Curlew - The Dee Estuary (Wales) RAMSAR Features - Estuary - Intertidal mudflats and sandflats - Saltmarsh - Dune systems - Transitional freshwater and brackish habitats - Petalwort - Natterjack toad - Supports internationally important numbers of waterbirds, regularly exceeding 20,000 waterbirds - Shelduck - Teal - Pintail - Oystercatcher - Knot - Dunlin - Black-tailed godwit - Bar-tailed godwit - Curlew - Redshank - Grey plover Assessment of credible impact pathways Dust This deployment is screening and crushing aggregates wastes so there is the potential for dust emissions from the deployment. Dust emissions can negatively affect the European sites and features listed above due to physical smothering of plants affecting photosynthesis and respiration. There can also be chemical changes/toxicity issues depending on the dust’s composition and potential for changes in soil pH which could disrupt the habitat of for the species in the features listed above. This also includes the Estuary environment and riverbed. This potential impact pathway has been ruled out due to the following standard controls the operator is using, this includes: - This deployment is not likely to damage the European sites and associated features from dust emissions because the deployment boundary is located 550 meters from these designated areas. It is highly unlikely if a dust emission did occur that it could cause detriment to these European sites due the dust dispersing/ diluting in the air over the distance to the designated sites. A dust emission on this scale is also very unlikely due to the deployment’s strict controls on dust controls as outlined in the applications pollution control measures and conceptual site model. This includes the following: - Dust control measures shall be undertaken to the satisfaction of the Site Manager, the Supervisor and the Client always and works will be stopped if acceptable measures are not in place or being utilised. - Dust control measures will include as a minimum the damping down of the site with water during periods of dry weather, Using spray bars on crushing activities. - Dust monitoring works shall be undertaken. static directional frisbee gauges will be deployed around the site perimeter to monitor for the deposition of total suspended particulates. - If dust levels are a nuisance site-wide, works shall be stopped and contingency measures for dust shall be implemented before works can recommence. - In the instance of the trigger level being breached, further research will be carried out to determine the source of the elevated levels. If it is concluded that it was a result of site activities, immediate action will take place to mitigate dust levels on the site, such as increasing the frequency of dust suppression and ensuring long-term stockpiles are covered with polythene sheeting. If the problem persists, working practices will be reviewed to keep the airborne dust to a minimum. - Parameters above exposure standard. Action will be to stop site works, investigate reason and modify ongoing works. - Substantial stockpiles will be located away from sensitive receptors. - Machinery undertaking particle size reduction to facilitate remedial action and material stockpiles will be located away from sensitive receptors. - Haul routes will be damped down utilising a tractor towed bowser or equivalent as required. - For the sake of sustainability encountered processed water may be used for dust suppression. Prior to use water will be deemed suitable via chemical testing and visual appearance. - Appropriate site speed limits will be enforced. - Effective vehicle cleaning including a jet wash as required. - Jet wash bowsers with spray attachments or equivalent will be used to damp down stockpiles / haul routes as required. - Consideration will be given to placement of debris netting/polythene sheeting if material stockpiles are to remain for extended periods. - All plant will be modern and fitted with integral dust suppression technology. - Site personnel will be fully trained and operate plant and equipment in accordance with manufacturers guidelines. - A trained and responsible manager will be on site during working periods to maintain a logbook and carry out site inspections. - Daily visual monitoring and monitoring with the use of a hand-held device will be undertaken by trained staff at boundary monitoring locations, with records maintained in accordance with company procedures. - Static dust deposition (Frisbee) gauges will be deployed, for with data compared against the 200mg/m2/day boundary limits. - Vehicles will be prevented from idling and all potentially dusty loads entering and leaving site will be covered. Groundwater As this deployment will use mobile screening and particle size reduction equipment to process and excavate waste materials to produce geotechnically materials for reuse there is a risk to groundwater as the earth is being disrupted and changes to local drainage. This pathway has been ruled out due to the following: - This risk is negligible as the type of materials destined to be processed assessed by the LCRM is suitable for reuse. The non-chemical processing of the made ground to generate a suitable geotechnical material will not increase the risk profile of this ‘acceptable for use’ material, and therefore a Hotspot material shall be managed in accordance with the Interim Remedial Options Appraisal, Remediation Strategy and Verification Plan. These hotspot materials may present a risk to ground and controlled waters, although anticipated volume is minimal. Appropriate hotspot management shall be additionally protective of the downstream works of materials processing. - LCRM assessments concluded the general site materials do not present an unacceptable controlled waters risk. - Only material falling within the defined deployment acceptance criteria will be processed. Known hotspot material, visibly or olfactorily impacted material, and other suspect material will be excluded and transferred to the designated quarantine area which contains sealed drainage and impermeable surfacing. - The deployment is located entirely within an existing industrial site, and no treatment, storage or excavation activities will take place within the European site boundaries. The notified habitats, species and geological interests of the Dee Estuary/Aber Afon Dyfrdwy, Afon Dyfrdwy (River Dee) are separated from the deployment by existing industrial infrastructure and substantial stand-off distances. Therefore, in the absence of a viable pollutant pathway, damage to the notified features is not expected. - The proposed activity will not involve the addition of water activities, i.e. abstraction or discharging. - A compacted running platform formed from suitable inert material will be constructed to provide a stable and maintainable working surface. The platform will be inspected and maintained throughout the deployment. - Treatment is limited to physical screening, crushing and sizing and does not involve chemical treatment. - The material being processed is effectively the same material already present across the site, and they contend the activity will not materially increase contaminant release. - No known active drainage runs have been identified within the proposed processing area. - stockpiles will be located away from drains, boreholes and other preferential pathways; - Stockpile height, footprint and storage duration will be minimised and controlled - Exposed surfaces and stockpiles will be managed to minimise erosion, dust and sediment generation - Operations will be reviewed or temporarily suspended during extreme rainfall or where the working surface cannot be maintained effectively. - Daily visual inspections will be undertaken for runoff, ponding, erosion, staining, odour and deterioration of the working surface. - Spill kits and incident-response procedures will be maintained at the operational area. Conclusion HRA is not required (no FORM 1 has been completed) because there is no conceivable impact pathway between the project and any European site features, due to the nature or location of the project. In making this decision standard controls the operator are using were taken into account to comply withSR2008 No27. Mitigation measures were not taken into account as standard controls were sufficient in ruling out impact pathways to the European sites. |  |

Comments

Consultation responses: No comments were left on the form.

MyMap and location assessment: For details of the MyMap assessment see the DMS.

Request for information: 16/07/2026 Provide the following information in relation to surfacing: Detailed justification for why an impermeable surface and sealed drainage system is not required for the proposed hazardous waste treatment and storage activities. The applicant has justified this by a comprehensive response: - The wastes have been assessed through the Land Contamination Risk Management (LCRM) process and are considered suitable for reuse. - The treatment is physical only and does not increase contaminant concentrations. - Hotspot contamination will be removed from the process stream and managed separately on impermeable surface and sealed drainage. (quarantine area) - The activity is temporary and restricted to defined operational areas. - Pollution prevention and inspection procedures will be implemented during operations. NRW agree with the justifications given. Evidence demonstrating that the proposed arrangements will not result in pollution of groundwater or surface water. The applicant has provided justification for this and has updated the Conceptual site model (CSM). Update the CSM so that it specifically lists the River Dees designated sites along with their respective designated features. The applicant has updated the CSM. Amend the CSM so that it fully justifies why the risk to groundwater will not be impacted from the proposed deployment application. This needs to account for the surfacing you intend to use. The applicant has updated the CSM.

Other information to note: - The majority of the made ground is suitable for reuse. - The hazardous WM3 classification of 17 05 03* arises largely from steelmaking residues/chromates rather than an active pollution hotspot. - hotspots and unexpected contamination will be segregated from the deployment, quarantined (impermeable surfacing and sealed drainage) and removed off from the deployment. - Screening/crushing creates a material suitable for engineering reuse within the development platform.

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Permitting Officer: Owen Clee Date: 24/07/2026 |  |
| ## Team leader or ToP approval: Huw Davies Date: 24/07/2026 |  |

| Appendix 1 – Time recording |  |
| --- | --- |
| Admin/consultations (Permit support) | 45 |
| Determination (waste permitting and consultation response time) | 2,040 |
| Total (to be added to PALS) | 2,085 |

| Appendix 2 – Location Checks |  |  |
| --- | --- | --- |
| Designations | Present? | Comments |
| Special protection areas (SPA) Potential special protection areas (pSPA) | Y | The deployment boundary is within 549 meters within the: - Dee Estuary / Aber Dyfrdwy (Wales) SAC - River Dee and Bala Lake / Afon Dyfrdwy a Llyn Tegid (Wales) SAC - The Dee Estuary (Wales) SPA - Dee Estuary /Aber Afon Dyfrdwy SSSI - Afon Dyfrdwy (River Dee) SSSI - The Dee Estuary (Wales) RAMSAR Within 1km - Shotton Lagoons and Reedbeds SSSI (969 meters). |
| Special areas of conservation (SAC) Candidate special areas of conservation (cSAC) | Y |  |
| Ramsar sites | Y |  |
| Site of Special Scientific Interest (SSSI) | Y |  |
| Ancient woodland | N |  |
| Areas of Outstanding Natural Beauty (AONB) | N |  |
| Heritage Coast | N |  |
| Local nature reserves | N |  |
| Local wildlife sites | Y |  |
| National nature reserves | N |  |
| National parks | N |  |
| Scheduled ancient monuments | N |  |
| World Heritage Sites | N |  |
| Controlled waters such as rivers and lakes | Y |  |
| European Protected Species | N |  |
| Nationally Protected Species | N |  |
| Section 7 Priority species | N |  |
| Section 7 Priority habitats | N |  |

AONB’s, Ancient Woodlands, Scheduled Ancient Monuments, Local and National Nature Reserves, National Parks and Heritage Coasts.

Potential hazards include dust, odours and run-off / leachate.

Receptors to be affected include environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities.