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Schedule - Notification

This page outlines the information that the operator must provide.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.
If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A

	Permit Number
	BU8819IV
	Name of Operator
	Waste Recycling Group (Central) Limited
	Location of Facility
	Pwllfawatkin Landfill
	
	

	Time and date of the detection
	19/05/2026


	(a) Notification requirements for any incident or accident which significantly affects or may significantly affect the environment

	To be notified within 24 hours of detection

	Date and Time of the event
	
	Reference or description of the location of the event
	
	Description of where any release into the environment took place
	
	Substance(s) potentially released
	
	Best estimate of the quantity or rate of release of substances 
	
	Measures taken, or intended to be taken, to stop any emission
	
	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference / source
	 PWWBH018, PWWBH11B

	Parameter(s) 
	Ammoniacal Nitrogen (N:mg/l)
	Limit
	1
	Measure value and uncertainty
	PWWBH018 1.4, PWWBH11B 1.1
	Date and time of monitoring
	16/04/2026
	Measures taken, or intended to be taken, to stop the emission
	Boreholes re-sampled on 07/05/2026 as a part of monthly environmental monitoring. Awaiting laboratory results to confirm quality trends.


	
Time periods for notification following detection of a breach of a limit

	Parameter 
	Notification period

		


	(c) Notification requirements in the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	
	Substances detected
	
	Concentrations of substances detected
	
	Date of monitoring/sampling
	


Part B To be supplied as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	
	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	
	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	
	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	See Previous Data Submissions


	Name*
	Mark Smith
	Post
	Inert and Closed Site Manager
	Signature


	
M Smith


	Date
	20/05/2026

* authorised to sign on behalf of the operator
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Permit Number  BU8819IV  

Name of Operator  Waste Recycling Group (Central) Limited  

Location of  Facility  Pwllfawatkin Landfill  

  

Time and date of the detection  19/05/2026  

 

(a) Notification requirements for any incident or accident which significantly affects or may  significantly affect the environment  

T o be notified within 24 hours of detection  

Date and Time of the event   

Reference or description of the  location of the event   

Description of where any release  into the environment took place   

Substance ( s )   potentially released   

Best estimate of the quantity or  rate of release of substances    

Measures taken, or intended to be  taken, to stop any emission   

Description of the failure or  accident.   

 

(b) Notification requirements for the breach of a limit  

To be notified within 24 hours of detection unless otherwise specified below  

Emission point reference   / source    PWWBH018, PWWBH11B  

Parameter(s)   Ammoniacal Nitrogen (N:mg/l)  

Limit  1  

M easure value and uncertainty  PWWBH018 1.4, PWWBH11B 1.1  

Date and time of monitoring  16/04/2026  

