Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	AW1005301

	Application Reference
	PAN-033383

	Submission Batch
	Reduced P limit date change

	NEP Driver
	W_HR_P_IMP1

	Unique NEP ID
	DCWW102886a (change to NEP delivery date)

	Operator Name
	Dŵr Cymru Cyfyngedig

	Site/Asset Name
	Talgarth Wastewater Treatment Works

	Environment Team
	South Powys

	Area
	Mid Wales

	Local Authority
	Powys County Council

	Allocated permitting officer
	Emma Dulson



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	09/07/2026

	Payment / added to AMP tracker
	27/07/2026

	Arrived with Permit Officer
	13/07/2026

	Duly Made Decision
	28/07/2026

	Duly Made Notification Sent
	28/07/2026



	Administrative Checks

	Correct submission spreadsheet used
	N/A

	Correct variation type and fee
	YES

	Variation type: 
	Admin	Fee:
	£386

	Basic details (site name, address) correct
	YES

	All documents saved to the DMS
	YES



	Basic Technical Checks

	Correct permit number supplied
	YES

	Relevant NGRs provided and correct
	N/A - no changes

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	N/A - no changes

	Site plan provided and correct
	N/A - no changes

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	N/A - no changes



	Other/Driver specific

	Reason for variation
	Phosphorous Limit of 0.25 mg/l was due to start from 31/03/2030 as per NEP driver W_HR_P_IMP1. It was subsequently agreed in the Water Industry Planning and Implementation meeting, that the 0.25 mg/l Phosphorous Limit will be brought forward to start on 31/03/2028.
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