Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	CM0022101

	Application Reference
	PAN-033394

	Submission Batch
	Post-RoP P date change

	NEP Driver
	N/A

	Unique NEP ID
	N/A

	Operator Name
	Dŵr Cymru Cyfyngedig

	Site/Asset Name
	Llanarmon Dyffryn Ceiriog Wastewater Treatment Works

	Environment Team
	Flintshire & Wrexham

	Area
	North East

	Local Authority
	Wrexham County Borough Council

	Allocated permitting officer
	Emma Dulson



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	10/07/2026

	Payment
	21/07/2026

	Arrived with Permit Officer
	13/07/2026

	Duly Made Decision
	28/07/2026

	Duly Made Notification Sent
	28/07/2026

	RFI Sent
	21/07/2026



	Administrative Checks

	Correct submission spreadsheet used
	N/A

	Correct variation type and fee
	YES

	Variation type: 
	Admin	Fee:
	£386

	Basic details (site name, address) correct
	YES

	All documents saved to the DMS
	YES



	Basic Technical Checks

	Correct permit number supplied
	YES

	Relevant NGRs provided and correct
	N/A

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	N/A

	Site plan provided and correct
	N/A

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	N/A



	Reason for variation

	Admin variation to correct 1.5 mg/l phosphorus limit effective date. Effective date for NEP AMP9 commitment is 31/12/2032.



	Only complete the following if the variation is Not Duly Made

	Date of Not Duly Made decision
	21/07/2026

	Reason for Not Duly Made decision
	The current permit brings the 1.5 mg/l P in on 31/03/2032 not 31/03/2030 as stated in the application. However, the application did state the reduced P should come in 31/12/2032 – would you like me to go ahead with adding the extra 9 months onto the reduced P effective date?

	Deadline for RFI response
	04/08/2026
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