Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	CG0114504

	Application Reference
	PAN-033621

	Submission Batch
	AMP8 WFD PG IMP and WFD PD IMP (05/08/2026)

	NEP Driver
	W_WFD_PG_IMP1 and W_WFD_PD_IMP

	Unique NEP ID
	DCWW101601a and DCWW101688a

	Operator Name
	Dŵr Cymru Cyfyngedig

	Site/Asset Name
	Llanerchymedd Wastewater Treatment Works

	Environment Team
	Mon ac Arfon

	Area
	North West

	Local Authority
	Isle of Anglesey County Council

	Allocated permitting officer
	Emma Dulson



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	05/08/2026

	Payment / added to AMP tracker
	05/08/2026

	Arrived with Permit Officer
	10/08/2026

	Duly Made Decision
	10/08/2026

	Duly Made Notification Sent
	10/08/2026



	Administrative Checks

	Correct submission spreadsheet used
	N/A

	Correct variation type and fee
	YES

	Variation type: 
	Normal	Fee:
	£3,046

	Basic details (site name, address) correct
	YES

	All documents saved to the DMS
	YES



	Basic Technical Checks

	Correct permit number supplied
	YES

	Relevant NGRs provided and correct
	N/A – no changes

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	N/A

	Site plan provided and correct
	N/A – no changes

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	YES



	Other/Driver specific

	WFD IMPs

	Limit changes match the current NEP (DCWW101601a)
	YES

	Limit changes match the current NEP (DCWW101688a)
	YES
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