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Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
McCartneys LLP

Wastewater treatment system serving Brecon Livestock Market

Warren Road

Brecon

Powys

LD3 8EX 

Variation application number

PAN-033033

Permit number
AN0283301/V002
Wastewater treatment system serving Brecon Livestock Market 

Permit number AN0283301

Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation and consolidation of an environmental permit.
This is an Natural Resources Wales (NRW) initiated variation undertaken following a review of permits that regulate discharges over 20 cubic metres of sewage effluent a day into Special Conservation Areas (SAC’S) rivers. The SAC river catchments covered by this review are Cleddau, Eden, Gwyrfai, Teifi, Tywi, Glaslyn, Dee, Usk and Wye. For this site the review has implemented a total phosphorus limit of 5mg/l effective from 13/08//2031.
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010. 
	Status log of the permit

	Description
	Date
	Comments

	Regulator-initiated variation 

PAN-033033
	Duly made 02/06/2026
	NRW initiated variation undertaken following a review of permits

	Variation determined

AN0283301/V002
	13/08/2026
	Varied and consolidated permit issued in modern condition format. A total phosphorous limit has been added, that takes effective from 13/08/2031.


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
permit number

AN0283301

issued to:

McCartneys LLP (“the operator”)

whose registered office is

The Ox Pasture

Overton Road

Ludlow

Shropshire

SY8 4BH

limited liability partnership number OC310186

to operate a regulated facility at
Brecon Livestock Market

Warren Road

Brecon

Powys

LD3 8EX 

to the extent set out in the schedules.
The notice shall take effect from 13/08/2026
	Name
	Date

	Katrin Raynor
	13/08/2026


Authorised on behalf of Natural Resources Wales
Schedule 1 

All conditions have been varied by the consolidated permit as a result of an Natural Resources Wales initiated variation.

Table 3.1b has been added
Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 
	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

AN0283301

This is the consolidated permit referred to in the variation and consolidation notice for application PAN-032446 authorising, 
McCartneys LLP (“the operator”),

whose registered office is

The Ox Pasture

Overton Road

Ludlow

Shropshire

SY8 4BH

limited liability partnership number OC310186

to operate a water discharge activity at

Brecon Livestock Market

Warren Road

Brecon

Powys

LD3 8EX

to the extent authorised by and subject to the conditions of this permit.
The permit variation and consolidation shall take effect from 13/08/2026
	Name
	Date

	Katrin Raynor
	13/08/2026


Authorised on behalf of Natural Resources Wales
Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.
1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green and the discharge shall be made at the point marked on the site plan at schedule 7 to this permit and as listed in table S3.2 (discharge points).

3
Emissions and monitoring
3.1
Emissions to water

3.1.1
There shall be no point source emissions to water except from the sources and emission points listed in schedule 3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales  that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.2.3
All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

3.3
Monitoring 

3.3.1
The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:

(a)           point source emissions specified in tables S3.1 and S3.3.

3.3.2
The operator shall maintain records of all monitoring required by this permit including records of the taking and analysis of samples, instrument measurements (periodic and continual), calibrations, examinations, tests and surveys and any assessment or evaluation made on the basis of such data.
3.3.3
Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme and the environmental or other monitoring specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.

3.3.4
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2 and S3.3 unless otherwise agreed in writing by Natural Resources Wales.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made.
4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.2.2
Within 28 days of the end of the reporting period the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

(a)           in respect of the parameters and emission points specified in schedule 4 table S4.1;

(b)           for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and

(c)           giving the information from such results and assessments as may be required by the forms specified in those tables.

4.3
Notifications
4.3.1
Natural Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 

(c) any significant adverse environmental effects.  

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:
(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a)
Natural Resources Wales shall be notified at least 14 days before making the change; and


(b)
the notification shall contain a description of the proposed change in operation. 

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 

	Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Discharge of secondary treated trade effluent via outlet 1
	N/A


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

Schedule 3 – Emissions and monitoring

	Table S3.1a Point Source emissions to water (other than sewer) – emission limits and monitoring requirements
Effective up to and including 12/08/2031

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Discharge of secondary treated trade effluent via outlet 1
	Maximum daily discharge volume
	75 m3/day


	Total daily volume
	N/A                                                                
	Continuous
	Maximum 

	
	15-minute instantaneous or integrated flow
	No limit set. Record as l/s
	15 minute
	N/A
	Continuous


	N/A



	
	ATU-BOD as O2
	40 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

 

	
	Suspended solids (measured after drying at 105o C)
	60 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

 

	
	Ammoniacal nitrogen (expressed as N) 

	15 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum



	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace


	Table S3.1b Point Source emissions to water (other than sewer) – emission limits and monitoring requirements
Effective from 13/08/2031

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Discharge of secondary treated trade effluent via outlet 1
	Maximum daily discharge volume
	75 m3/day


	Total daily volume
	N/A                                                                
	Continuous
	Maximum 

	
	15-minute instantaneous or integrated flow
	No limit set. Record as l/s
	15 minute
	N/A
	Continuous


	N/A



	
	ATU-BOD as O2
	40 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

 

	
	Suspended solids (measured after drying at 105o C)
	60 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

 

	
	Ammoniacal nitrogen (expressed as N) 

	15 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum



	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Total phosphorus as P
	5 mg/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Annual mean

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water/Environment



	Discharge of secondary treated trade effluent
	Outlet 1
	SO 03276 28267
	River Tarrell 


	Table S3.3 Monitoring points

	Effluent(s) and discharge point(s)
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Discharge of secondary treated trade effluent via outlet 1
	Effluent sample point
	SO 02870 28459
	Sample Point

	Discharge of secondary treated trade effluent via outlet 1
	MCERTS flow monitoring
	SO 02870 28459
	Sample Point


Schedule 4 – Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameters
	Monitoring point reference
	Reporting period
	Period begins

	Total daily volume


	Effluent sample point 

	Annual
	1st January

	15-minute flow
	Effluent sample point
	Annual
	1st January


	Table S4.2 Reporting forms

	Parameters
	Reporting format

	Total daily volume


	WISKI electronic format specified by Natural Resources Wales

	15-minute flow
	WISKI electronic format specified by Natural Resources Wales


Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	AN0283301

	Name of operator
	

	Location of Facility
	Brecon Livestock Market, Warren Road, Brecon, Powys, LD3 8EX

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

"accident" means an accident that may result in pollution.

"annually" means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.
“emissions of substances not controlled by emission limits ” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission limit.
“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.
“MCERTS” means Environment Agency Monitoring Certification Scheme.

“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales
"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.
“year” means calendar year ending 31 December.

Schedule 7 - Site plan
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END OF PERMIT
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