Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	CM0081001

	Application Reference
	PAN-033322

	Submission Batch
	AMP8 UMON 3 - Batch 7 (03/07/2026)

	NEP Driver
	AMP8 W_U_MON3

	Unique NEP ID
	DCWW100071a

	Operator Name
	Dŵr Cymru Cyfyngedig

	Site/Asset Name
	Buckley Ty Gwyn Wastewater Treatment Works

	Environment Team
	Flintshire & Wrexham

	Area
	North

	Local Authority
	Flintshire

	Allocated permitting officer
	Thomas Dauncey



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	03/07/2026

	Payment / added to AMP tracker
	03/07/2026

	Arrived with Permit Officer
	06/07/2026

	Duly Made Decision
	17/07/2026

	Duly Made Notification Sent
	17/07/2026



	Administrative Checks

	Correct submission spreadsheet used
	YES 

	Correct variation type and fee
	YES 

	Variation type: 
	Minor	Fee:
	£915

	Basic details (site name, address) correct
	YES 

	All documents saved to the DMS
	YES 



	Basic Technical Checks

	Correct permit number supplied
	YES 

	Relevant NGRs provided and correct
	YES 

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	YES

	Site plan provided and correct
	YES 

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	YES 



	AMP8 UMON 3 Driver specific

	Current permit was varied for UMON 3/4 drivers in AMP7
	YES 

	NEP checked
	YES

	NGR provided for MCERT’d EDM
	YES (no change)

	EDM MCERTS certificate or report been supplied
	YES 
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