## Data Sheet SP2
Colour Coding Key
Marches Biogas recommended limits
Action advices to return to recommended limits
Action must be taken
| A.D | Awaiting Data
Sample Point: 2
| Organic Content |  | Buffering |  |  |  | Volatile Fatty Acids | [8 empty] | Nutrients |  | Trace Elements
Sample Date | DM | ODM | pH | FOS | TAC | Ratio | Total VFAs | P/A ratio | Acetic Acid | Propionic Acid | n-Caproic Acid | Iso-Caproic Acid | Butyric Acids | n-Valeric Acid | Iso-Valeric Acid | NH4 - N | Total N. | Total Se. | Total Ni. | Total Co.
| % | % |  | mg/l | mg/l |  | mg/l |  | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/kg | %w/w
2025-01-09 | 7.9 | 79 | 7.87 | 4786.5 | 20311.5 | 0.23565 | 199 |  | 199 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3176 | 0.65 | 0.23 | 1.06 | 1.08
2025-01-23 | 7.8 | 80.8 | 7.76 | 4787.5 | 20543.5 | 0.23304 | 154 |  | 145 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3112 | 0.65 | 0.23 | 0.99 | 1.03
2025-02-04 | 7.4 | 82.2 | 7.94 | 4945.5 | 21707.5 | 0.22782 | 368 |  | 353 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3032 | 0.68 | 0.24 | 1.13 | 1.06
2025-02-17 | 7.9 | 82.6 | 7.81 | 5669.5 | 19505.5 | 0.29066 | 600.3 | 0.10906 | 541 | 59 | <20 | <20 | <12.5 | <25 | <25 | 3226 | 0.62 | 0.23 | 1 | 0.91
2025-03-05 | 7.2 | 82.8 | 7.76 | 5668.5 | 18784 | 0.30177 | 245 |  | 236 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3348 | 0.61 | 0.22 | 0.99 | 0.88
2025-03-19 | 7.8 | 81.6 | 7.62 | 5786 | 18684 | 0.30968 | 359 |  | 355 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3216 | 0.62 | 0.2 | 0.94 | 0.84
2025-04-02 | 8.3 | 82.6 | 7.82 | 4565.5 | 20412.5 | 0.22366 | 373 |  | 325 | <50 | <20 | <20 | 16.1 | <25 | <25 | 3317 | 0.67 | 0.21 | 1 | 0.9
2025-04-15 | 8.8 | 82.9 | 7.92 | 4935 | 22636 | 0.21802 | 225 |  | 225 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3872 | 0.73 | 0.25 | 1.16 | 1
2025-04-30 | 9.2 | 80.9 | 8.02 | 5671 | 23504 | 0.24128 | 517 |  | 479 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3855 | 0.74 | 0.27 | 1.21 | 1.09
2025-05-14 | 9.2 | 81.3 | 7.82 | 5730.5 | 24283.5 | 0.23598 | 594 |  | 551 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4494 | 0.74 | 0.28 | 1.37 | 1.14
2025-05-27 | 9.4 | 81.4 | 8.03 | 5570 | 24843.5 | 0.2242 | 408 |  | 384 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4028 | 0.72 | 0.27 | 1.63 | 1.25
2025-06-12 | 9 | 79.8 | 8.07 | 5919 | 25571 | 0.23147 | 771 |  | 716 | 55 | <20 | <20 | <12.5 | <25 | <25 | 4236 | 0.73 | 0.28 | 1.39 | 1.15
2025-06-26 | 9.5 | 82.2 | 7.92 | 5496 | 24635 | 0.2231 | 310 |  | 293 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4024 | 0.72 | 0.22 | 1.24 | 1.07
2025-07-09 | 9.3 | 82 | 7.82 | 6139 | 24312 | 0.25251 | 1049 |  | 898 | 83.3 | <20 | <20 | 21.1 | <25 | <25 | 4054 | 0.73 | 0.24 | 1.25 | 1
2025-07-23 | 9.4 | 81.2 | 7.9 | 5765 | 26200 | 0.22004 | 133 |  | 133 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4100 | 0.72 | 0.25 | 1.13 | 0.92
2025-08-06 | 8.7 | 80.2 | 7.79 | 5509 | 26713 | 0.20623 | 229 |  | 217 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4240 | 0.76 | 0.26 | 1.21 | 0.92
2025-08-25 | 8.8 | 80.6 | 7.88 | 6434 | 27862.5 | 0.23092 | 271 |  | 271 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4051 | 0.65 | 0.24 | 1.08 | 0.82
2025-09-15 | 9 | 79.2 | 7.81 | 6116 | 26211 | 0.23334 | 430 |  | 422 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4174 | 0.74 | 0.26 | 1.24 | 0.93
2025-09-22 | 8.7 | 80 | 7.92 | 6015.5 | 25690 | 0.23416 | 617 |  | 607 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4331 | 0.76 | 0.29 | 1.35 | 0.97
2025-10-09 | 8.3 | 78.2 | 7.95 | 6622 | 23398 | 0.28302 | 790 |  | 725 | 65 | <20 | <20 | <12.5 | <25 | <25 | 3883 | 0.66 | 0.22 | 1.13 | 0.85
2025-10-23 | 8.7 | 79.8 | 7.92 | 6328 | 24202 | 0.26147 | 531 |  | 499 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4059 | 0.61 | 0.24 | 1.17 | 0.84
2025-11-04 | 8.6 | 77 | 7.93 | 6658 | 26124.5 | 0.25486 | 859 |  | 789 | 70.1 | <20 | <20 | <12.5 | <25 | <25 | 4177 | 0.73 | 0.24 | 1.15 | 0.83
2025-11-18 | 8.5 | 78.5 | 7.98 | 6175 | 25913 | 0.2383 | 531 |  | 499 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4464 | 0.77 | 0.25 | 1.17 | 0.87
2025-11-25 | 8.6 | 70.7 | 8.05 | 6830 | 25659.5 | 0.26618 | 761 |  | 694 | 67.1 | <20 | <20 | <12.5 | <25 | <25 | 4373 | 0.77 | 0.29 | 1.23 | 0.89
2025-12-02 | 8.8 | 79.2 | 7.91 | 8319.5 | 26860 | 0.30974 | 419 |  | 399 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3993 | 0.79 | 0.25 | 1.23 | 0.9
2025-12-16 | 8.8 | 79 | 7.93 | 6315.5 | 26795.5 | 0.23569 | 548 |  | 532 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4400 | 0.78 | 0.22 | 1.1 | 0.83
2026-01-05
2026-01-19 | 8 | 78.2 | 8 | 5767 | 24278 | 0.23754 | 494 |  | 494 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4012 | 0.71 | 0.2 | 1.06 | 0.73
2026-01-26 | 7.8 | 81.4 | 7.88 | 5215 | 21739 | 0.23989 | 251 |  | 251 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3634 | 0.63 | 0.2 | 1.07 | 0.75
2026-02-10 | 7.3 | 77.7 | 7.96 | 5038.5 | 20449.5 | 0.24639 | 463 |  | 444 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3400 | 0.64 | 0.16 | 0.92 | 0.68
2026-02-23 | 7.4 | 81.2 | 7.78 | 4986.5 | 19836.5 | 0.25138 | 392 |  | 373 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3303 | 0.62 | 0.22 | 1.19 | 1.05
2026-03-02 | 7.6 | 79.2 | 7.9 | 4705 | 20382 | 0.23084 | 342 |  | 331 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3397 | 0.63 | 0.25 | 1.28 | 1.18
2026-03-16 | 7.9 | 83.4 | 7.89 | 4687 | 22007 | 0.21298 | 325 |  | 314 | <50 | <20 | <20 | <12.5 | <25 | <25 | 2972 | 0.68 | 0.27 | 1.25 | 1.45
2026-03-30 | 7.8 | 77.4 | 7.89 | 4815 | 22416.5 | 0.2148 | 330 |  | 312 | <50 | <20 | <20 | <12.5 | <25 | <25
2026-04-06 | 8 | 82.2 | 7.99 | 4964 | 22763 | 0.21807 | 140 |  | 117 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3474 | 0.69 | 0.27 | 1.49 | 1.21
2026-04-23 | 8.1 | 79.4 | 7.92 | 5053 | 25056.5 | 0.20166 | A.D |  | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D
INSERT ROW ABOVE

## Data Sheet DD
Colour Coding Key
Marches Biogas recommended limits
Action advices to return to recommended limits
Action must be taken
| A.D | Awaiting Data
Sample Point: Discharge
| Organic Content |  | Buffering |  |  |  | Volatile Fatty Acids | [8 empty] | Nutrients |  | Trace Elements
Sample Date | DM | ODM | pH | FOS | TAC | Ratio | Total VFAs | P/A ratio | Acetic Acid | Propionic Acid | n-Caproic Acid | Iso-Caproic Acid | Butyric Acids | n-Valeric Acid | Iso-Valeric Acid | NH4 - N | Total N. | Total Se. | Total Ni. | Total Co.
| % | % |  | mg/l | mg/l |  | mg/l |  | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/l | mg/kg | %w/w
2020-01-09 | 7.9 | 80.7 | 7.93 | 4435 | 20395 | 0.21746 | 87 |  | 87 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3254 | 0.64 | 0.24 | 1.09 | 1.09
2020-01-23 | 7.6 | 80.7 | 7.93 | 4728 | 20262 | 0.23334 | 103 |  | 96.2 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3287 | 0.64 | 0.23 | 0.98 | 1.05
2020-02-04 | 8 | 83.4 | 7.93 | 4741.5 | 21897.5 | 0.21653 | 146 |  | 146 | <50 | <20 | <20 | <12.5 | <25 | <25 | 2691 | 0.68 | 0.25 | 1.05 | 1.02
2020-02-17 | 7.8 | 79.6 | 7.81 | 4573 | 19960.5 | 0.2291 | 343 |  | 306 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3358 | 0.62 | 0.23 | 1.36 | 0.86
2020-03-05 | 7.3 | 82.4 | 7.83 | 5745 | 18760 | 0.30624 | 125 |  | 124 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3268 | 0.6 | 0.21 | 1 | 0.84
2020-03-23 | 7.9 | 82.8 | 7.73 | 5603.5 | 18899.5 | 0.29649 | 195 |  | 193 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3146 | 0.62 | 0.19 | 0.9 | 0.8
2020-04-02 | 8.1 | 82.7 | 8.01 | 4312 | 20858 | 0.20673 | 299 |  | 257 | <50 | <20 | <20 | 15.6 | <25 | <25 | 3236 | 0.65 | 0.23 | 1.01 | 0.9
2020-04-15 | 8.8 | 82.4 | 7.96 | 4593 | 21719 | 0.21147 | 174 |  | 174 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3741 | 0.73 | 0.28 | 1.2 | 1.05
2020-04-30 | 9.2 | 81.4 | 8.08 | 5301.5 | 23624 | 0.22441 | 193 |  | 193 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3877 | 0.75 | 0.28 | 1.23 | 1.12
2020-05-18 | 9 | 81 | 7.87 | 5333 | 24211 | 0.22027 | 320 |  | 303 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4310 | 0.74 | 0.28 | 1.28 | 1.1
2020-05-27 | 9.1 | 80.5 | 8.05 | 5354.5 | 24878.5 | 0.21523 | 101 |  | 101 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4124 | 0.74 | 0.27 | 1.54 | 1.2
2020-06-12 | 9.1 | 80.1 | 8.13 | 5483 | 25769 | 0.21278 | 282 |  | 282 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4240 | 0.72 | 0.25 | 1.43 | 1.08
2020-06-26 | 9.2 | 81.4 | 8.01 | 6894 | 34032 | 0.20257 | 110 |  | 110 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4048 | 0.72 | 0.21 | 1.14 | 1.01
2020-07-14 | 9.1 | 81.6 | 7.94 | 5240 | 24162 | 0.21687 | 264 |  | 264 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3934 | 0.7 | 0.24 | 1.2 | 0.99
2020-07-23 | 9.3 | 80.8 | 8.07 | 5457 | 26257 | 0.20783 | 80 |  | 56.1 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4054 | 0.74 | 0.26 | 1.12 | 0.94
2020-08-06 | 8.9 | 79.7 | 7.88 | 5185 | 27002 | 0.19202 | 94.9 |  | 94.9 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4153 | 0.73 | 0.25 | 1.18 | 0.9
2020-08-25 | 7.9 | 79.6 | 7.92 | 5703 | 26118.5 | 0.21835 | 165 |  | 165 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4147 | 0.72 | 0.24 | 1.1 | 0.83
2020-09-15 | 9.1 | 79.2 | 7.89 | 5631.5 | 26057.5 | 0.21612 | 164 |  | 164 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4063 | 0.77 | 0.26 | 1.23 | 0.94
2020-09-22 | 8.8 | 79.5 | 7.95 | 6023 | 26033 | 0.23136 | 366 |  | 366 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4239 | 0.74 | 0.26 | 1.22 | 0.94
2020-10-09 | 8.3 | 78.5 | 7.95 | 6356.5 | 23438.5 | 0.2712 | 520 |  | 492 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3796 | 0.7 | 0.22 | 1.11 | 0.88
2020-10-15 | 8.2 | 78 | 8.02 | 6249 | 24398.5 | 0.25612 | 562 |  | 526 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3947 | 0.73 | 0.23 | 1.12 | 0.8
2020-11-04 | 8.5 | 76.9 | 8.03 | 6235.5 | 25843.5 | 0.24128 | 722 |  | 657 | 65 | <20 | <20 | <12.5 | <25 | <25 | 4057 | 0.75 | 0.23 | 1.16 | 0.83
2020-11-18 | 8.5 | 77.9 | 8 | 6217.5 | 25677 | 0.24214 | 570 |  | 534 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4189 | 0.77 | 0.25 | 1.13 | 0.83
2020-11-23 | 8.6 | 78.1 | 8.06 | 6705 | 25607.5 | 0.26184 | 645 |  | 591 | 54 | <20 | <20 | <12.5 | <25 | <25 | 4325 | 0.76 | 0.31 | 1.25 | 0.92
2020-12-07 | 8.8 | 79 | 7.93 | 6939 | 26748 | 0.25942 | 358 |  | 346 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4414 | 0.78 | 0.26 | 1.24 | 0.89
2020-12-17 | 8.7 | 79 | 7.97 | 6093 | 26562 | 0.22939 | 424 |  | 423 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4379 | 0.77 | 0.21 | 1.04 | 0.76
2021-01-05 | 7.7 | 79.1 | 8.03 | 5784 | 22744 | 0.25431
2021-01-11 | 8 | 76.7 | 7.92 | 5644.5 | 23898 | 0.23619 | 416 |  | 416 | <50 | <20 | <20 | <12.5 | <25 | <25 | 4041 | 0.7 | 0.19 | 1.03 | 0.69
2021-01-28 | 7.5 | 79 | 7.9 | 5014.5 | 21365 | 0.23471 | 141 |  | 141 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3600 | 0.64 | 0.21 | 1.1 | 0.76
2021-02-10 | 7.3 | 78.4 | 8 | 5001 | 20532 | 0.24357 | 376 |  | 346 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3329 | 0.63 | 0.17 | 0.94 | 0.68
2021-02-23 | 7.2 | 80.1 | 7.77 | 5069 | 19980 | 0.2537 | 238 |  | 224 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3268 | 0.62 | 0.22 | 1.21 | 1.06
2021-03-02 | 7.4 | 79.4 | 7.91 | 4617 | 20530.5 | 0.22488 | 197 |  | 197 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3229 | 0.63 | 0.26 | 1.33 | 1.23
2021-03-16 | 7.9 | 83.1 | 7.97 | 4427 | 21593 | 0.20502 | 210 |  | 207 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3286 | 0.66 | 0.27 | 1.46 | 1.25
2021-03-23 | 7.9 | 79 | 7.9 | 4616 | 22364 | 0.2064 | 236 |  | 218 | <50 | <20 | <20 | <12.5 | <25 | <25
2021-04-01 | 7.7 | 79 | 8.04 | 4998 | 23120 | 0.21618 | 116 |  | 95 | <50 | <20 | <20 | <12.5 | <25 | <25 | 3504 | 0.69 | 0.29 | 1.57 | 1.26
2021-04-23 | 8.2 | 79.4 | 8.01 | 5030 | 25373 | 0.19824 | A.D |  | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D | A.D
INSERT ROW ABOVE

## TM Mix
Date | Sample | DM | ODM | Total C | Total N | C:N Ratio
dd/mm/yy |  | % | % | %w/w | %w/w
2025-01-09 | Trioliet Mix | 32.9 | 95 | 45.3 | 2.34 | 19.359 | : | 1
2025-01-23 | Trioliet Mix | 33.8 | 95.3 |  |  |  | : | 1
2025-02-04 | Trioliet Mix | 31.9 | 95.2 |  |  |  | : | 1
2025-02-17 | Trioliet Mix | 34.4 | 95.6 | 45.4 | 2.44 | 18.6066 | : | 1
2025-03-05 | Trioliet Mix | 35.7 | 94.5 |  |  |  | : | 1
2025-03-19 | Trioliet Mix | 33.3 | 95 |  |  |  | : | 1
2025-04-02 | Trioliet Mix | 38.4 | 94.8 | 44.8 | 2.38 | 18.8235 | : | 1
2025-04-15 | Trioliet Mix | 40.7 | 95.1 | 44.3 | 2.55 | 17.3725 | : | 1
2025-04-30 | Trioliet Mix | 36.2 | 95 |  |  |  | : | 1
2025-05-14 | Trioliet Mix | 38.3 | 94.2 | 44.5 | 2.52 | 17.6587 | : | 1
2025-05-27 | Trioliet Mix | 39.6 | 94.9 |  |  | #DIV/0! | : | 1
2025-06-12 | Trioliet Mix | 40.5 | 94 | 44.6 | 2.3 | 19.3913 | : | 1
2025-06-26 | Trioliet Mix | 41.3 | 94 |  |  | #DIV/0! | : | 1
2025-07-09 | Trioliet Mix | 38.3 | 93.7 | 44.3 | 2.33 | 19.0129 | : | 1
2025-07-23 | Trioliet Mix | 37.2 | 94.4 |  |  | #DIV/0! | : | 1
2025-08-06 | Trioliet Mix | 35.4 | 94 | 44.2 | 1.86 | 23.7634 | : | 1
2025-08-25 | Trioliet Mix | 37.4 | 94 | 43.9 | 2.32 | 18.9224 | : | 1
2025-09-15 | Trioliet Mix | 39.6 | 94.8 | 46.1 | 2.04 | 22.598 | : | 1
2025-09-22 | Trioliet Mix | 36.1 | 95.5 |  |  | #DIV/0! | : | 1
2025-10-09 | Trioliet Mix | 39 | 93.4 | 44.8 | 2.29 | 19.5633 | : | 1
2025-10-23 | Trioliet Mix | 39.5 | 94.1
2025-11-04 | Trioliet Mix | 36 | 94.3 | 45.3 | 2.46 | 18.4146 | : | 1
2025-11-18 | Trioliet Mix | 38.1 | 95.6
2025-11-25 | Trioliet Mix | 37.2 | 95.4
2025-12-02 | Trioliet Mix | 40.7 | 92.5
2025-12-16 | Trioliet Mix | 41.2 | 93.6 | 44.5 | 2.48 | 17.9
2026-01-05 | Trioliet Mix | 37.4 | 95.5
2026-01-19 | Trioliet Mix | 41.3 | 94 | 46.2 | 2.43 | 19 | : | 1
2026-01-26 | Trioliet Mix | 37.6 | 95.4
2026-02-10 | Trioliet Mix | 35.6 | 95.4 | 45.5 | 1.87 | 24.3 | : | 1
2026-02-23 | Trioliet Mix | 38.2 | 94.5
2026-03-02 | Trioliet Mix | 38 | 94.9 | 45.2 | 2.72 | 16.6 | : | 1
2026-03-16 | Trioliet Mix | 37 | 95.1
2026-03-30 | Trioliet Mix | 37.6 | 93.3 | 48.2 | 2.82 | 17.1 | : | 1
2026-04-06 | Trioliet Mix | 39 | 95.6
2026-04-23 | Trioliet Mix | 39.9 | 93.5 | 48.7 | 2.75 | 17.7 | : | 1

## Digestate & Fibre
Date | Sample | DM | ODM | Total N | Total P | Total K
dd/mm/yy |  | % | % | %w/w | mg/kg | mg/kg
2025-01-09 | Wet Separated Fibre | 27.7 | 96.5 | 1.99 | 4621 | 20033
2025-01-09 | Dried Separated Fibre | 87 | 91.8 | 1.27 | 5070 | 24382
2025-05-14 | Wet Separated Fibre | 29.2 | 93.1
2025-05-14 | Dried Separated Fibre | 88.1 | 92.3
2025-09-22 | Wet Separated Fibre | 21.5 | 90.6
2025-09-22 | ST | 7.9 | 65
2025-09-22 | BT | 7.9 | 65.2