# Appendix D: Regulatory Requirements

## D.1 Introduction

This appendix provides a comprehensive overview of the regulatory framework governing landfill gas management at Stormy West Landfill Site in Wales. The regulatory requirements are derived from European Union directives, UK and Welsh legislation, and site-specific permit conditions.

## D.2 Regulatory Framework Hierarchy

The regulatory framework for landfill gas management operates at multiple levels:

## D.3 European Union Directives

### D.3.1 Landfill Directive (1999/31/EC)

Directive: Council Directive 1999/31/EC of 26 April 1999 on the landfill of waste

Key Requirements for Landfill Gas:

Article 6 - Waste Acceptance:

Landfills must be classified and operated according to waste categories

Waste acceptance procedures must minimize gas generation potential

Article 8 - Landfill Gas Control:

"Landfill gas shall be collected from all landfills receiving biodegradable waste and the landfill gas must be treated and used. If the gas collected cannot be used to produce energy, it must be flared."

Specific Requirements:

Gas collection systems must be installed at all landfills receiving biodegradable waste

Collected gas must be:

Used to produce energy (preferred option), OR

Flared (if energy production not economically viable), OR

Treated in some other way

Gas collection and treatment must continue after closure until the competent authority accepts that the landfill no longer poses a threat to the environment

Annex I - General Requirements:

Landfill gas control and monitoring procedures

Protection of soil, groundwater, and surface water

Nuisance and hazard control

Stability of the landfill body

Implications for Stormy West:

Active gas collection and treatment required

Flaring is acceptable as gas quality insufficient for energy recovery

Gas management must continue indefinitely until NRW determines no further risk

Alternative treatment methods require demonstration of equivalent environmental protection

### D.3.2 Industrial Emissions Directive (2010/75/EU)

Directive: Directive 2010/75/EU of the European Parliament and of the Council on industrial emissions (integrated pollution prevention and control)

Relevant Requirements:

Application of Best Available Techniques (BAT)

Emission limit values for air pollutants

Monitoring and reporting requirements

Periodic permit reviews

BAT for Landfill Gas Management:

Efficient gas collection systems

High-temperature flaring (>1,000°C) with adequate retention time

Continuous monitoring of flare performance

Optimization of gas extraction rates

Minimization of fugitive emissions

### D.3.3 Waste Framework Directive (2008/98/EC)

Directive: Directive 2008/98/EC on waste

Relevant Principles:

Waste hierarchy (prevention, reuse, recycling, recovery, disposal)

Duty of care for waste management

Protection of human health and environment

Polluter pays principle

Application to Landfill Gas:

Energy recovery from landfill gas preferred over flaring

Gas management must protect human health and environment

Operator responsible for all environmental impacts

## D.4 UK and Welsh Legislation

### D.4.1 Environmental Permitting (England and Wales) Regulations 2016

Regulation: The Environmental Permitting (England and Wales) Regulations 2016 (as amended)

Key Provisions:

Schedule 5 - Landfill Activities:

Defines landfill as a regulated facility

Requires environmental permit for operation

Specifies permit conditions and requirements

Schedule 9 - Landfill Directive Requirements:

Incorporates Landfill Directive requirements into UK law

Specifies gas management obligations

Defines monitoring and reporting requirements

Regulation 38 - Permit Conditions:

Environmental permits must include conditions to ensure:

Prevention of pollution

Protection of human health

Compliance with emission limits

Monitoring and reporting

Incident management

Regulation 60 - Enforcement:

NRW has powers to enforce permit conditions

Penalties for non-compliance

Suspension or revocation of permits for serious breaches

Implications for Stormy West:

Environmental Permit EAWML34009 governs all operations

Permit conditions legally binding

Non-compliance can result in enforcement action

Regular permit reviews required

### D.4.2 Environment (Wales) Act 2016

Act: Environment (Wales) Act 2016

Relevant Provisions:

Part 1 - Sustainable Management of Natural Resources:

Duty to pursue sustainable management of natural resources

Principles of sustainable resource management

Long-term environmental protection

Part 2 - Climate Change:

Emissions reduction targets for Wales

Methane as a significant greenhouse gas

Requirement to minimize greenhouse gas emissions

Implications:

Landfill gas management contributes to Welsh climate change targets

Effective methane destruction reduces greenhouse gas emissions

Long-term sustainability of gas management approach

### D.4.3 Well-being of Future Generations (Wales) Act 2015

Act: Well-being of Future Generations (Wales) Act 2015

Seven Well-being Goals:

A prosperous Wales

A resilient Wales

A healthier Wales

A more equal Wales

A Wales of cohesive communities

A Wales of vibrant culture and thriving Welsh language

A globally responsible Wales

Relevance to Landfill Gas Management:

Long-term thinking in gas management planning

Prevention of environmental harm

Integration with community well-being

Sustainable resource use

## D.5 Regulatory Guidance

### D.5.1 Environment Agency Guidance

LFTGN 03 - Guidance on the management of landfill gas (2004)

Key Guidance Points:

Gas Collection Systems:

Design principles for gas extraction systems

Well spacing and depth recommendations

Manifold and header design

Blower and flare specifications

Gas Monitoring:

Frequency of monitoring

Parameters to be monitored

Quality assurance procedures

Data recording and reporting

Flare Operation:

Temperature requirements (>1,000°C)

Retention time requirements (>0.3 seconds)

Destruction efficiency (>98% for methane)

Monitoring and maintenance

Risk Assessment:

Lateral migration assessment

Surface emission monitoring

Groundwater monitoring

Odor management

LFTGN 07 - Guidance on monitoring landfill gas surface emissions (2010)

Surface Emissions Monitoring:

Monitoring methodology

Frequency and coverage

Action levels and response procedures

Reporting requirements

AG6 - Surface VOC Emissions Monitoring on Landfill Facilities (2010)

VOC Monitoring:

Monitoring techniques

Equipment specifications

Data interpretation

Compliance assessment

### D.5.2 Technical Guidance

BS EN 12599:2012 - Ventilation for buildings

Test procedures for air flow measurement

Measurement accuracy requirements

Calibration procedures

ISO 5167 - Measurement of fluid flow

Flow measurement principles

Uncertainty analysis

Quality assurance

## D.6 Site-Specific Environmental Permit

### D.6.1 Environmental Permit EAWML34009

Permit Holder: [Site Operator]

Regulated Facility: Stormy West Landfill Site, Pyle, South Wales

Permit Type: Landfill Directive Installation

Regulator: Natural Resources Wales (NRW)

Key Permit Conditions:

Condition 1 - Management:

Site must be managed in accordance with approved management system

Competent management required

Staff training and competence

Condition 2 - Operations:

Operations must be conducted in accordance with approved procedures

Waste acceptance procedures

Operational controls

Condition 3 - Emissions:

Emissions to air, water, and land must be prevented or minimized

Emission limit values must be met

Monitoring and reporting required

Condition 4 - Landfill Gas Management:

Active gas collection system must be maintained and operated

Gas must be flared or used for energy recovery

Flare must operate at >1,000°C with >0.3 seconds retention time

Continuous monitoring of flare temperature

Gas composition monitoring (minimum quarterly)

Surface emissions monitoring (minimum quarterly)

Lateral migration monitoring (minimum quarterly)

Condition 5 - Monitoring:

Monitoring program must be implemented as approved

Results must be recorded and reported

Exceedances must be investigated and reported

Condition 6 - Records:

All monitoring data must be retained for minimum 6 years

Records must be available for inspection by NRW

Annual reporting to NRW

Condition 7 - Incidents:

Incidents must be reported to NRW immediately

Investigation and corrective actions required

Prevention of recurrence

Condition 8 - Closure and Aftercare:

Closure plan must be approved by NRW

Aftercare period minimum 30 years (or until NRW accepts no further risk)

Gas management must continue during aftercare

### D.6.2 Permit Variations

Process for Permit Variation:

Pre-application Discussion:

Consultation with NRW regarding proposed changes

Discussion of technical approach

Identification of information requirements

Application Submission:

Completed application form

Technical justification

Environmental risk assessment

Proposed monitoring and management procedures

Determination:

NRW review of application (typically 13 weeks)

Public consultation if required

Decision notice issued

Implementation:

Compliance with varied permit conditions

Notification to NRW of implementation

Updated procedures and records

Potential Variations for Stormy West:

Installation of new low-CV flare system

Changes to monitoring frequency

Implementation of biofilter/biocover (if approved)

Modifications to gas collection system

## D.7 Monitoring and Reporting Requirements

### D.7.1 Routine Monitoring

Gas Composition Monitoring:

| Parameter | Frequency | Location | Method |
| --- | --- | --- | --- |
| CH₄, CO₂, O₂, N₂ | Quarterly (minimum) | Flare inlet | Portable gas analyzer |
| CH₄, CO₂, O₂ | Quarterly | Each manifold leg | Portable gas analyzer |
| CH₄, CO₂, O₂ | Quarterly | In-waste wells | Portable gas analyzer |
| Flow rate | Quarterly | Flare inlet | Velocity measurement |
| Temperature | Continuous | Flare chamber | Thermocouple |

Surface Emissions Monitoring:

| Parameter | Frequency | Coverage | Action Level |
| --- | --- | --- | --- |
| CH₄ | Quarterly | 100% of capped area | >500 ppm above background |
| VOCs | Quarterly | 100% of capped area | Site-specific levels |

Lateral Migration Monitoring:

| Parameter | Frequency | Location | Action Level |
| --- | --- | --- | --- |
| CH₄, CO₂, O₂ | Quarterly | Perimeter boreholes | >1.0% CH₄ |

Groundwater Monitoring:

| Parameter | Frequency | Location | Standards |
| --- | --- | --- | --- |
| Standard suite | Quarterly | Monitoring boreholes | Groundwater Directive |

### D.7.2 Reporting Requirements

Quarterly Reports:

Summary of monitoring results

Comparison with previous quarters

Identification of trends

Exceedances and corrective actions

Operational issues and resolutions

Annual Environmental Monitoring Report (AEMR):

Comprehensive review of all monitoring data

Analysis of trends and patterns

Assessment of environmental performance

Evaluation of management system effectiveness

Forward planning and improvements

Submission deadline: 31 January following reporting year

Incident Reports:

Immediate notification to NRW (within 24 hours)

Written report within 14 days

Investigation findings

Corrective actions implemented

Prevention of recurrence

### D.7.3 Record Keeping

Required Records:

All monitoring data (raw and processed)

Calibration certificates for equipment

Maintenance records for gas management system

Operational logs (flare operating hours, etc.)

Incident reports and investigations

Correspondence with NRW

Training records for staff

Retention Period: Minimum 6 years (or longer if specified by NRW)

## D.8 Emission Standards and Limits

### D.8.1 Air Emissions

Flare Performance Standards:

| Parameter | Requirement | Basis |
| --- | --- | --- |
| Operating Temperature | >1,000°C | Landfill Directive |
| Retention Time | >0.3 seconds | Landfill Directive |
| Destruction Efficiency | >98% for CH₄ | BAT |
| Visible Smoke | None (except startup/shutdown) | Permit condition |

Fugitive Emissions:

| Source | Action Level | Response |
| --- | --- | --- |
| Surface emissions | >500 ppm CH₄ above background | Investigation and remediation |
| Lateral migration | >1.0% CH₄ in perimeter boreholes | Enhanced monitoring and control |

### D.8.2 Greenhouse Gas Reporting

Climate Change Act 2008:

Annual reporting of greenhouse gas emissions

Methane emissions from landfills included in national inventory

Contribution to UK/Welsh emissions reduction targets

Calculation Methodology:

Methane generation estimated using approved models

Collection efficiency applied

Uncollected methane reported as fugitive emissions

Flare destruction efficiency applied to collected gas

Reporting Format:

Tonnes CO₂ equivalent (using GWP of 25 for methane over 100-year period)

Breakdown by source (collected and destroyed vs. fugitive)

Comparison with previous years

## D.9 Compliance and Enforcement

### D.9.1 NRW Inspection and Enforcement Powers

Inspection Powers:

Right of entry to site at any reasonable time

Right to inspect records and monitoring data

Right to take samples and measurements

Right to interview staff

Enforcement Tools:

Advisory Letter:

Informal notification of minor non-compliance

Advice on corrective actions

No formal enforcement action

Enforcement Notice:

Formal notice requiring specific actions

Timescale for compliance specified

Failure to comply is an offense

Suspension Notice:

Immediate suspension of permitted activities

Used for serious breaches posing immediate risk

Activities cannot resume until notice lifted

Revocation Notice:

Permanent revocation of environmental permit

Used for persistent or serious breaches

Requires site closure and remediation

Prosecution:

Criminal prosecution for permit breaches

Unlimited fines in Crown Court

Potential imprisonment for serious offenses

### D.9.2 Compliance Strategy

Proactive Compliance:

Regular self-monitoring and auditing

Prompt reporting of issues to NRW

Implementation of corrective actions

Continuous improvement of management systems

Staff training and competence development

Reactive Compliance:

Immediate response to incidents

Investigation and root cause analysis

Implementation of preventive measures

Communication with NRW

Documentation of actions taken

## D.10 Future Regulatory Developments

### D.10.1 Potential Changes

UK Exit from European Union:

EU directives retained in UK law through European Union (Withdrawal) Act 2018

Future divergence from EU standards possible

Welsh Government committed to maintaining high environmental standards

Climate Change Legislation:

Increasing focus on greenhouse gas emissions

Potential for stricter methane emission controls

Enhanced monitoring and reporting requirements

Circular Economy:

Emphasis on waste prevention and resource recovery

Potential impact on landfill gas management approaches

Integration with renewable energy policies

### D.10.2 Anticipated Regulatory Trends

Enhanced Monitoring:

More frequent monitoring requirements

Real-time monitoring and reporting

Remote sensing technologies

Stricter Emission Limits:

Lower action levels for surface emissions

Tighter controls on fugitive emissions

Enhanced destruction efficiency requirements

Extended Aftercare:

Longer aftercare periods

More stringent closure criteria

Enhanced long-term monitoring

Technology Standards:

BAT requirements for gas management

Performance standards for flares

Approval processes for alternative technologies

## D.11 Regulatory Engagement Strategy

### D.11.1 Ongoing Communication with NRW

Regular Engagement:

Annual permit review meetings

Quarterly monitoring report submissions

Prompt notification of operational changes

Proactive discussion of future plans

Pre-application Discussions:

Early consultation on proposed changes

Technical discussions on alternative approaches

Identification of information requirements

Agreement on monitoring and assessment methods

### D.11.2 Permit Variation Process for Proposed Changes

For Low-CV Flare Installation:

Pre-application Meeting:

Present technical justification

Discuss performance specifications

Agree monitoring requirements

Identify any concerns

Application Preparation:

Technical specification of new flare

Performance guarantees from supplier

Environmental risk assessment

Proposed monitoring program

Submission and Determination:

Submit formal application

Respond to any queries

Await determination (typically 13 weeks)

Implement upon approval

For Future Biofilter/Biocover:

Pilot Study Approval:

Propose pilot study to NRW

Agree monitoring and assessment methods

Implement pilot over multiple seasons

Report results to NRW

Full-Scale Application:

Present pilot study results

Demonstrate equivalent environmental protection

Propose full-scale implementation plan

Address any regulatory concerns

Permit Variation:

Submit formal application if pilot successful

Include comprehensive monitoring program

Demonstrate compliance with Landfill Directive

Implement upon approval

## D.12 Conclusions

The regulatory framework for landfill gas management at Stormy West Landfill is comprehensive and multi-layered, encompassing:

European Directives: Establishing fundamental requirements for gas collection and treatment

UK/Welsh Legislation: Implementing EU requirements and adding national standards

Regulatory Guidance: Providing technical detail on implementation

Site-Specific Permit: Defining specific obligations for Stormy West Landfill

Key Regulatory Obligations:

Active gas collection and treatment required

Flaring must meet temperature and retention time requirements

Comprehensive monitoring and reporting program

Compliance with emission limits and action levels

Ongoing engagement with NRW

Compliance Strategy:

Proactive monitoring and management

Prompt reporting and communication

Continuous improvement approach

Early engagement on proposed changes

Documentation and record keeping

The proposed changes to the gas management system (installation of low-CV flare and potential future transition to biofilter/biocover) can be implemented within the existing regulatory framework through appropriate permit variations and ongoing engagement with NRW.

## D.13 References

Council Directive 1999/31/EC of 26 April 1999 on the landfill of waste.

Directive 2010/75/EU of the European Parliament and of the Council on industrial emissions.

Directive 2008/98/EC on waste (Waste Framework Directive).

The Environmental Permitting (England and Wales) Regulations 2016 (as amended).

Environment (Wales) Act 2016.

Well-being of Future Generations (Wales) Act 2015.

Environment Agency. (2004). Guidance on the management of landfill gas. LFTGN 03.

Environment Agency. (2010). Guidance on monitoring landfill gas surface emissions. LFTGN 07.

Environment Agency. (2010). Air Guidance Note AG6 - Surface VOC Emissions Monitoring on Landfill Facilities.

Natural Resources Wales. Environmental Permit EAWML34009 - Stormy West Landfill Site.