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RELEASES TO WATER (SEWER)
REPORTING OF MONITORING DATA
SUMMARY FOR THE SIX MONTH PERIOD ENDING June 2019

Operator	Tradebe Limited

Location	Bridgend Waste Management Centre, Factory Lane, Pencoed, Bridgend, CF35 5BQ
Permit Number	NP3233XX

				Release Point: Final Effluent Discharge Point S1

	Table 1.S1: Release to water(Sewer)
	
	
	
	
	

	
Parameter

	Result(mg/l)

Batch 1
	

Batch 2

	

Batch 3
	

Batch 4
	

Batch 5

	
Suspended solids
(Limit = 1700mg/l)

	Result:
87

Date: 11/01/2019     
	Result:
154

Date: 20/02/2019     
	Result:
78

Date: 25/03/2019     
	Result:
511

Date: 08/04/2019
	Result:
78

Date: 21/06/2019     

	
Oil & Grease
(limit – 100mg/l
	Result:
<1

Date: 11/01/2019     
	Result:
<1

Date: 20/02/2019     
	Result:
<1

Date: 25/03/2019     
	Result:
<1

Date: 08/04/2019
	Result:
<1

Date: 21/06/2019     

	
Total Sulphate
(Limit = 1000 mg.l)

	Result:
43.63

Date: 11/01/2019     
	Result:
191

Date: 20/02/2019     
	Result:
142.3

Date: 25/03/2019     
	Result:
472

Date: 08/04/2019
	Result:
145

Date: 21/06/2019     

	
Total NH3-N
(Limit = 500mg/l)

	Result:
1207

Date: 11/01/2019     
	Result:
1088

Date: 20/02/2019     
	Result:
1394

Date: 25/03/2019     
	Result:
1097

Date: 08/04/2019
	Result:
1462

Date: 21/06/2019     

	
Total Chromium
(Limit = 2mg/l)
	Result:
0.20

Date: 11/01/2019     
	Result:
0.27

Date: 20/02/2019     
	Result:
0.3

Date: 25/03/2019     
	Result:
0.23

Date: 08/04/2019
	Result:
0.32

Date: 21/06/2019     

	
Total Copper
(Limit = 2 mg/l)
	Result:
0.09

Date: 11/01/2019     
	Result:
0.06

Date: 20/02/2019     
	Result:
0.06

Date: 25/03/2019     
	Result:
0.08

Date: 08/04/2019
	Result:
0.06

Date: 21/06/2019     

	
Total Lead
(Limit = 2 mg/l)
	Result:
0.01

Date: 11/01/2019     
	Result:
0.06

Date: 20/02/2019     
	Result:
N/D

Date: 25/03/2019     
	Result:
0.05

Date: 08/04/2019
	Result:
<0.01

Date: 21/06/2019     

	
Total Nickel
(Limit = 2 mg/l)
	Result:
0.15

Date: 11/01/2019     
	Result:
0.16

Date: 20/02/2019     
	Result:
0.19

Date: 25/03/2019     
	Result:
0.25

Date: 08/04/2019
	Result:
0.19

Date: 21/06/2019     

	
Total Zinc (Zn)
(Limit = 2 mg/l)
	Result:
0.14

Date: 11/01/2019     
	Result:
0.18

Date: 20/02/2019     
	Result:
0.07

Date: 25/03/2019     
	Result:
0.18

Date: 08/04/2019
	Result:
0.08

Date: 21/06/2019     

	
Total Cyanide (CN)
(Limit = 2 mg/l)
	Result:
N/D

Date: 11/01/2019     
	Result:
N/D

Date: 20/02/2019     
	Result:
N/D

Date: 25/03/2019     
	Result:
N/D

Date: 08/04/2019
	Result:
N/D

Date: 21/06/2019     

	
Total Sulphide
(Limit = 3 mg/l)
	Result:
1.75

Date: 11/01/2019     
	Result:
0.53

Date: 20/02/2019     
	Result:
0.55

Date: 25/03/2019     
	Result:
0.49

Date: 08/04/2019
	Result:
0.48

Date: 21/06/2019     

	
Total Monohydric Phenols
(Limit = 100 mg/l)
	Result:
7.39

Date: 11/01/2019     
	Result:
7.62

Date: 20/02/2019     
	Result:
8.21

Date: 25/03/2019     
	Result:
6.18

Date: 08/04/2019
	Result:
7.23

Date: 21/06/2019     

	
Total Monoxol OT
(Limit = 30mg/l)
	Result:
N/D

Date: 11/01/2019     
	Result:
N/D

Date: 20/02/2019     
	Result:
N/D

Date: 25/03/2019     
	Result:
N/D

Date: 08/04/2019
	Result:
N/D

Date: 21/06/2019     

	PH
(Limit = 6.0 – 10.0)
	Max
Min
	8.4
6.86

	Temperature 
(Limit = 43 c)
	Max
	28.9

	
	Min
	5.5

	Flow Rate l/s
(Limit = 10l/s)
	Max
	8

	
	Min
	0

	Daily Flow M3
(Limit = 1400 m3)
	Max
	185

	
	Min
	0











	
Week ending:

	
Parameters

	31/03/2019
	
COD 
(limit 2500kg/day)
	
Total NH3-N
(Limit 280kg/day)
	
Monohydric Phenols
(Daily Increase, 7kg/day)

	
Monday
	
411.74
	
241.16
	
<1kg

	
Tuesday
	
176.22
	
131.63
	
<1kg

	
Wednesday
	
234.30
	 
168.30
	
<1kg

	
Thursday
	
371.70
	
170.81
	
<1kg

	
Friday
	
285.60
	
161.84
	
<1kg

	
Saturday
	
217.14
	
74.61
	


	
Sunday
	
	
	



Signed on behalf of the Operator:  [image: ]
Andrew Price

Dated:         30/07/2019                             
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