Duly Making Checklist
AMP NEP Variations [image: ]


	Summary

	Application Details

	Permit Number
	CM0052101

	Application Reference
	PAN-034144

	Submission Batch
	AMP8 WFD PG IMP (29/09/2026)

	NEP Driver
	AMP8 WFD PG IMP

	Unique NEP ID
	DCWW101598a

	Operator Name
	Dŵr Cymru Cyfyngedig 

	Site/Asset Name
	Cerrigydrudion Wastewater Treatment Works

	Environment Team
	Conwy

	Area
	North West 

	Local Authority
	Conwy CBC

	Allocated permitting officer
	Olu Tinubu



	[bookmark: _Hlk199411839]Dates

	Arrived to Permit Delivery Team
	29/09/2026

	Payment / added to AMP tracker
	29/09/2026

	Arrived with Permit Officer
	15/10/2026

	Duly Made Decision
	21/10/2026

	Duly Made Notification Sent
	21/10/2026



	Administrative Checks

	Correct submission spreadsheet used
	YES 

	Correct variation type and fee
	YES 

	Variation type: 
	Normal	Fee:
	£3,046.00

	Basic details (site name, address) correct
	YES

	Declaration / Authorisation letter provided
	YES



	Basic Technical Checks

	Correct permit number supplied
	YES 

	Relevant NGRs provided and correct
	N/A same as previous permit

	Information provided matches previous permit
(e.g. screen size, weir setting, DWF)
	YES

	Site plan provided and correct (label names)
	N/A same as previous permit

	PSKPM provided (if applicable)
	N/A

	Receiving waters correct?
	YES



	IMP 5/6

	Has the permit been varied under the AMP 8 UMON 3/4 driver 
	YES

	Submitted values match the current NEP
	YES
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