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Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

The Valley (Pembrokeshire) Limited
Package Treatment Plant serving

The Valley
Trecwn

Haverfordwest
Pembrokeshire

SA62 5YD
Variation application number

PAN-033031
Consolidated permit number
       BP0254401
Package Treatment Plant serving 

The Valley, Trecwn
Permit number BP0254401
Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation of environmental permits BP0254401 and BP0268201 referred to in the status logs below and the replacement of those permits with a consolidated environmental permit.
This is a Natural Resources Wales (NRW) initiated variation undertaken following a review of permits that regulate discharges over 20 cubic metres of sewage effluent a day into Special Conservation Areas (SACS) rivers. For this site the review has implemented a total phosphorus limit of 5 mg/l effective from 22/10/2031.
The schedules specify the changes made to the permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number. It is not backdated before 6 April 2010. 
	Status log of  permit A: BP0254401

	Description
	Date
	Comments

	Regulator initiated variation 
PAN-033031
	Duly made

02/06/2026
	NRW initiated variation undertaken following a review of permits incorporating P limit and 
consolidation with storm permit: BP0268201

	Variation determined BP0254401/V002 
	22/10/2026
	Varied and consolidated permit issued in modern condition format. A total Phosphorous limit has been added that takes effect from 22/10/2031


	Status Log of permit B: BP0268201

	Description
	Date
	Comments

	Regulator initiated variation 

PAN-033031
	Duly made

02/06/2026
	Consolidation of storm overflow permit into BP0254401.

	Variation determined BP0254401
	22/10/2026
	Varied and consolidated permit issued in modern condition format.


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulations 18 and 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates environmental permits 
permit numbers
BP0254401
BP0268201
issued to:

The Valley (Pembrokeshire) Limited (“the operator”)

whose registered office is

Manhattan Loft Corporation
Edison House
223-231 Old Marylebone Road
London
NW1 5QT
company registration number 04860240 
to operate a regulated facility at
The Valley

Trecwn
Haverfordwest
Pembrokeshire

SA62 5YD

to the extent set out in the schedules.

The notice shall take effect from 22/10/2026
The number of the consolidated permit is BP0254401
	Name
	Date

	Katrin Raynor


	22/10/2026


Authorised on behalf of Natural Resources Wales

Schedule 1 

All conditions have been varied by the consolidated permit as a result of a Natural Resources Wales initiated variation.

· Table S3.1b has incorporated new P limits.
Schedule 2 – consolidated permit

Consolidated permit issued as a separate document.

	Permit


The Environmental Permitting (England and Wales) Regulations 2016

Permit number 

BP0254401
This is the consolidated permit referred to in the variation and consolidation notice for application PAN-033031 authorising, 
The Valley (Pembrokeshire) Limited (“the operator”),

whose registered office is 

Manhattan Loft Corporation

Edison House

223-231 Old Marylebone Road

London

NW1 5QT
company registration number 04860240
to operate a water discharge activity at
The Valley

Trecwn

Haverfordwest

Pembrokeshire

SA62 5YD

to the extent authorised by and subject to the conditions of this permit.

The permit variation and consolidation shall take effect from 22/10/2026
	Name
	Date

	Katrin Raynor
	22/10/2026


Authorised on behalf of Natural Resources Wales
	Permit


Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.
1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.
2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green and the discharge shall be made at the point marked on the site plan at schedule 7 to this permit and as listed in table S3.2 (discharge points). 
2.3
Operating techniques
2.3.1 
For the discharge specified in table S3.3:

a) The discharge shall only occur when and only for as long as the flow passed forward is equal to or greater than the overflow setting indicated due to rainfall and/or snow melt.

b) The discharge shall not be comminuted or macerated and shall have passed through screens as specified and shall not contain a significant quantity of solid matter with a particle size greater than any indicated. All screenings shall be removed from the discharge.

3
Emissions and monitoring
3.1
Emissions to water
3.1.1
There shall be no point source emissions to water except from the sources and emission points listed in schedule 3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
3.3
Monitoring  
3.3.1
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2 and S3.3 unless otherwise agreed in writing by Natural Resources Wales.
4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made.

  4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales.   

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.3
Notifications
4.3.1
Natural Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 
(c) any significant adverse environmental effects.  

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:
(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a)
Natural Resources Wales shall be notified at least 14 days before making the change; and


(b)
the notification shall contain a description of the proposed change in operation. 

4.4
Interpretation

4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 
	
	Table S1.1 Activities

	Activity reference
	Description of activity
	Limits of specified activity

	A1
	Secondary treated sewage effluent via Consent Point 1
	N/A

	A2
	Discharge of storm sewage via Consent Point 2
	N/A


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

Schedule 3 – Emissions and monitoring
	Table S3.1a Point Source emissions to water (other than sewer) – emission limits and monitoring requirements
Effective up to and including 22/10/2031

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1

Secondary treated sewage effluent via Consent Point 1
	Maximum daily discharge volume
	181 m3/day


	Total daily volume
	N/A                                                                
	N/A 
	 Maximum 

	
	ATU-BOD as O2
	20 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum  



	
	Suspended solids (measured after drying at 105o C)
	30 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 



	
	Ammoniacal nitrogen (expressed as N)
	10 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum



	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace


	Table S3.1b Point Source emissions to water (other than sewer) – emission limits and monitoring requirements
Effective from 22/10/2031

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1 - Secondary treated sewage effluent via Consent Point 1
	Maximum daily discharge volume
	181 m3/day


	Total daily volume
	N/A                                                                
	N/A 
	 Maximum 

	
	ATU-BOD as O2
	20 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum  



	
	Suspended solids (measured after drying at 105o C)
	30 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 



	
	Ammoniacal nitrogen (expressed as N)
	10 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum



	
	Total phosphorus as P
	5 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Annual mean

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water



	A1 - Secondary treated sewage effluent
	Consent Point 1
	SM 96310 32610
	Nant y Bugail

	A2 – Storm sewage
	Consent Point 2
	SM 96630 32690
	Nant y Bugail


	Table S3.3 Storm sewage discharge settings

	Effluent and discharge point
	Description of discharge
	Overflow setting l/s
	Maximum size of solid matter
	Screen aperture

size
	Minimum screen capacity flow l/s
	Minimum  storage capacity m3 

	A2 Settled storm sewage via
Consent Point 2
	Settled storm sewage
	5.6
	No greater than 10 mm in more than 2 dimensions 
	10mm 


	All flows shall be screened 
	N/A


	Table S3.4 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1. Secondary treated sewage effluent via Consent Point 1
	Effluent sampling
	SM 96630 32670
	Effluent Sample Point 

	A2. Storm sewage via Consent Point 2
	Storm Effluent sampling
	SM 96630 32670
	Storm Sample Point 


.
Schedule 4 - Reporting
There is no reporting under this schedule.

Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	BP0254401

	Name of operator
	

	Location of Facility
	The Valley, Trecwn, Haverfordwest, Pembrokeshire, SA62 5YD

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 
“accident” means an accident that may result in pollution.

“annually” means once every year.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“ATU-BOD as O2” means the biochemical oxygen demand (measured after 5 days at 20o C with nitrification suppressed by the addition of allylthiourea).

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission limit.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.
“year” means calendar year ending 31 December.

Schedule 7 - Site plan
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END OF PERMIT
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