


Natural Resources Wales permitting decisions

Bespoke permit 


We have decided to grant the permit for No.1 to 4 Bodlonfa Hall Mews, Cherry Tree House and Bodlonfa Hall operated by James Wright.
[bookmark: OLE_LINK1][bookmark: OLE_LINK2]The application number is PAN-030414
The permit number is EPR/DB3598FD
The discharge was originally permitted in 1992, the permit was lapsed through the permit review completed as part the Environment Act 1995 permit review in 1996. This permit is replacing the lapsed permit. 
The permit regulates an existing unregulated discharge of treated domestic sewage effluent discharging to ground via a septic tank and infiltration system, with a maximum discharge of 4.5 cubic meters per day. The discharge has been in place since 1992 and the system was renewed in 2021. The discharge is located within an Source Protection Zone. 
We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.


Purpose of this document

This decision document:
· explains how the application has been determined
· provides a record of the decision-making process 
· shows how all relevant factors have been taken into account
· justifies the specific conditions in the permit other than those in our generic permit template.
Unless the decision document specifies otherwise we have accepted the applicant’s proposals.


Structure of this document

· Annex 1 the decision checklist

Annex 1: decision checklist 
This checklist should be read in conjunction with the Duly Making checklist.



	Aspect
	Justification / Detail
	Criteria met

	
	
	Yes

	Consultation

	Scope of consultation 
	The consultation requirements were identified and implemented.  The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements.

	ü

	Responses to web publicising 
	The was no response to web publicising.
 
The decision was taken in accordance with our guidance. 

	ü

	Operator

	Control of the facility
	We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit.  The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator.

	ü

	European Directives

	Applicable directives 
	All applicable European directives have been considered in the determination of the application.

	ü

	WFD
	The discharge activity screens out from needing further assessment under WFD as it is not in a water body at high status or high status for morphology, and it is listed in Annex D as a low risk activity plus there is no in combination impact.
Consultation with NRW Geoscience team confirmed the activity  be low risk via risk assessment, therefore it can be considered a Green activity under Annex D of OGN 72. 

	ü

	The site

	Extent of the site of the facility 
	The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. 

A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary.
	ü

	Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. 
	The application is not  within the relevant distance criteria of a site of heritage,  landscape or nature conservation, and/or protected species or habitat .



	ü

	Habitat Regulation Assessment for a designated site under the EU Habitats Directive
	No FORM 1 completed:

HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site by virtue of the scale or location or nature of the project.

Risk Screening Report did not identify a Nature 2000/Ramsar site within screening distance. 

	ü

	Environmental Risk Assessment and operating techniques

	Environmental risk

	We have carried out a risk assessment on behalf of the operator.  

The operator considers this risk assessment is satisfactory. 

The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. 

	ü

	Operating techniques
	We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. 

The key measures proposed by the operator meet the requirements set out in How to Comply with your permit TGN 7.01, with the treatment system meeting minimum requirements for a discharge to ground. 

The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. 

	ü

	The permit conditions

	Considerations of foul sewer

	We agree with the operators justification for not connecting to foul sewer.
	ü

	Operator Competence

	Environment Management System 
	There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions.  The decision was taken in accordance with RGN 5 on Operator Competence.

	ü

	Sustainable Management of Natural Resources (SMNR)

	Considerations of SMNR - Compliance with our General Purpose
	We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources”

	ü

	Environment Wales Act 2016

	Biodiversity and resilience of ecosystems duty
	Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a  groundwater discharge activity permit under EPR2016.
	ü
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