This form covers all DCWW operations environmental pollution and MCerts Flow meter issues.

The Originator must mark either box A or B and then Email the form as detailed below for onward transmission to the EA / NRW.

| Unplanned Event |  |  |  |  | Planned Event |  |  |  |  |  |  |  | X |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| To the Smart Hub Risk team at Linea for onward transmission to EA / Natural Resources Wales |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E-mail: | smarthub@dwrcymru.com |  |  |  |  | Telephone: |  |  |  | 0303 313 0103 |  |  |  |
| To Be Completed By DCWW: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  | Sam Hampson |  |  |  | Job Role: |  |  |  | Pollution Technician |  |  |  |
| Date: |  | 06/08/2019 |  |  |  | Time: |  |  |  | 16:30 |  |  |  |
| Office: |  | 0333 3000 001 |  |  |  | Phone: |  |  |  | 07557 184139 |  |  |  |
| Fax: |  |  |  |  |  | E mail: |  |  |  | Samuel.hampson@dwrcymru.com |  |  |  |
| Details Of Notification: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Asset Type (WwTW, Pstn, CSO, EO, service reservoir, trunk sewer, WTW, storm treatment etc) |  | CSO (screen) |  |  |  |  | Permit No: |  |  |  | AN0045101 |  |  |
| Location: |  | Kimberley road CSO 116 kimberley road Cardiff CF23 5DN |  |  |  |  | Grid Ref: |  |  |  | X - 319356 Y - 178304 |  |  |
|  |  |  |  |  |  |  | Watercourse: |  |  |  | Bristol channel |  |  |
| Date of Occurrence: |  | 06/08/2019 |  |  |  |  | Expected Duration: |  |  |  | 30/10/2019 |  |  |
| M Cert Related: |  | Y |  |  |  |  | Photographic Evidence |  |  |  | Y/N |  |  |
| Brief Outline: |  | Removal of screen from CSO for maintenance |  |  |  |  |  |  |  |  |  |  |  |
| Remedial Action: |  | Screen is being sent to a specialist contractor so that it can be fully inspected and maintained. |  |  |  |  |  |  |  |  |  |  |  |
| Actions Taken to Reduce Future Risks: |  | Screen is being maintained in the summer months to reduce the risk of the asset spilling during the time that it is unscreened. |  |  |  |  |  |  |  |  |  |  |  |
| Environmental Impact: |  | Any spills from this asset would be unscreened and go to a short outfall in the Bristol channel. |  |  |  |  |  |  |  |  |  |  |  |
| Updates: |  | Work has been completed without incident. Work was completed at the end of October. For any further queries please call Sam Hampson. |  |  |  |  |  |  |  |  |  |  |  |
| DCWW Ref: |  | 315215457 |  | Message No: |  |  |  | 3 | Update / Final: |  |  | Final |  |
| Smart Hub Analyst: |  | Ryan Davies |  | Date: |  |  |  | 02/12/19 | Time: |  |  | 11:12 |  |