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Operational Notification
		WOF 020
[bookmark: _GoBack]This form covers all DCWW operations environmental pollution and MCerts Flow meter issues.
The Originator must mark either box A or B and then Email the form as detailed below for onward transmission to the EA / NRW.

	[bookmark: bmUnplanned][bookmark: bmPlanned]Unplanned Event 
	
	Planned Event
	X

	

	To the Smart Hub Risk team at Linea for onward transmission to EA / Natural Resources Wales

	E-mail:
	smarthub@dwrcymru.com
	Telephone: 
	0303 313 0103

	
	
	
	

	To Be Completed By DCWW:

	[bookmark: bmRequestor][bookmark: bmRequestor_Role]Name: 
	Sam Hampson
	Job Role: 
	Pollution Technician

	[bookmark: bmDate2][bookmark: bmTime2]Date: 
	06/08/2019
	Time: 
	16:30

	[bookmark: bmRequestor_Phone]Office: 
	0333 3000 001
	Phone: 
	07557 184139

	[bookmark: bmRequestor_Email]Fax: 
	
	E mail: 
	Samuel.hampson@dwrcymru.com

	Details Of Notification:

	[bookmark: bmAsset_Type][bookmark: bmConsent_No]Asset Type (WwTW, Pstn, CSO, EO, service reservoir, trunk sewer, WTW, storm treatment etc)
	CSO (screen)
	Permit No: 
	AN0045101

	[bookmark: bmAddress][bookmark: bmGrid_Ref]Location: 
	Kimberley road CSO
116 kimberley road
Cardiff
CF23 5DN
	Grid Ref: 
	X - 319356 Y - 178304

	[bookmark: bmWatercourse]
	
	Watercourse: 
	Bristol channel

	[bookmark: bmDate][bookmark: bmExpected_End]Date of Occurrence: 
	06/08/2019
	Expected Duration: 
	30/10/2019

	

	[bookmark: bmMcert][bookmark: bmPhoto_Evidence]M Cert Related: 
	Y
	Photographic Evidence
	Y/N

	[bookmark: bmBrief_Outline]Brief Outline: 
	Removal of screen from CSO for maintenance

	[bookmark: bmRemedial_Action]Remedial Action: 
	Screen is being sent to a specialist contractor so that it can be fully inspected and maintained. 

	[bookmark: bmActions]Actions Taken to Reduce Future Risks: 
	Screen is being maintained in the summer months to reduce the risk of the asset spilling during the time that it is unscreened.

	[bookmark: bmEnvironmental_Impact]Environmental Impact: 
	Any spills from this asset would be unscreened and go to a short outfall in the Bristol channel.

	[bookmark: bmUpdates]Updates: 
	Work has been completed without incident. Work was completed at the end of October.

For any further queries please call Sam Hampson.

	

	[bookmark: bmRef][bookmark: bmMsg_No][bookmark: bmStatus]DCWW Ref:
	315215457
	Message No:
	3
	Update / Final:
	Final

	[bookmark: bmAnalyst_Name][bookmark: bmDate3][bookmark: bmTime]Smart Hub Analyst:
	Ryan Davies
	Date:
	02/12/19
	Time:
	11:12
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