File note: Phone Log with Applicant: Peter Hoyland.

Permitting officer: James Wakeford

Date 19/11/2019

Peter confirmed the following cost for

- the package treatment plant = £5000 pounds.

- Extension of the existing infiltration system = £750.

- Set up of the new PTP etc. £750

- Total £6500

Date 28/11/2019

Permitting officer called Peter to confirm what the well (located within 50 metres of the discharge) was used for? Peter confirmed the well was disused and not use as a supply of water for any purpose.

Date 29/11/2019

The permitting officer called to ask the applicant if it was possible to increase the infiltration system size from 135m2 to 140m2 to comply with British Standard sizing for the size of discharge. The applicant confirmed the infiltration system will be sized 140m2.