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[bookmark: _GoBack]Schedule 5 – Notification	
Part A 
	Permit Number
	BU7766IC

	Name of Operator
	Potters Waste Management

	Location of Facility
	Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ

	Time and date of the detection
	08:00 07/10/19

	Date and time of event
	Ongoing

	Reference or description of the location of the event
	Biomass Boiler

	Substances potentially released
	None. The boiler is used to maintain optimum temperature in the biological treatment lagoon; when temperature drops, treatment rate slows, thereby limiting the rate of discharge.

	Best estimate of the quantity or rate of release of substances
	N/A

	Measures taken, or intended to be taken, to stop any emission
	Leachate will be tankered off site if we are unable to attain discharge consent limits.

	Description of the failure or accident
	Failure of the hydraulic pump on the fuel feed. Pump is being refurbished this week.
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