Schedule 5 – Notification

Part A

| Permit Number | BU7766IC |
| --- | --- |
| Name of Operator | Potters Waste Management |
| Location of Facility | Bryn Posteg Landfill, Tylwch Road, Llanidloes, Powys, SY18 6JJ |
| Time and date of the detection | 08:00 07/10/19 |
| Date and time of event | Ongoing |
| Reference or description of the location of the event | Biomass Boiler |
| Substances potentially released | None. The boiler is used to maintain optimum temperature in the biological treatment lagoon; when temperature drops, treatment rate slows, thereby limiting the rate of discharge. |
| Best estimate of the quantity or rate of release of substances | N/A |
| Measures taken, or intended to be taken, to stop any emission | Leachate will be tankered off site if we are unable to attain discharge consent limits. |
| Description of the failure or accident | Failure of the hydraulic pump on the fuel feed. Pump is being refurbished this week. |