Phone Log:

Applicant: Vivian James

Permitting officer: James Wakeford

Date of phone call: 03/12/19

The permitting officer ask for conformation of how many caravans are connected into the treatment system.  The applicant provided the following response:

The 8 caravans located on the Northern boundary have connection points in the ground for direct hook up of the grey water discharge pipe that would normally be put into wheeled tank/container and then disposed of at the nearest communal disposal standpipe point, within the site.

The single standpipe disposal point located on southern end of the pipe network running south to north, has potential to be a discharge point for up to a maximum of 20 caravans that are located in close proximity to the standpipe.  Here only grey water collected in the wheeled tank/containers are disposed of and go to the septic tank before discharge to the water course.

The applicant stated that when disposing of the grey water, a caravan owner will normally go to the nearest standpipe disposal point.

Also, there is second standpipe located within close distance that discharged to the other treatment system serving that area of the site.

The site also has toilet blocks and shower blocks for the caravans to use.