| Permit Number: | PAN-007523 |
| --- | --- |
| Applicant name: | Clee Tompkinson & Francis |
| Site Address: | Talybont on Usk Livestock Market |
| Discharge Point NGR: | SO 11730 22830 |
| Respond by date: | 20/12/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The application is to regulate an existing discharge of wash down effluent from a livestock market yard. The market is only used for sheep and takes place once per week over Spring and Summer months. The yard is lined with hay for the sales which is removed before washing down. The wash down effluent goes to a septic tank and soakaway, only clean water will be used to wash down the yard area. Clean rainfall related run off is diverted to a separate soakaway.

The maximum daily discharge volume is 5m3/day, outlined in the ‘wash down management system’ found here. This will be referenced as an ‘Operating Technique’ in any permit granted to ensure the operator keeps to this volume.

A site visit was undertaken in 04/2017, the pre-app form is saved on the DMS folder here. there were no effluent breakouts found and the system was well maintained. There are no historic incidents associated with this site.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

The report has picked up a SAC and SSSI, an Appendix 4 and HRA will be completed and consulted on as necessary.

Risk Assessment Results (modelling or L1 Risk Assessment):

A L1 Risk Assessment has been completed to ascertain the risk to groundwater (although not totally applicable). The score is 99 due to the distance to the watercourse and the use of default parameters as the system is existing.

Miscellaneous:

Although the site is within distance of a sewered area, as the discharge is existing and there is no replacement/upgrading of the system, we will not ask the applicant to pursue connection to the foul sewer, this is in accordance with OI 538_06.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

The wastewater from the livestock market is considered trade effluent and therefore requires the applicant to undertake the groundwater risk assessment.

Groundwater Risk Assessment

A groundwater risk assessment must be undertaken in line with gov.uk guidance for groundwater risk assessments for infiltration systems.  The guidance describes the use of a tiered approach, and includes information on the level of detail required (extended or comprehensive information is required for trade discharges).  The groundwater risk assessment must demonstrate that hazardous substances are prevented from entering groundwater, and the entry of non-hazardous pollutants is limited such that they do not cause pollution.

The chemical composition of the effluent will need to be characterised to determine the presence or absence of hazardous substances and non-hazardous pollutants. The analysis should be based on knowledge of the activities feeding the waste water stream. This should also include substances derived from any cleaning and disinfectant agents or pharmaceuticals that could enter the system.  Effluent samples should be taken if the site is currently operational.

We strongly recommend that a suitable qualified hydrogeologist undertakes the risk assessment.

Officers name: Alan Price
Date: 19/12/2019

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

The decision to issue a descriptive consent has been taken due to the below:

-	Groundwater Directive – given the discharge is existing, of low volume, there are no pollution incidents and the current WFD status for the Groundwater Body Chemical status is ‘good’, a descriptive consent has been issued as per the pre-application advice

-	Water Framework Directive – the adjacent watercourse is designated ‘high’ for chemical and phys/chem parameters. As the discharge is existing it is evident there is no impact from this discharge.

As the pre-application advice given stated that a descriptive permit would be issued, a risk assessment has not been submitted and a risk-based decision has been taken to issue a descriptive consent

Date: 24/02/2020