## RTA1
Releases of IED Pollutants to Air
Operational Summary for the year: | 2019 | Select Reporting Year
Operator: | RWE Generation UK Plc |  |  | Select Operator
Site Location: | Aberthaw Power Station |  |  | Select Site Location
Permit Number: | EPR/RP3133LD | LCP Reference: | 283
Note: beginning 1 January 2016, a return is required for each LCP within 28 days of the end of each quarter
Air Emissions: | SO2 | NOx (tonnes) | Dust (tonnes)
(tonnes)
January | 49.5 | 377.81 | 14.47
February | 20.24 | 144.03 | 5.15
March | 0.13 | 1.22 | 0.11
Total for Quarter 1 | 69.87 | 523.06 | 19.73
April | 0 | 0 | 0
May | 0 | 0 | 0
June | 0 | 0 | 0
Total for Quarter 2 | 0 | 0 | 0
July | 0 | 0 | 0
August | 2.8 | 7.61 | 0.34
September | 2.18 | 2.1 | 0.33
Total for Quarter 3 | 4.98 | 9.71 | 0.67
October
November
December
Total for Quarter 4 | 0 | 0 | 0
Annual Total | 74.85 | 532.77 | 20.4
Please do not enter text
I confirm that this data is not knowingly reported with any omissions, errors or misrepresentation. All measurement equipment used to generate the data has been appropriately calibrated and maintained regularly; this includes calibration against traceable international measurement standards where available. The data is supported by appropriate record keeping. IT is designed, documented, tested, implemented, controlled and maintained to ensure reliable, accurate and timely processing of data; data handling and calculations have been appropriate; data has been checked for false and unusual measurements. The annual report of emissions for the above participating large combustion plant has been verified in accordance with the requirements of the Large Combustion Plants (Transitional National Plan) Regulations 2015.
Name of the operator staff responsible for the quality of data supplied to the Register in accordance with the principles above. | Richard Powell |  | Date: | 2019-10-02
1. Data must be reported in tonnes to 2 decimal places
2. All forms must be saved in the format IED_RTA1_Quarter-Inventory_Year_LCP Reference i.e. IED_RTA1_Q1_20xx_LCPxxx
3. No PDF documents shall be accepted
4. Upload Forms held on GOV.UK will be accepted other variants of the forms will be automatically rejected which may impact statutory obligations to report on time.

## Important Information
IED RTA1 FILE FORMAT - Guidance
1 | File Format - Description Breakdown
|  | Regime Form | - | Qtr | - | Year | - | LCP Ref.
A
B
C
D
2 | Description Breakdown - Reference to IED RTA1 Form
|  |  | A | IED RTA1
[5 empty] | B | Q1
Q2
Q3
Q4
[7 empty] | C | 2016 - 2020
[9 empty] | D | 5 to 418 | LCP Ref: | 283
3 | Real Examples of how IED RTA1 forms must be saved & emailed to the Environment Agency: | [11 empty] | TNP@environment-agency.gov.uk
|  | Example File Format: | [7 empty] | This equates to the following descriptions:
| IED_RTA1 _Q1_2016_LCPxxx | [8 empty] | Quarter 1 (return)-2016-LCP Reference XXX (Refer to D)
| IED_RTA1 _Q2_2016_LCPxxx | [8 empty] | Quarter 2 (return)-2016-LCP Reference XXX (Refer to D)
| IED_RTA1 _Q3_2016_LCPxxx | [8 empty] | Quarter 3 (return)-2016-LCP Reference XXX (Refer to D)
| IED_RTA1 _Q4_2016_LCPxxx | [8 empty] | Quarter 4 (return)-2016-LCP Reference XXX (Refer to D)
| IED_RTA1 _Q1_2017_LCPxxx | [8 empty] | Quarter 1 (return)-2017-LCP Reference XXX (Refer to D)
| If you require any further information or have any queries please contact: | [9 empty] | TNP@environment-agency.gov.uk

## Plant Details (hidden)
Hide Sheet
Site Nameand LCP reference | LCP Reference | Permit Number | Sector | Operator Name | Year | Cross Check
Kilroot Power Station | 5 | P0120/06A |  | AES Kilroot Power Limited | 2016 | 5
Stoneywood Mill | 8 | PPC/N/20005 |  | Arjo Wiggins | 2017 | 8
Boilers 9 & 10 | 26 | PPC/A/1090147 |  | Ineos Infrastructure (Grangemouth) Limited | 2018 | 26
Boilers 14 & 15 | 29 | PPC/A/1090147 |  | Ineos Infrastructure (Grangemouth) Limited | 2019 | 29
Boiler 8 | 30 | PPC/A/1090147 |  | Ineos Infrastructure (Grangemouth) Limited | 2020 | 30
British Salt Boiler Train | 32 | FP3034XD |  | British Salt Limited |  | 32
British Sugar Newark Boiler Train | 35 | BK9385IH |  | British Sugar Plc |  | 35
Bury St Edmonds Boilers CHP plant | 37 | BX2094IJ |  | British Sugar Plc |  | 37
Wissington CHP plant | 38 | BX2108IQ |  | British Sugar Plc |  | 38
Dalry DSM CHP (Turbine)(Boiler) | 39 | PPC/W/20037 |  | DSM Nutritional Products (UK) Limited |  | 39
King's Lynn Power Station GT1 | 48 | BP3239LA |  | Centrica KL Limited |  | 48
South Humber Bank Power Station GT 13 | 49 | MP3235LY |  | EP SHB Limited |  | 49
South Humber Bank Power Station GTs 11 & 12 | 50 | MP3235LY |  | EP SHB Limited |  | 50
South Humber Bank Power Station GTs 21 & 22 | 51 | MP3235LY |  | EP SHB Limited |  | 51
Killingholme Power Station GT1 | 52 | SP3133LY |  | Centrica KPS Limited (Closed) |  | 52
Killingholme Power Station GT2 | 53 | SP3133LY |  | Centrica KPS Limited (Closed) |  | 53
Killingholme Power Station GT3 | 54 | SP3133LY |  | Centrica KPS Limited (Closed) |  | 54
Barry Cogeneration Plant | 60 | EPR/JP3632ZH |  | Dow Silicones UK Ltd |  | 60
Deeside Power Station GT1 | 83 | EPR/XP3131VK |  | Deeside Power (UK) Limited |  | 83
Deeside Power Station GT2 | 84 | EPR/XP3131VK |  | Deeside Power (UK) Limited |  | 84
Drax Power Station Boiler Train | 91 | VP3530LS |  | Drax Power Limited |  | 91
Castleford Power Station CCGT1 | 92 | BK1627IX |  | E.ON UK Cogeneration Limited |  | 92
Thornhill Power Station CCGT1 | 95 | JP3430LC |  | E.ON UK Cogeneration Limited |  | 95
Connah’s Quay Unit 1 | 96 | EPR/NP3037AF |  | Uniper UK Limited |  | 96
Connah's Quay Unit 2 | 97 | EPR/NP3037AF |  | Uniper UK Limited |  | 97
Connah’s Quay Unit 3 | 98 | EPR/NP3037AF |  | Uniper UK Limited |  | 98
Connah’s Quay Unit 4 | 99 | EPR/NP3037AF |  | Uniper UK Limited |  | 99
Cottam Development Centre Power Station GT1 | 100 | NP3033RD |  | Uniper UK Limited |  | 100
Enfield Power Station GT1 | 101 | NP3833RC |  | Uniper UK Limited |  | 101
Killingholme GT11 | 108 | VP3933RJ |  | Uniper UK Limited |  | 108
Killingholme GT12 | 109 | VP3933RJ |  | Uniper UK Limited |  | 109
Killingholme GT21 | 110 | VP3933RJ |  | Uniper UK Limited |  | 110
Killingholme GT22 | 111 | VP3933RJ |  | Uniper UK Limited |  | 111
Port of Liverpool CHP GT1 | 115 | BK3506IS |  | E.On UK CHP Limited |  | 115
Ratcliffe on Soar Power Station | 116 | EP3133RZ |  | Uniper UK Limited |  | 116
Winnington CHP GT | 117 | EP3337N |  | Winnington CHP Limited |  | 117
Sandbach Power GT1 | 118 | BS5371IZ |  | E.ON UK Cogeneration Limited |  | 118
Cottam Power Station Boiler Train | 120 | WP3135J |  | EDF Energy (Thermal Generation) Limited |  | 120
EDF West Burton LCP 1 | 130 | SP3935LW |  | EDF Energy (Thermal Generation) Limited |  | 130
EDF West Burton LCP 2 | 131 | SP3935LW |  | EDF Energy (Thermal Generation) Limited |  | 131
Elean Power Station Biomass Boiler | 135 | AP3130LY |  | EPR Ely Limited |  | 135
Peterhead Power Station Block | 164 | PPC/A/1008802 |  | SSE |  | 164
Rugeley Power Boiler Plant | 197 | EP3538LB |  | Rugeley Power Limited (Closed) |  | 197
KG Ethylene Plant 36-F-501A | 200 | PPC/A/1088953 |  | Ineos Chemicals (Grangemouth) Limited |  | 200
KG Ethylene Plant 36-F-501B | 201 | PPC/A/1088953 |  | Ineos Chemicals (Grangemouth) Limited |  | 201
Keadby Power Station GT1 | 202 | YP3133LL |  | Keadby Generation Limited |  | 202
Keadby Power Station GT2 | 203 | YP3133LL |  | Keadby Generation Limited |  | 203
Keadby Power Station GT3 | 204 | YP3133LL |  | Keadby Generation Limited |  | 204
Kemsley CHP Package Boilers A-C | 206 | BJ7395IG |  | E.On UK CHP Limited |  | 206
Kemsley CHP Package Boilers D-F 2 | 207 | BJ7395IG |  | E.On UK CHP Limited |  | 207
Kemsley CHP - GT & WHRB A/B | 208 | BJ7395IG |  | E.On UK CHP Limited |  | 208
Longannet Power Station | 213 | PPC/A/1008873 |  | Scottish Power (Closed) |  | 213
Medway Power Station CT1 | 218 | HP3939LN |  | Medway Power Limited |  | 218
Medway Power Station CT2 | 219 | HP3939LN |  | Medway Power Limited |  | 219
Michelin Tyre Plant | 220 | PPC/E/0020035 |  | Michelin Tyre Plc |  | 220
STD GT1/GT2 | 221/414 | FP3031HJ |  | PX Limited |  | 221/414
Warrington Silica Natural Gas Boiler Train | 254 | RP3233GW |  | PQ Silicas UK Limited |  | 254
Versalis UK Limited Grangemouth | 264 | PPC/A/1005112 |  | Versalis UK Ltd |  | 264
Great Yarmouth Power Station GT1 | 267 | KP3531US |  | RWE Generation UK Plc |  | 267 | Corrected to RWE Gen UK Plc | Plc was missing |  | JAB
Hythe Cogen CHP GT1 | 269 | BK1732IQ |  | RWE Generation UK Plc |  | 269 | was Npower Cogen (Hythe) Limited | was RWE Cogen UK (Hythe) Limited | changed 03/5/19 | JAB
Hythe Cogen Boiler Train | 268 | BK1732IQ |  | RWE Generation UK Plc |  | 268 | was Npower Cogen (Hythe) Limited | was RWE Cogen UK (Hythe) Limited | changed 03/5/19 | JAB
Ineos GT1 | 271 | HP3137ZK |  | INEOS Nitriles (UK) Limited |  | 271 | was RWE Npower Cogen (Ineos Nitriles) | Ineos GT1 | 271 | HP3137ZK
Little Barford Power Station GT1 | 272 | AP3630LG |  | RWE Generation UK Plc |  | 272
Little Barford Power Station GT2 | 273 | AP3630LG |  | RWE Generation UK Plc |  | 273
Didcot B Module 5 | 276 | YP3930LZ |  | RWE Generation UK Plc |  | 276
Didcot B Module 6 | 277 | YP3930LZ |  | RWE Generation UK Plc |  | 277
Aberthaw Power Station | 283 | EPR/RP3133LD |  | RWE Generation UK Plc |  | 283
Wilton Olefins Boilers | 292 | BS3590IE |  | Sabic UK Petrochemicals Limited |  | 292
Snodland GT1 | 294 | BJ5706IM |  | SSE Plc |  | 294
Chickerall Generation Site OCGT1 | 295 | FP3230LM |  | SSEPG (Operations) Limited |  | 295
Burghfield Generation Site OCGT1 | 296 | ZP3130LJ |  | SSEPG (Operations) Limited |  | 296
Redcar Power Station Boiler | 297 | JP3638HM |  | Sahaviriya Steel Industries UK |  | 297
Saltend Co-generation Hull Boiler A4 | 299 | QP3539LE |  | Saltend Cogeneration Company Limited |  | 299
Saltend Co-generation Hull Turbine A1 | 300 | QP3539LE |  | Saltend Cogeneration Company Limited |  | 300
Saltend Co-generation Hull Turbine A2 | 301 | QP3539LE |  | Saltend Cogeneration Company Limited |  | 301
Saltend Co-generation Hull Turbine A3 | 302 | QP3539LE |  | Saltend Cogeneration Company Limited |  | 302
Scottish and Southern Energy Fiddlers Ferry | 309 | BS8192IV |  | Keadby Generation Limited |  | 309
Scottish and Southern Energy Salt Union OCGT | 311 | SP3730BW |  | SSE Generation Limited (Closed) |  | 311
Uskmouth Power Plant | 312 | EPR/LP3131SW |  | Simec Uskmouth Power Limited |  | 312
Sellafield GT1 | 316 | BM4317IX |  | Sellafield Limited |  | 316
Sellafield GT2 | 317 | BM4317IX |  | Sellafield Limited |  | 317
Sellafield GT3 | 318 | BM4317IX |  | Sellafield Limited |  | 318
Sellafield Aux Boiler | 319 | BM4317IX |  | Sellafield Limited |  | 319
Boiler Plant | 330 | BS3824IJ |  | Solvay Interox Limited |  | 330
Port Talbot Service Boilers | 337 | EPR/BL7108IM |  | Tata Steel UK Limited |  | 337
Port Talbot Mitchell Boiler | 338 | EPR/BL7108IM |  | Tata Steel UK Limited |  | 338
Port Talbot A5 Boiler | 339 | EPR/BL7108IM |  | Tata Steel UK Limited |  | 339
Port Talbot No. 6&7 Boilers | 340 | EPR/BL7108IM |  | Tata Steel UK Limited |  | 340
British Steel Limited Scunthorpe Works 1 (Central Power Station Boiler Train) | 341 | HP3736AW |  | British Steel Limited |  | 341
British Steel Limited Scunthorpe Works 2 (Turbo Blower House Boilers 1-4) | 342 | HP3736AW |  | British Steel Limited |  | 342
British Steel Limited Scunthorpe Works 3 (Turbo Blower House Boilers 5-6) | 343 | HP3736AW |  | British Steel Limited |  | 343
Greatham Works | 354 | TP3532PK |  | Venator Materials UK Limited |  | 354
Kinneil Stack A1 (B -101) GT , Kinneil Stack A1 (B -101) Waste Heat Recovery Units | 360 | PPC/A1013107 |  | INEOS FPS Limited |  | 360
Winnington CHP Boiler Train | 408 | EP3337N |  | Winnington CHP Limited |  | 408
Port of Liverpool CHP - Package Boilers 1-3 | 417 | BK3506IS |  | E.On UK CHP Limited |  | 417
Lynemouth Power Biomass Boiler | 418 | FP3137CG |  | Lynemouth Power Limited |  | 418
Total 95
Note on J64: Bailey, Jason A: Gill Hunter Confirmed Operator Name 7/519

## Lists (hidden)
|  |  | Operator Name | RWE Generation UK Plc
Reporting Year | Operator Name | Sum of LCP Reference | Sites List | Sum of LCP Reference
2016 | AES Kilroot Power Limited | 5 | Aberthaw Power Station | 283
2017 | Arjo Wiggins | 8 | Didcot B Module 5 | 276
2018 | British Salt Limited | 32 | Didcot B Module 6 | 277
2019 | British Steel Limited | 1026 | Great Yarmouth Power Station GT1 | 267
2020 | British Sugar Plc | 110 | Hythe Cogen Boiler Train | 268
blank | Centrica KL Limited | 48 | Hythe Cogen CHP GT1 | 269
Grand Total | Centrica KPS Limited (Closed) | 159 | Little Barford Power Station GT1 | 272
| Deeside Power (UK) Limited | 167 | Little Barford Power Station GT2 | 273
| Dow Silicones UK Ltd | 60
| Drax Power Limited | 91
| DSM Nutritional Products (UK) Limited | 39
| E.On UK CHP Limited | 1153
| E.ON UK Cogeneration Limited | 305
| EDF Energy (Thermal Generation) Limited | 381
| EP SHB Limited | 150
| EPR Ely Limited | 135
| Ineos Chemicals (Grangemouth) Limited | 401
| INEOS FPS Limited | 360
| Ineos Infrastructure (Grangemouth) Limited | 85
| INEOS Nitriles (UK) Limited | 271
| Keadby Generation Limited | 918
| Lynemouth Power Limited | 418
| Medway Power Limited | 437
| Michelin Tyre Plc | 220
| PQ Silicas UK Limited | 254
| PX Limited | 0
| Rugeley Power Limited (Closed) | 197
| RWE Generation UK Plc | 2185
| Sabic UK Petrochemicals Limited | 292
| Sahaviriya Steel Industries UK | 297
| Saltend Cogeneration Company Limited | 1202
| Scottish Power (Closed) | 213
| Sellafield Limited | 1270
| Simec Uskmouth Power Limited | 312
| Solvay Interox Limited | 330
| SSE | 164
| SSE Generation Limited (Closed) | 311
| SSE Plc | 294
| SSEPG (Operations) Limited | 591
| Tata Steel UK Limited | 1354
| Uniper UK Limited | 1145
| Venator Materials UK Limited | 354
| Versalis UK Ltd | 264
| Winnington CHP Limited | 525
| Grand Total | 18533