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	Permit Number:
	PAN-007275


	Applicant name:
	Mr Clancy

	Site Address:
	Llwynbedw Farm, Cwmgiedid, Ystradgynlais, Swansea SA9 1LX

	Discharge Point NGR:
	SN 79064 11558 and SN 79065 11752

	Respond by date:
	31st December 2019 (10 working days)

	Permitting Officer:
	Katrin Raynor-Evans



Brief Description of proposal:

A new application to dispose of diluted waste sheep twice a year. The applicant wishes to spread 5.8m3/day, twice a year via a vacuum tanker whish spreads at a rate of 2.8m3/ha. Given this low spreading rate, the applicant requires quite a large amount of land for the disposals. 2.76 ha per disposal requiring a total of 5.53 ha.  I requested that the applicant submit a new site map showing additional fields to accommodate the spreading, which is available to view on DMS. Whilst there is enough land available, the L1 assessment does raise some concerns. 
[image: ]


Habitats Screening Report – Designations or protected species/habitats:

SSSI – Rhos Hen-Glyn-Isaf approximately 900m to the North of the discharge areas
SINC – Three located to the South East of the site approximately 84 m away
Protected habitats and species – none to be considered within 30m 



Risk Assessment Results (modelling or L1 Risk Assessment):
The Level 1 assessment suggests that the application should be refused. You will see that this is for numerous reasons concerning Field A (SN 79064 11558):
I have assumed worst case for the non-aquifer cover.
Field A is located in close proximity to a spring which has increased the scoring considerably. Given the amount of land that the applicant needs for one disposal, the spreading area within the field cannot be restricted to a different area. At a squeeze, the distance could be increased to 30m from the spring, but this still produces a high score. 
Based on information from the application form, the leaching type is high which again has produced a high score. 


Miscellaneous:

N/A


NRM Responses:

Environment Management comments:




Officers name:
Date:

Geoscience Response:

[bookmark: _GoBack]I have reviewed the level 1 risk assessment and made some minor changes. The assessment has been undertaken using reasonable worst case scenario inputs for unknown values.  The revised score is 139 – potential refusal.  Failure of the level 1 risk assessment is largely caused by the close proximity of receptors to field A.  Field B is acceptable.   Is there an alternative site to field A for disposal in a more favourable location?  


Officers name: Alan Price
Date: 08/01/2019

	External Consultations sent to:
	Yes/No

	National Parks
	No

	Water Company regarding Drinking Water Protected Zone / SPZ1
	No

	Environmental Heath
	No




Any Permitting Responses:








Date:

Page 1 of 3www.naturalresourceswales.gov.uk
Author, date
www.naturalresourceswales.gov.uk
Author, date
www.naturalresourceswales.gov.uk
Author, date
www.naturalresourceswales.gov.uk

Page 2 of 3www.naturalresourceswales.gov.uk

image1.png
g

Tir-Roger

<

S
<

Path

Tawelfan

Nant-gwinau

Path

Path

Colle.




image2.jpeg
Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




