| Permit Number: | PAN-007519 |
| --- | --- |
| Applicant name: | Cantref Adventure Farm Limited |
| Site Address: | Cantref Adventure Farm, Upper Cantref, Brecon, Powys LD3 8LR |
| Discharge Point NGR: | SO 05751 25642 |
| Respond by date: | 2nd January 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

A new application to dispose of 16.11m3/day of domestic sewage via septic tank effluent to ground.

The site has been discharging since 1993 when the tank was serving a bunkhouse with toilet and washing facilities. The site developed in 2013 with the original septic tank still being utilised. In 2013 the tank was replaced with a Kingspan Klargester septic tank with a capacity of 15m3/day. The discharge is currently unpermitted and at the request of the local environment officer, the discharge has ceased with the effluent currently being tankered away whilst the application is in process.

The applicant has submitted an H1 assessment which can be viewed in the DMS file.

Habitats Screening Report – Designations or protected species/habitats:

No designations.

Risk Assessment Results (modelling or L1 Risk Assessment):

I have not undertaken a L1 assessment as the applicant has submitted an H1 assessment titled ‘GRA’ on an email submitted with their application. Geoscience please advise on the H1 assessment and the size of the infiltration system, which I did question with the applicant. The email is saved to the DMS file.

Miscellaneous:

The applicant has applied for an additional discharge on site at NGR SO 05691 25742 for 6.3m3/day of treated sewage effluent from a septic tank to infiltration system from a campsite and bunkhouse. A separate consultation will follow.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Geoscience Response:

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: