## Sheet1
2019-07-01
| Analytical Data | [7 empty] | Discharge Data
Date | UF Permeate | [7 empty] | UF Permeate mᵌ | RO Permeate mᵌ | Tankered m3 | PARAMETERS | REPORTING LIMITS
| pH | Temp. | COD Total | Ammonia NH3-N | SRP as P | Suspended Solids | BOD |  |  |  |  | UF + RO PERMEATE DISCHARGE
| pH | °C | mg/l | mg/l | mg/l | mg/l | mg/l |  |  |  |  | COD | <100mg/l
1 | 7.36 | 24.4 | 29.6 | 0.4 | 0.02 | 0 |  |  | 107.4 | 54.1 | 0 | BOD | <5.0mg/l
2 | 7.13 | 22.5 | 38.1 | 0.2 | 0.012 | 0 | 1 | (<1)* | 177.3 | 86.5 | 0 | Ammonia | <0.50mg/l
3 | 7.01 | 21.9 | 53.5 | 0.1 | 0 | 0 |  |  | 145.7 | 85 | 0 | Orthophosphate (mg/l) PO3− 4-P | <0.2mg/l
4 | 7.53 | 22.5 | 21 | 0 | 0 | 0 |  |  | 166.6 | 33.7 | 0 | TSS | <5.00mg/l
5 | 7.69 | 23.1 | 11.1 | 0 | 0.091 | 0 |  |  | 182.2 | 58.6 | 0 | Temperature | <25°C
6 | 7.33 | 24.8 | 35.4 | 0.1 | 0 | 0 |  |  | 160 | 68 | 0 | pH | 6pH - 9pH
7 | 7.51 | 21.9 | 32.6 | 0.1 | 0 | 0 |  |  | 182.2 | 58.6 | 0
8 | 7.07 | 22.3 | 51.1 | 0.1 | 0 | 0 |  |  | 164.6 | 85 | 0
9 | 7.34 | 23.6 | 24.2 | 0 | 0 | 0 | 2 |  | 190.7 | 24.3 | 0
10 | 8.07 | 23.8 | 17 | 0 | 0 | 0 |  |  | 140.5 | 50.9 | 0
11 | 8.08 | 24.6 | 7.2 | 0 | 0 | 0 |  |  | 106.8 | 22.2 | 0
12 | 7.29 | 24.6 | 44.6 | 0 | 0.1 | 0 |  |  | 168.6 | 22.1 | 0
13 | 8.01 | 24.3 | 18.8 | 0 | 0 | 0 |  |  | 183 | 0 | 0
14 | 7.95 | 23.1 | 10.4 | 0 | 0 | 0 |  |  | 177.8 | 0 | 0
15 | 7.98 | 23.3 | 8.6 | 0 | 0 | 0 |  |  | 193.4 | 0 | 0
16 | 8.11 | 23.9 | 17.8 | 0 | 0 | 0 | 1 | (<1)* | 178.5 | 0 | 0
17 | 8.05 | 24.7 | 17.8 | 0 | 0 | 0 |  |  | 185 | 0 | 0
18 | 8.08 | 24.3 | 18.8 | 0 | 0 | 0 |  |  | 176 | 0 | 0
19 | 8.04 | 21.1 | 20.1 | 0 | 0 | 0 |  |  | 186.1 | 0 | 0
20 | 8.17 | 23.9 | 17.1 | 0 | 0 | 0 |  |  | 179.2 | 0 | 0
21 | 7.98 | 23.1 | 8.7 | 0 | 0 | 0 |  |  | 186.1 | 0 | 0
22 | 8.13 | 24.5 | 10.1 | 0 | 0 | 0 |  |  | 179.6 | 0 | 0
23 | 8.08 | 23.3 | 15.3 | 0 | 0 | 0 | 1 | (<1)* | 163 | 0 | 0
24 | 8.03 | 25.1 | 9.9 | 0 | 1.1 | 0 |  |  | 176.4 | 0 | 0
25 | 7.86 | 25.7 | 21.6 | 0 | 2.1 | 0 |  |  | 180.1 | 0 | 0
26 | 7.96 | 26.1 | 19.6 | 0 | 1.9 | 0 |  |  | 189.9 | 0 | 0
27 | 7.94 | 25.8 | 33.7 | 0 | 2.6 | 0 |  |  | 125.4 | 0 | 0
28 | 7.85 | 24.1 | 38.1 | 0 | 3.1 | 0 |  |  | 106.5 | 0 | 0
29 | 7.77 | 22.9 | 43.9 | 0 | 4 | 0 |  |  | 138.2 | 0 | 0
30 | 7.62 | 23.9 | 37.6 | 0 | 4.1 | 0 | 1 | (<1)* | 183.1 | 0 | 0
31 | 7.63 | 23.5 | 28.9 | 0 | 4 | 0 |  |  | 185.7 | 0 | 0
Total | [8 empty] | 4979.9 | 649 | 0
Average | 7.7629 | 23.7613 | 24.5871 | 0.032258 | 0.7459 | 0 | 1.2 |  | 166.6323 | 20.9355 | 0
* Please note that the value of the BOD result is in fact <1, in order to maintain the total average it has been entered as a "1".
| Chemical Parameters | [7 empty] | Volume Parameters
2019-07-01 | pH | Temp. | COD Total | Ammonia NH3-N | SRP as P | Suspended Solids | BOD |  | UF Permeate mᵌ | RO Permeate mᵌ | Tankered mᵌ
| pH | °C | mg/l | mg/l | mg/l | mg/l | mg/l
Average Figures | 7.7629 | 23.7613 | 24.5871 | 0.032258 | 0.75 | 0 | 1.2 |  | 166.6323 | 20.9355 | 0
Operational Limits | 6 - 9pH | <25°C | <100mg/l | <0.50mg/l | <0.2mg/l |  | <5.0mg/l |  | 194.4mᵌ