## Sheet1
2019-08-01
| Analytical Data | [7 empty] | Discharge Data
Date | UF Permeate | [7 empty] | UF Permeate mᵌ | RO Permeate mᵌ | Tankered m3 | PARAMETERS | REPORTING LIMITS
| pH | Temp. | COD Total | Ammonia NH3-N | SRP as P | Suspended Solids | BOD |  |  |  |  | UF + RO PERMEATE DISCHARGE
| pH | °C | mg/l | mg/l | mg/l | mg/l | mg/l |  |  |  |  | COD | <100mg/l
1 | 7.61 | 22.6 | 17.2 | 0 | 3.8 | 0 |  |  | 155.3 | 0 | 0 | BOD | <5.0mg/l
2 | 7.86 | 23.5 | 34.9 | 0 | 2.3 | 0 |  |  | 189.6 | 0 | 0 | Ammonia | <0.50mg/l
3 | 8.01 | 24.5 | 31.3 | 0 | 0.4 | 0 |  |  | 181.6 | 0 | 0 | Orthophosphate (mg/l) PO3− 4-P | <0.2mg/l
4 | 8.06 | 24.8 | 35.4 | 0 | 0.2 | 0 |  |  | 170.7 | 0 | 0 | TSS | <5.00mg/l
5 | 7.94 | 24.8 | 36.3 | 0 | 0.8 | 0 |  |  | 168.9 | 0 | 0 | Temperature | <25°C
6 | 8.03 | 23.8 | 21.1 | 0 | 0.2 | 0 | 1 | (<1)* | 175.2 | 0 | 0 | pH | 6pH - 9pH
7 | 7.91 | 24.6 | 33.1 | 0 | 0.4 | 0 |  |  | 175.5 | 0 | 0
8 | 8.02 | 24.1 | 33.2 | 0 | 1.6 | 0 |  |  | 166.3 | 0 | 0
9 | 7.93 | 24.5 | 27.4 | 0 | 2.3 | 0 |  |  | 105.4 | 0 | 0
10 | 7.98 | 24.7 | 27.1 | 0 | 1.7 | 0 |  |  | 186.4 | 0 | 0
11 | 8.09 | 22.9 | 28.5 | 0 | 0.1 | 0 |  |  | 187.7 | 0 | 0
12 | 7.99 | 23.9 | 23.5 | 0 | 0 | 0 |  |  | 185.9 | 0 | 0
13 | 7.95 | 22.9 | 20.1 | 0 | 0 | 0 | 1 | (<1)* | 187.3 | 0 | 0
14 | 7.98 | 23.6 | 20.2 | 0 | 0 | 0 |  |  | 190.4 | 0 | 0
15 | 7.99 | 23.7 | 15.5 | 0 | 0 | 0 |  |  | 186.4 | 0 | 0
16 | 8.05 | 23.2 | 17.4 | 0 | 0 | 0 |  |  | 189.8 | 0 | 0
17 | 8.03 | 22.9 | 12.4 | 0 | 0 | 0 |  |  | 190.9 | 0 | 0
18 | 8.08 | 23.3 | 25.1 | 0 | 0 | 0 |  |  | 181.6 | 0 | 0
19 | 7.96 | 23.3 | 21.9 | 0 | 0 | 0 |  |  | 167.6 | 28.2 | 0
20 | 7.18 | 23.2 | 32.9 | 0.1 | 0 | 0 | 1 | (<1)* | 190.2 | 85.8 | 0
21 | 7.14 | 22.5 | 40.9 | 0 | 0 | 0 |  |  | 177.9 | 82.6 | 0
22 | 6.94 | 22.7 | 39.9 | 0.1 | 0 | 0 |  |  | 167 | 85.8 | 0
23 | 7.04 | 23.4 | 33.9 | 0 | 0 | 0 |  |  | 124.6 | 85.6 | 0
24 | 7.39 | 23.4 | 25.7 | 0 | 0 | 0 |  |  | 176.4 | 85.5 | 0
25 | 6.85 | 24.6 | 38.1 | 0.1 | 0 | 0 |  |  | 140.5 | 85.5 | 0
26 | 6.81 | 24.5 | 39.6 | 0 | 0 | 0 |  |  | 147.1 | 85.5 | 0
27 | 6.95 | 24.3 | 33.3 | 0 | 0 | 0 |  |  | 168.6 | 85.4 | 0
28 | 7.52 | 24.6 | 26.6 | 0 | 0 | 0 | 1 | (<1)* | 148.4 | 85.3 | 0
29 | 7.01 | 23.3 | 38 | 0 | 0 | 0 |  |  | 117.4 | 82.3 | 0
30 | 6.92 | 23.8 | 42.8 | 0 | 0 | 0 |  |  | 132.3 | 83.4 | 0
31 | 7.13 | 23.7 | 37.2 | 0 | 0 | 0 |  |  | 140.3 | 81.1 | 0
Total | [8 empty] | 5032.9 | 960.9 | 0
Average | 7.6242 | 23.729 | 29.371 | 0.0096774 | 0.44516 | 0 | 1 |  | 166.8774 | 33.6129 | 0
* Please note that the value of the BOD result is in fact <1, in order to maintain the total average it has been entered as a "1".
| Chemical Parameters | [7 empty] | Volume Parameters
2019-04-01 | pH | Temp. | COD Total | Ammonia NH3-N | SRP as P | Suspended Solids | BOD |  | UF Permeate mᵌ | RO Permeate mᵌ | Tankered mᵌ
| pH | °C | mg/l | mg/l | mg/l | mg/l | mg/l
Average Figures | 7.6242 | 23.7613 | 29.371 | 0.0096774 | 0.44516 | 0 |  |  | 166.8774 | 33.6129 | 0
Operational Limits | 6 - 9pH | <25°C | <100mg/l | <0.50mg/l | <0.2mg/l | <5.0mg/l | <5.0mg/l |  | 194.4mᵌ