Permit Number: 
JP3239ST



Operator: 

The County Council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Feb19-L…
Reporting of ……LEACHATE…… monitoring for the period for … February 2019
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Feb 19
	1,482
	678
	19/02/19
	10.6



	L2
	Cadmium
	0.05

	Feb 19
	1.5
	34
	19/02/19
	7.83



	L2
	Nickel
	0.4

	Feb 19
	238
	34
	19/02/19
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Feb 19
	171
	678
	19/02/19
	21.5



	L2
	MP Xylene
	0.032
	Feb 19
	6.0
	54
	19/02/19
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Feb 19
	0.2
	1214
	19/02/19
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Feb 19
	1,508
	678
	19/02/19
	10.6



	L4
	Cadmium


	0.1


	Feb 19
	<0.080
	34
	19/02/19
	7.83



	L4
	Nickel


	0.1


	Feb 19
	162
	34
	19/02/19
	8.82



	L4
	Chloride


	13713


	Feb 19
	185
	678
	19/02/19
	21.5



	L4
	MP Xylene


	0.029


	Feb 19
	17.5
	54
	19/02/19
	

	L4
	Mecoprop


	0.032


	Feb 19
	0.2
	1214
	19/02/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Feb 19
	273
	678
	19/02/19
	10.6



	L7
	Cadmium


	0.1


	Feb 19
	<0.080
	34
	19/02/19
	7.83



	L7
	Nickel


	0.1


	Feb 19
	34.0
	34
	19/02/19
	8.82



	L7
	Chloride


	13713


	Feb 19
	286
	678
	19/02/19
	21.5



	L7
	MP Xylene


	0.029


	Feb 19
	2.1
	54
	19/02/19
	

	L7
	Mecoprop


	0.032


	Feb 19
	<0.1
	1214
	19/02/19
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date:  19/02/19

(Authorised to sign as representative of Operator)

