Permit Number: 
JP3239ST



Operator: 

The County Council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
May 19-C…
Reporting of ……Ground Water…… monitoring for the period for …May 2019
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C1


	Am Nitrogen


	TBA


	May - 19
	0.52
	25
	30/05/19
	10.6



	C1


	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C1


	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C1


	Chloride
	TBA


	May - 19
	383
	25
	30/05/19
	21.5



	C1


	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C1


	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C2
	Am Nitrogen


	TBA


	May - 19
	0.02
	25
	30/05/19
	10.6



	C2
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C2
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C2
	Chloride


	TBA


	May - 19
	44
	25
	30/05/19
	21.5



	C2
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C2
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C3
	Am Nitrogen


	TBA


	May - 19
	4.3
	25
	30/05/19
	10.6



	C3
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C3
	Nickel


	0.22 ug/l


	May - 19
	2.8
	34
	30/05/19
	8.82



	C3
	Chloride


	TBA


	May - 19
	1,210
	25
	30/05/19
	21.5



	C3
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C3
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C4
	Am Nitrogen


	TBA


	May - 19
	
	25
	30/05/19
	10.6



	C4
	Cadmium


	1 ug/l 
	May - 19
	
	34
	30/05/19
	7.83



	C4
	Nickel


	0.22 ug/l


	May - 19
	
	34
	30/05/19
	8.82



	C4
	Chloride


	TBA


	May - 19
	
	25
	30/05/19
	21.5



	C4
	MP Xylene


	1 ug/l 
	May - 19
	
	54
	30/05/19
	

	C4
	Mecoprop


	0.1 ug/l 
	May - 19
	
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C5
	Am Nitrogen


	TBA


	May - 19
	3.4
	25
	30/05/19
	10.6



	C5
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C5
	Nickel


	0.22 ug/l


	May - 19
	1.6
	34
	30/05/19
	8.82



	C5
	Chloride


	TBA


	May - 19
	2,060
	25
	30/05/19
	21.5



	C5
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C5
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C6
	Am Nitrogen


	TBA


	May - 19
	0.48
	25
	30/05/19
	10.6



	C6
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C6
	Nickel


	0.22 ug/l


	May - 19
	4.6
	34
	30/05/19
	8.82



	C6
	Chloride


	TBA


	May - 19
	2,720
	25
	30/05/19
	21.5



	C6
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C6
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C8
	Am Nitrogen


	TBA


	May - 19
	1.5
	25
	30/05/19
	10.6



	C8
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C8
	Nickel


	0.22 ug/l


	May - 19
	4.3
	34
	30/05/19
	8.82



	C8
	Chloride


	TBA


	May - 19
	2,950
	25
	30/05/19
	21.5



	C8
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C8
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C10
	Am Nitrogen


	TBA


	May - 19
	
	25
	30/05/19
	10.6



	C10
	Cadmium


	1 ug/l 
	May - 19
	
	34
	30/05/19
	7.83



	C10
	Nickel


	0.22 ug/l


	May - 19
	
	34
	30/05/19
	8.82



	C10
	Chloride


	TBA


	May - 19
	
	25
	30/05/19
	21.5



	C10
	MP Xylene


	1 ug/l 
	May - 19
	
	54
	30/05/19
	

	C10
	Mecoprop


	0.1 ug/l 
	May - 19
	
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C12
	Am Nitrogen


	TBA


	May - 19
	17.7
	25
	30/05/19
	10.6



	C12
	Cadmium


	1 ug/l 
	May - 19
	0.090
	34
	30/05/19
	7.83



	C12
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C12
	Chloride


	TBA


	May - 19
	3,030
	25
	30/05/19
	21.5



	C12
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C12
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C13
	Am Nitrogen


	TBA


	May - 19
	7.4
	25
	30/05/19
	10.6



	C13
	Cadmium


	1 ug/l 
	May – 19
	<0.080
	34
	30/05/19
	7.83



	C13
	Nickel


	0.22 ug/l


	May – 19
	<1.5
	34
	30/05/19
	8.82



	C13
	Chloride


	TBA


	May – 19
	2,440
	25
	30/05/19
	21.5



	C13
	MP Xylene


	1 ug/l 
	May – 19
	<1.0
	54
	30/05/19
	

	C13
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C16
	Am Nitrogen


	TBA


	May - 19
	3.7
	25
	30/05/19
	10.6



	C16
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C16
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C16
	Chloride


	TBA


	May - 19
	3,140
	25
	30/05/19
	21.5



	C16
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C16
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C17
	Am Nitrogen


	TBA


	May - 19
	No Sample
	25
	30/05/19
	10.6



	C17
	Cadmium


	1 ug/l 
	May - 19
	No Sample
	34
	30/05/19
	7.83



	C17
	Nickel


	0.22 ug/l


	May - 19
	No Sample
	34
	30/05/19
	8.82



	C17
	Chloride


	TBA


	May - 19
	No Sample
	25
	30/05/19
	21.5



	C17
	MP Xylene


	1 ug/l 
	May - 19
	No Sample
	54
	30/05/19
	

	C17
	Mecoprop


	0.1 ug/l 
	May - 19
	No Sample
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C18
	Am Nitrogen


	TBA


	May - 19
	0.03
	25
	30/05/19
	10.6



	C18
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C18
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C18
	Chloride


	TBA


	May - 19
	1,150
	25
	30/05/19
	21.5



	C18
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C18
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C19
	Am Nitrogen


	TBA


	May - 19
	0.01
	25
	30/05/19
	10.6



	C19
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C19
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C19
	Chloride


	TBA


	May - 19
	1,350
	25
	30/05/19
	21.5



	C19
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C19
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C20
	Am Nitrogen


	TBA


	May - 19
	2.7
	25
	30/05/19
	10.6



	C20
	Cadmium


	1 ug/l 
	May - 19
	0.10
	34
	30/05/19
	7.83



	C20
	Nickel


	0.22 ug/l


	May - 19
	2.6
	34
	30/05/19
	8.82



	C20
	Chloride


	TBA


	May - 19
	3,220
	25
	30/05/19
	21.5



	C20
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C20
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C21
	Am Nitrogen


	TBA


	May - 19
	0.03
	25
	30/05/19
	10.6



	C21
	Cadmium


	1 ug/l 
	May - 19
	0.10
	34
	30/05/19
	7.83



	C21
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C21
	Chloride


	TBA


	May - 19
	2,010
	25
	30/05/19
	21.5



	C21
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C21
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C22
	Am Nitrogen


	TBA


	May - 19
	3.1
	25
	30/05/19
	10.6



	C22
	Cadmium


	1 ug/l 
	May - 19
	<0.080
	34
	30/05/19
	7.83



	C22
	Nickel


	0.22 ug/l


	May - 19
	<1.5
	34
	30/05/19
	8.82



	C22
	Chloride


	TBA


	May - 19
	3,090
	25
	30/05/19
	21.5



	C22
	MP Xylene


	1 ug/l 
	May - 19
	<1.0
	54
	30/05/19
	

	C22
	Mecoprop


	0.1 ug/l 
	May - 19
	<0.1
	1214
	30/05/19
	14.6




1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date:  9/12/19

(Authorised to sign as representative of Operator)
