Permit Number: 
JP3239ST



Operator: 

The County Council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
April 2019 - C
Reporting of ……Ground Water…… monitoring for the period for
April 2019
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C1


	Am Nitrogen


	TBA


	April 2019
	0.01
	25
	25/04/19
	10.6



	C1


	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C1


	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C1


	Chloride
	TBA


	April 2019
	357
	25
	25/04/19
	21.5



	C1


	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C1


	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C2
	Am Nitrogen


	TBA


	April 2019
	0.01
	25
	25/04/19
	10.6



	C2
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C2
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C2
	Chloride


	TBA


	April 2019
	43
	25
	25/04/19
	21.5



	C2
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C2
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C3
	Am Nitrogen


	TBA


	April 2019
	7.3
	25
	25/04/19
	10.6



	C3
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C3
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C3
	Chloride


	TBA


	April 2019
	1,277
	25
	25/04/19
	21.5



	C3
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C3
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C4
	Am Nitrogen


	TBA


	April 2019
	NO SAMPLE
	25
	
	10.6



	C4
	Cadmium


	1 ug/l 
	April 2019
	NO SAMPLE
	34
	
	7.83



	C4
	Nickel


	0.22 ug/l


	April 2019
	NO SAMPLE
	34
	
	8.82



	C4
	Chloride


	TBA


	April 2019
	NO SAMPLE
	25
	
	21.5



	C4
	MP Xylene


	1 ug/l 
	April 2019
	NO SAMPLE
	54
	
	

	C4
	Mecoprop


	0.1 ug/l 
	April 2019
	NO SAMPLE
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C5
	Am Nitrogen


	TBA


	April 2019
	4.2
	25
	25/04/19
	10.6



	C5
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C5
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C5
	Chloride


	TBA


	April 2019
	2,901
	25
	25/04/19
	21.5



	C5
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C5
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C6
	Am Nitrogen


	TBA


	April 2019
	0.2
	25
	25/04/19
	10.6



	C6
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C6
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C6
	Chloride


	TBA


	April 2019
	6,975
	25
	25/04/19
	21.5



	C6
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C6
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C8
	Am Nitrogen


	TBA


	April 2019
	3.5
	25
	25/04/19
	10.6



	C8
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C8
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C8
	Chloride


	TBA


	April 2019
	8,622
	25
	25/04/19
	21.5



	C8
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C8
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C10
	Am Nitrogen


	TBA


	April 2019
	NO SAMPLE
	25
	
	10.6



	C10
	Cadmium


	1 ug/l 
	April 2019
	NO SAMPLE
	34
	
	7.83



	C10
	Nickel


	0.22 ug/l


	April 2019
	NO SAMPLE
	34
	
	8.82



	C10
	Chloride


	TBA


	April 2019
	NO SAMPLE
	25
	
	21.5



	C10
	MP Xylene


	1 ug/l 
	April 2019
	NO SAMPLE
	54
	
	

	C10
	Mecoprop


	0.1 ug/l 
	April 2019
	NO SAMPLE
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C12
	Am Nitrogen


	TBA


	April 2019
	22.4
	25
	25/04/19
	10.6



	C12
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C12
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C12
	Chloride


	TBA


	April 2019
	9,474
	25
	25/04/19
	21.5



	C12
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C12
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C13
	Am Nitrogen


	TBA


	April 2019
	8.6
	25
	25/04/19
	10.6



	C13
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C13
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C13
	Chloride


	TBA


	April 2019
	4,392
	25
	25/04/19
	21.5



	C13
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C13
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C14
	Am Nitrogen


	TBA


	April 2019
	NO SAMPLE
	25
	
	10.6



	C14
	Cadmium


	1 ug/l 
	April 2019
	NO SAMPLE
	34
	
	7.83



	C14
	Nickel


	0.22 ug/l


	April 2019
	NO SAMPLE
	34
	
	8.82



	C14
	Chloride


	TBA


	April 2019
	NO SAMPLE
	25
	
	21.5



	C14
	MP Xylene


	1 ug/l 
	April 2019
	NO SAMPLE
	54
	
	

	C14
	Mecoprop


	0.1 ug/l 
	April 2019
	NO SAMPLE
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C16
	Am Nitrogen


	TBA


	April 2019
	0.8
	25
	25/04/19
	10.6



	C16
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C16
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C16
	Chloride


	TBA


	April 2019
	10,827
	25
	25/04/19
	21.5



	C16
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C16
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C17
	Am Nitrogen


	TBA


	April 2019
	No Sample
	25
	
	10.6



	C17
	Cadmium


	1 ug/l 
	April 2019
	No Sample
	34
	
	7.83



	C17
	Nickel


	0.22 ug/l


	April 2019
	No Sample
	34
	
	8.82



	C17
	Chloride


	TBA


	April 2019
	No Sample
	25
	
	21.5



	C17
	MP Xylene


	1 ug/l 
	April 2019
	No Sample
	54
	
	

	C17
	Mecoprop


	0.1 ug/l 
	April 2019
	No Sample
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C18
	Am Nitrogen


	TBA


	April 2019
	01
	25
	25/04/19
	10.6



	C18
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C18
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C18
	Chloride


	TBA


	April 2019
	764
	25
	25/04/19
	21.5



	C18
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C18
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C19
	Am Nitrogen


	TBA


	April 2019
	0.1
	25
	25/04/19
	10.6



	C19
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C19
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C19
	Chloride


	TBA


	April 2019
	952
	25
	25/04/19
	21.5



	C19
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C19
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C20
	Am Nitrogen


	TBA


	April 2019
	0.4
	25
	25/04/19
	10.6



	C20
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C20
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C20
	Chloride


	TBA


	April 2019
	9,240
	25
	25/04/19
	21.5



	C20
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C20
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C21
	Am Nitrogen


	TBA


	April 2019
	0.01
	25
	25/04/19
	10.6



	C21
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C21
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C21
	Chloride


	TBA


	April 2019
	2,040
	25
	25/04/19
	21.5



	C21
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C21
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C22
	Am Nitrogen


	TBA


	April 2019
	3.2
	25
	25/04/19
	10.6



	C22
	Cadmium


	1 ug/l 
	April 2019
	
	34
	
	7.83



	C22
	Nickel


	0.22 ug/l


	April 2019
	
	34
	
	8.82



	C22
	Chloride


	TBA


	April 2019
	10,152
	25
	25/04/19
	21.5



	C22
	MP Xylene


	1 ug/l 
	April 2019
	
	54
	
	

	C22
	Mecoprop


	0.1 ug/l 
	April 2019
	
	1214
	
	14.6




1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date:  9/12/19

(Authorised to sign as representative of Operator)
