Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…JUN 19-L…
Reporting of ……LEACHATE…… monitoring for the period for … June 2019…..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Jun - 19

	1,310 


	678
	27/06/19 


	10.6



	L2
	Cadmium
	0.05

	Jun - 19

	<0.080 


	34
	27/06/19 


	7.83



	L2
	Nickel
	0.4

	Jun - 19

	132 


	34
	27/06/19 


	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Jun - 19

	1,640 


	678
	27/06/19 


	21.5



	L2
	MP Xylene
	0.032
	Jun - 19

	131 


	54
	27/06/19 


	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Jun - 19

	8.7 


	1214
	27/06/19 


	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Jun - 19

	1,440 


	678
	27/06/19 


	10.6



	L4
	Cadmium


	0.1


	Jun - 19

	0.090 


	34
	27/06/19 


	7.83



	L4
	Nickel


	0.1


	Jun - 19

	150 


	34
	27/06/19 


	8.82



	L4
	Chloride


	13713


	Jun - 19

	1,570 


	678
	27/06/19 


	21.5



	L4
	MP Xylene


	0.029


	Jun - 19

	77.9 


	54
	27/06/19 


	

	L4
	Mecoprop


	0.032


	Jun - 19

	18.1 


	1214
	27/06/19 


	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Jun - 19

	NO SAMPLE
	678
	27/06/19 


	10.6



	L7
	Cadmium


	0.1


	Jun - 19

	NO SAMPLE
	34
	27/06/19 


	7.83



	L7
	Nickel


	0.1


	Jun - 19

	NO SAMPLE
	34
	27/06/19 


	8.82



	L7
	Chloride


	13713


	Jun - 19

	NO SAMPLE
	678
	27/06/19 


	21.5



	L7
	MP Xylene


	0.029


	Jun - 19

	NO SAMPLE
	54
	27/06/19 


	

	L7
	Mecoprop


	0.032


	Jun - 19

	NO SAMPLE
	1214
	27/06/19 


	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………9/12/19…………..     



(Authorised to sign as representative of Operator)

