Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Jul 19-L…
Reporting of ……LEACHATE…… monitoring for the period for … July 2019……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Jul - 19

	641
	678
	27/07/19
	10.6



	L2
	Cadmium
	0.05

	Jul - 19

	<2.00
	34
	27/07/19
	7.83



	L2
	Nickel
	0.4

	Jul - 19

	130
	34
	27/06/19
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Jul - 19

	650
	678
	27/07/19
	21.5



	L2
	MP Xylene
	0.032
	Jul - 19

	0.848
	54
	27/07/19
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Jul - 19

	9.42
	1214
	27/07/19
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Jul - 19

	622
	678
	27/07/19
	10.6



	L4
	Cadmium


	0.1


	Jul - 19

	<2.00
	34
	27/07/19
	7.83



	L4
	Nickel


	0.1


	Jul - 19

	178
	34
	27/07/19
	8.82



	L4
	Chloride


	13713


	Jul - 19

	661
	678
	27/07/19
	21.5



	L4
	MP Xylene


	0.029


	Jul - 19

	1.60
	54
	27/07/19
	

	L4
	Mecoprop


	0.032


	Jul - 19

	10.5
	1214
	27/07/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Jul - 19

	632
	678
	27/07/19
	10.6



	L7
	Cadmium


	0.1


	Jul - 19

	<2.00
	34
	27/07/19
	7.83



	L7
	Nickel


	0.1


	Jul - 19

	121
	34
	27/07/19
	8.82



	L7
	Chloride


	13713


	Jul - 19

	652
	678
	27/07/19
	21.5



	L7
	MP Xylene


	0.029


	Jul - 19

	0.935
	54
	27/07/19
	

	L7
	Mecoprop


	0.032


	Jul - 19

	10.1
	1214
	27/07/19
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………9/12/19…………..     



(Authorised to sign as representative of Operator)

