Permit Number: 
JP3239ST



Operator: 

The County Council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…May19-L…
Reporting of ……LEACHATE…… monitoring for the period for … May 2019……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	May 2019
	1,350
	678
	30/05/19
	10.6



	L2
	Cadmium
	0.05

	May 2019
	0.21
	34
	30/05/19
	7.83



	L2
	Nickel
	0.4

	May 2019
	142
	34
	30/05/19
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	May 2019
	2,110
	678
	30/05/19
	21.5



	L2
	MP Xylene
	0.032
	May 2019
	64.0
	54
	30/05/19
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	May 2019
	7.0
	1214
	30/05/19
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	May 2019
	1,260
	678
	30/05/19
	10.6



	L4
	Cadmium


	0.1


	May 2019
	<0.080
	34
	30/05/19
	7.83



	L4
	Nickel


	0.1


	May 2019
	154
	34
	30/05/19
	8.82



	L4
	Chloride


	13713


	May 2019
	2,110
	678
	30/05/19
	21.5



	L4
	MP Xylene


	0.029


	May 2019
	68.8
	54
	30/05/19
	

	L4
	Mecoprop


	0.032


	May 2019
	9.2
	1214
	30/05/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	May 2019
	279
	678
	30/05/19
	10.6



	L7
	Cadmium


	0.1


	May 2019
	<0.080
	34
	30/05/19
	7.83



	L7
	Nickel


	0.1


	May 2019
	44.6
	34
	30/05/19
	8.82



	L7
	Chloride


	13713


	May 2019
	798
	678
	30/05/19
	21.5



	L7
	MP Xylene


	0.029


	May 2019
	<1.0
	54
	30/05/19
	

	L7
	Mecoprop


	0.032


	May 2019
	2.3
	1214
	30/05/19
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date:  06/12/19

(Authorised to sign as representative of Operator)

