Permit Number: 
JP3239ST



Operator: 

The County Council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Mar19-L…
Reporting of ……LEACHATE…… monitoring for the period for … March 2019
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Mar 19
	1924
	678
	21/03/19
	10.6



	L2
	Cadmium
	0.05

	Mar 19
	0.78
	34
	21/03/19
	7.83



	L2
	Nickel
	0.4

	Mar 19
	212
	34
	21/03/19
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Mar 19
	21.4
	678
	21/03/19
	21.5



	L2
	MP Xylene
	0.032
	Mar 19
	7.9
	54
	21/03/19
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Mar 19
	<0.1
	1214
	21/03/19
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Mar 19
	1768
	678
	21/03/19
	10.6



	L4
	Cadmium


	0.1


	Mar 19
	<0.080
	34
	21/03/19
	7.83



	L4
	Nickel


	0.1


	Mar 19
	173
	34
	21/03/19
	8.82



	L4
	Chloride


	13713


	Mar 19
	18.4
	678
	21/03/19
	21.5



	L4
	MP Xylene


	0.029


	Mar 19
	4.7
	54
	21/03/19
	

	L4
	Mecoprop


	0.032


	Mar 19
	<0.1
	1214
	21/03/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Mar 19
	234
	678
	21/03/19
	10.6



	L7
	Cadmium


	0.1


	Mar 19
	
	34
	21/03/19
	7.83



	L7
	Nickel


	0.1


	Mar 19
	51.3
	34
	21/03/19
	8.82



	L7
	Chloride


	13713


	Mar 19
	4.6
	678
	21/03/19
	21.5



	L7
	MP Xylene


	0.029


	Mar 19
	
	54
	21/03/19
	

	L7
	Mecoprop


	0.032


	Mar 19
	
	1214
	21/03/19
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date:  9/12/19

(Authorised to sign as representative of Operator)

