Permit Number: 
JP3239ST



Operator: 

The County Council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…FEB19-SW…
Reporting of ……Surface Water…… monitoring for the period for … February 2019
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW1


	Am Nitrogen


	0.17mg/l


	Feb 19
	NO SAMPLE
	25
	19/02/19
	10.6



	SW1


	BOD


	3.35mg/l


	Feb 19
	NO SAMPLE
	370
	19/02/19
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW2


	Am Nitrogen


	0.17mg/l


	Feb 19
	<0.01
	25
	19/02/19
	10.6



	SW2


	BOD


	3.35mg/l


	Feb 19
	0.7
	370
	19/02/19
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW3


	Am Nitrogen


	0.17mg/l


	Feb 19
	<0.01
	25
	19/02/19
	10.6



	SW3


	BOD


	3.35mg/l


	Feb 19
	0.9
	370
	19/02/19
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW4


	Am Nitrogen


	0.17mg/l


	Feb 19
	0.09
	25
	19/02/19
	10.6



	SW4


	BOD


	3.35mg/l


	Feb 19
	0.8
	370
	19/02/19
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW5


	Am Nitrogen


	0.17mg/l


	Feb 19
	0.21
	25
	19/02/19
	10.6



	SW5


	BOD


	3.35mg/l


	Feb 19
	1.4
	370
	19/02/19
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW6


	Am Nitrogen


	0.17mg/l


	Feb 19
	<0.01
	25
	19/02/19
	10.6



	SW6


	BOD


	3.35mg/l


	Feb 19
	1.7
	370
	19/02/19
	20.1




1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date:  9/12/19

(Authorised to sign as representative of Operator)

