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Operational Notification
		WOF 020
[bookmark: _GoBack]This form covers all DCWW operations environmental pollution and MCerts Flow meter issues.
The Originator must mark either box A or B and then Email the form as detailed below for onward transmission to the EA / NRW.

	[bookmark: bmUnplanned][bookmark: bmPlanned]Unplanned Event 
	X
	Planned Event
	

	

	To the Smart Hub Risk team at Linea for onward transmission to EA / Natural Resources Wales

	E-mail:
	smarthub@dwrcymru.com
	Telephone: 
	0303 313 0103

	
	
	
	

	To Be Completed By DCWW:

	[bookmark: bmRequestor][bookmark: bmRequestor_Role]Name: 
	Alun Davies
	Job Role: 
	Senior Operator

	[bookmark: bmDate2][bookmark: bmTime2]Date: 
	19/12/2019
	Time: 
	09:53

	[bookmark: bmRequestor_Phone]Office: 
	
	Phone: 
	07557315773

	[bookmark: bmRequestor_Email]Fax: 
	
	E mail: 
	.

	Details Of Notification:

	[bookmark: bmAsset_Type][bookmark: bmConsent_No]Asset Type (WwTW, Pstn, CSO, EO, service reservoir, trunk sewer, WTW, storm treatment etc)
	SPS
	Permit No: 
	

	[bookmark: bmAddress][bookmark: bmGrid_Ref]Location: 
	Cardiff East - ROVER WAY
TIDE FIELDS RD
EAST MOORS
CARDIFF
CF24 2RX
	Grid Ref: 
	ST2182076720   

	[bookmark: bmWatercourse]
	
	Watercourse: 
	

	[bookmark: bmDate][bookmark: bmExpected_End]Date of Occurrence: 
	11/12/2019 09:53:11
	Expected Duration: 
	18/12/2019 09:53:11

	

	[bookmark: bmMcert][bookmark: bmPhoto_Evidence]M Cert Related: 
	Y/N
	Photographic Evidence
	Y/N

	[bookmark: bmBrief_Outline]Brief Outline: 
	Decant arm failure at the SPS.

	[bookmark: bmRemedial_Action]Remedial Action: 
	Repair/replacement to take place ASAP. Site will be monitored throughout.

	[bookmark: bmActions]Actions Taken to Reduce Future Risks: 
	

	[bookmark: bmEnvironmental_Impact]Environmental Impact: 
	No environmental impact envisaged

	[bookmark: bmUpdates]Updates: 
	Final - site operating normally.

	

	[bookmark: bmRef][bookmark: bmMsg_No][bookmark: bmStatus]DCWW Ref:
	315337706
	Message No:
	
	Update / Final:
	Final

	[bookmark: bmAnalyst_Name][bookmark: bmDate3][bookmark: bmTime]Smart Hub Analyst:
	David Thomson
	Date:
	19/12/2019
	Time:
	09:53
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