|  |  |  |  | Form CP63-3 revB WATER SPOT CHECK SAMPLING |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name: | Ffos-y-fran Land Reclamation Scheme |  |  |  |  |  |  |  |  |  |  |  |
| Permit No: | EPR/DB3131AF |  |  |  |  |  | Month: |  | November 2019 (samples taken 10.11.19) |  |  |  |
| Reporting of emissions to water (other than to sewer) |  |  |  |  |  |  |  |  |  |  |  |  |
| Consent Number |  | Suspended Solids Consent limits | pH Consent limits |  | Date of Sample |  |  | Discharge Status | pH result | Susp solids result |  | Weather Conditions |
| AN0264601 (WC1 Final Effluent) |  | 50 mg/l | 5-9 |  | 10.11.19 |  |  | Discharging | 7.6 | 13 |  | Dry |
| AN0264602 (WC1 Storm) |  | N/A | N/A |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| NPSWQD000674 (WI Final Effluent) |  | 50 mg/l | 5-9 |  | 10.11.19 |  |  | Discharging | 7.8 | 9 |  | Dry |
| NPSWQD002105 (WI Storm) |  | N/A | N/A |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0264501 (WB Final Effluent) |  | 50 mg/l | 5-9 |  | 10.11.19 |  |  | Discharging | 7.5 | 11 |  | Dry |
| AN0264502 (WB Storm) |  | N/A | N/A |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0264603 (WC Final Effluent) |  | 50 mg/l | 5-9 |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0274601 (WC Storm) |  | N/A | N/A |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0265001 (WG Final Effluent) |  | 50 mg/l | 5-9 |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0265002 (WG Storm) |  | N/A | N/A |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0264801 (WF Final Effluent) |  | 50 mg/l | 5-9 |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0264802 (WF Storm) |  | N/A | N/A |  | N/A |  |  | Not Discharging | N/A | N/A |  |  |
| AN0264401 (WA Final Effluent) |  | 50 mg/l | 5-9 |  | N/A |  |  | N/A | N/A | N/A |  |  |
| AN0264402 (WA Storm) |  | N/A | N/A |  | N/A |  |  | N/A | N/A | N/A |  |  |
| Notes: WA has not yet been constructed. |  |  |  |  |  |  |  |  |  |  |  |  |
| Name |  | S. Woolmington |  | Position: |  | Engineer |  |  |  |  | Date: | 05.12.19 |