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The emissions test for site was carried out by Envirodat on the 4th of July 2018. The subsequent report and conclusions show that all emissions are within the tolerance limits set by the Site Permit.
Both CHP units have performed efficiently throughout the year with downtime of the units being kept to a minimum. The flare operating time has remained at a low operational level with it only being utilised for unplanned CHP downtime and the service intervals during the year. 
Energy usage for annual period has reduced significantly due to the site being fully operational for the year. 
Increase in solid and liquid waste tonnages to site in 2018 due to securing further long term council food waste contracts. 
Increase in borehole water usage due to the greater number of waste vehicles delivering to site and washing the vehicles and also washing of the reception building.

