| Permit Number: | PAN-004172 |
| --- | --- |
| Applicant name: | Kajoty Limited |
| Site Address: | Irfon River Premier Leisure Park |
| Discharge Point NGR: | SN 96174 49490 |
| Respond by date: | 04/03/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The proposal Is for a new discharge of 41.85m3/day of secondary treated sewage effluent directly into the River Irfon originating from static caravans and glamping pods. The site previously had an unpermitted discharge to ground, however the ground conditions and land available are unsuitable to permit, therefore the proposal is for a discharge to surface water.

The consultant has prepared an in depth pack to explain the proposal, please find this here (foul water management report PDF document).

Habitats Screening Report – Designations or protected species/habitats:

Numerous designations and species are within the relevant screening distance. The risk screening report can be found on the DMS here.

It highlights SACs, a SPA, SSSI’s, Salmon, White Clawed Crayfish field observations.

A Form 1 and Appendix 4 will be completed to assess the impact of the discharge on the hydrologically connected sites.

Risk Assessment Results (modelling or L1 Risk Assessment):

I have conducted river quality modelling, the report can be found on the DMS here.

There is a 0% deterioration in the watercourse for both BOD and Ammonia.

Miscellaneous:

The proposal is technically within a sewered area, although connecting to the foul sewer has been ruled out, the justification for this can be found in the cost benefit report on the DMS here.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

Officers name:
Date:

Fisheries comments:

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

The River Irfon is a designated main river at this location. The proposed outfall/headwall structure and associated construction works will require a Flood Risk Activity Permit from NRW prior to commencing works. Further information and the application forms can be found on the NRW website: https://naturalresources.wales/permits-and-permissions/flood-risk-activities/?lang=en or for further advice please contact the SE flood risk team.

Officers name: Chris Nutt
Date: 21/02/19

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Date: