EMERGENCY & INCIDENT RESPONSE PLAN

| Address: | Tradebe Healthcare - Wrexham Marlborough Road Wrexham Ind Est LL13 9RJ |
| --- | --- |

| Nature of Business: | Collection, Treatment and Disposal of Healthcare Waste |
| --- | --- |

| Date of Plan: | 10th December 2019 | Review Date: | 10th December 2022 |
| --- | --- | --- | --- |

| Approved by: | Vince Norris | Date: | 10th December 2019 |
| --- | --- | --- | --- |

|  | Copies to: |  | Date Sent: |
| --- | --- | --- | --- |
| Environment Regulator ……….. | EA – Matthew Kelk |  |  |
| Other ……………………………….. | North Wales Fire Brigade |  |  |
| Internal …………………………….. |  |  |  |

| CONTENTS |  |
| --- | --- |
| Page |  |
| 2. | Emergency Contact Details |
| 3. | General Procedure for Responding to an Incident |
| 4. | Site Drainage Plan (including surface water isolation point) |
| 5. | Site Utilities Isolation Points |
| 6. | Site First Aid location & equipment |
| 7. 8. | Fire Assembly point Fire Alarm locations |
| 9. | Site Inventory |
| 10. | Index of Emergency Procedures |

2. EMERGENCY CONTACT DETAILS:

| Emergency Services: | 999 |
| --- | --- |
| Local Police | 101 |
| Local Hospital: | 01978 291100 |
| Environmental Hotline: | 03000 653000 |
| Environmental Regulator: | 03000 653844 |

IMPORTANT CONTACTS:

|  | Office Hours |  | Out of Office |
| --- | --- | --- | --- |
| Local Authority: ………………………………….. (Wrexham City Council) | 01978 292000 |  | 01978 292000 |
| Sewerage Provider: ……………………………… (Welsh Water) | 0303 313 0021 |  | 0303 313 0021 |
| Water Supplier: ………………………………….. (Dee Valley) | 01978 833200 |  | 01978 833200 |
| Gas Supplier: ……………………………………… (National Grid) | 0800 111 999 |  | 0800 111 999 |
| Electricity Supplier: ……………………………… (Scottish Power) | 0800 0015400 Or 501 |  | 0800 0015400 Or 501 |
| Waste Management Contractor: …………. (Haulage, Browns) | 07483 300231 |  |  |

COMPANY CONTACTS:

| Site Manager: | Vince Norris | 07918 912912 |
| --- | --- | --- |
| Plant Manager: | Paul Phillips | 07891 075859 |
| SHEQ Manager: | Lorna Steel | 07879 473097 |
| National Operations Manager | Paul Simpson | 07483 300231 |

3. General Procedure for Responding to an Incident

Incident Discovered

Incident Occurs

Is Emergency life threatening or dangerous to environment

Inform Supervisor/Manager

No

Yes

Can emergency be tackled at source safely?

No

Yes

Restrict Access and Wait for Manager

Implement Response Procedure Isolate and contain at source

Manager/LIC assesses situation. Can emergency be contained?

Implement Response Action

Yes

Is situation under control?

No

Evacuate Area/Building, Use fire Alarm

No

LIC contact/liaise with emergency services other Managers

Yes

Is Situation under control?

Inform Relevant Company & regulatory contacts investigate & complete incident report on QPulse

No							Yes

4. SITE DRAINAGE PLAN

Penstock valve to isolate surface water drains situated behind porta cabin on perimeter fence.

**THE PENSTOCK VALVE IS KEPT CLOSED AT ALL TIMES UNDER NORMAL OPERATING CONDITIONS**

BLUE LINE INDICATES SURFACE WATER

RED LINE INDICATES FOUL SEWER

5. SITE UTILITIES ISOLATION POINTS

Internal electrical Isolator

Sub Station

Scottish Power

Main Gas Supply & isolation valve

6. FIRST AID LOCATIONS

First Aid locations:

Main reception (During office hours)

First Aid and utilities Room Next to mess room

On site Equipment:

Defibrillator – Control room

First aid kit –Control Room

7. FIRE ASSEMBLE POINT

FIRE ASSEMBLE POINT CORNER OF THE LORRY PARK

Evacuation Procedure:

- Administrators to collect visitors signing in book, the waste booking in sheet and the shift rosta on route to the fire assembly point.

- Incident controller will check all personnel have evacuated and arrived at the assemble point, all names will be recorded on Evacuation form EVAC001

8. FIRE ALARM LOCATIONS

6

5

4

3

2

1

Fire Alarm system control panel

9. CHEMICAL, PRODUCT AND WASTE INVENTORY

| Trade Name | Substance | Hazard | Solid / liquid / gas or powder | Container size | Maximum quantity (Peak Times) |
| --- | --- | --- | --- | --- | --- |
| HYDRANSAFE 46 | Hydraulic oil | Low | LIQUID | 200LTR | 400ltr |
| KLEENKILL | DETERGENT | LOW | LIQUID | 25lt | 200lt |
| SORBACAL | HYDRATED LIME | LOW | POWDER | LOOSE | 15 ton |
| DE-IONISED WATER | WATER | LOW | LIQUID | 25lt | 50lt |
| CERGUN 1600 | REFRACTORY | LOW | POWDER | 25kg | 6 ton |
| DURAGUN 1600 | REFRACTORY | LOW | POWDER | 25kg | 6 ton |
| CARBOWOOL | INSULATION BLANKET | LOW | SOLID | 25kg | 50kg |
| LITHIUM GREASE | GREASE | LOW | SOLID/LIQUID | 5kg | 100kg |
| CORRABAN 66 | BOILER CHEMICAL | MEDIUM | LIQUID | 25lt | 75lt |
| POLYTAN 4C | BOILER CHEMICAL | MEDIUM | LIQUID | 25lt | 75lt |
| POLYSHIELD 300 | BOILER CHEMICAL | MEDIUM | LIQUID | 25lt | 200lt |
| MUCSHIFTA | DEGREASER | HIGH | LIQUID | 205lt | 410lt |
| WGHF | HYRAULIC OIL | LOW | LIQUID | 205lt | 410lt |
| BOTTOM ASH | ASH | LOW | SOLID / LIQUID | 12 Yard Skip | 2 Skip |
| APC RESIDUES | SORBENT | HIGH | POWDER | 1 ton IBC Bags | 20 IBC Bags |
| ACTIVATED CARBON | CARBON | LOW | POWDER | 25kg | 3 Ton Pallet |
| DIESEL | OIL | HIGH | LIQUID | 1000ltr | 800ltrs |
| PALLETS | WOOD | MEDIUM | SOLID | 70Pallet | 70 Pallets |
| SPAN GASES | CEM GASES | MEDIUM | GAS | 10lt Bottles | 10 Bottles |
| FUEL GAS | Hydrogen & Helium GASES | HIGH | GAS | 50lt Bottles | 6 Bottles |
| IBC BAGS | PLASTIC | LOW | SOLID | 200 Bags | 2 Pallets |
| PAINTS | PAINT | MEDIUM | LIQUID | 5lt | 15 tins |

10. INDEX OF EMERGENCY PROCEDURES

The following is a list of foreseeable emergency conditions that may be relevant depending on site circumstances.  These will require initiation of the emergency procedure and possibly involvement of the emergency services.

| Fatality Fire Explosion Gas leaks Flood Major Spillage | Catastrophic plant failure Electrical failure Unsafe structure/subsidence Vehicle accident | Bomb or other threat ‘Discovery’ of hazardous /dangerous substances Off-site incidents affecting the site Industrial Action Protest action |
| --- | --- | --- |