Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Sep19-L…
Reporting of ……LEACHATE…… monitoring for the period for … September 2019……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Sep - 19

	641
	678
	25/9/19
	10.6



	L2
	Cadmium
	0.05

	Sep - 19
	<2.00
	34
	25/9/19
	7.83



	L2
	Nickel
	0.4

	Sep - 19

	130
	34
	25/9/19
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Sep - 19
	650
	678
	25/9/19
	21.5



	L2
	MP Xylene
	0.032
	Sep - 19

	0.848
	54
	25/9/19
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Sep - 19
	9.42
	1214
	25/9/19
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Sep 19

	622
	678
	25/9/19
	10.6



	L4
	Cadmium


	0.1


	Sep 19

	<2.00
	34
	25/9/19
	7.83



	L4
	Nickel


	0.1


	Sep 19

	178
	34
	25/9/19
	8.82



	L4
	Chloride


	13713


	Sep 19

	661
	678
	25/9/19
	21.5



	L4
	MP Xylene


	0.029


	Sep 19

	1.60
	54
	25/9/19
	

	L4
	Mecoprop


	0.032


	Sep 19

	10.5
	1214
	25/9/19
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Sep 19

	632
	678
	25/9/19
	10.6



	L7
	Cadmium


	0.1


	Sep 19

	<2.00
	34
	25/9/19
	7.83



	L7
	Nickel


	0.1


	Sep 19

	121
	34
	25/9/19
	8.82



	L7
	Chloride


	13713


	Sep 19

	652
	678
	25/9/19
	21.5



	L7
	MP Xylene


	0.029


	Sep 19

	0.935
	54
	25/9/19
	

	L7
	Mecoprop


	0.032


	Sep 19

	10.1
	1214
	25/9/19
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………12/1/20…………..     



(Authorised to sign as representative of Operator)

