| Permit Number: | PAN-007661 |
| --- | --- |
| Applicant name: | Cantref Adventure Farm Limited |
| Site Address: | Cantref Adventure Farm, Upper Cantref, Brecon, Powys LD3 8LR |
| Discharge Point NGR: | SO 05682 25714 |
| Respond by date: | 24th January 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

A new application to dispose of 6.3 m3/day of domestic sewage via septic tank effluent to ground. The discharge originates from a 10-person bunkhouse and a campsite comprising 16 pitches, a toilet block, showers and washing up facilities.

Habitats Screening Report – Designations or protected species/habitats:

No designations and no SPZ1.

Risk Assessment Results (modelling or L1 Risk Assessment):

I have undertaken a L1 risk assessment which is saved to the DMS. The scoring is 67 due to the close proximity of a borehole onsite (SO 05712 25772).

Miscellaneous:

There is another application with me at the moment which is out for consultation, PAN007519

NRM Responses:

Environment Management comments: I have no issues with this application. (Assuming Geoscience are happy the borehole is not affected)

Officers name: Susan Lenthall
Date: 16/01/2020

Geoscience Response:

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: