
[image: image1.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





Notice of variation and consolidation with introductory note
The Environmental Permitting (England & Wales) Regulations 2016
Dŵr Cymru Cyfyngedig
Llys y Fran Dam Wastewater Treatment Works
Llys y Fran
Clarbeston Road
Pembrokeshire
SA63 4RS
Variation application number

PAN-007498
Permit number
BP0366401
Llys y Fran Dam Wastewater Treatment Works
Permit number BP0366401
Introductory note

This introductory note does not form a part of the notice.
The following notice gives notice of the variation and consolidation of an environmental permit.
This variation is to amend the discharge point and sample point whilst the new treatment works is being constructed. Once the work is completed on 01/04/2020, the discharge and sampling points will revert to the previous locations. There are no changes to the numeric emission limits. The variation also puts Operator Self Monitoring requirements into the permit.
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010. 
	Status log of the permit

	Description
	Date
	Comments

	Variation application PAN-003982 received
	Duly made 04/12/2018
	Application to vary the permit to increase the dry weather flow, move the discharge point NGR and update the permit to modern conditions.

	Variation determined
	06/03/2019
	Varied and consolidated permit issued in modern condition format.

	Variation application PAN-007498 received
	Duly made

16/10/2019
	Application to temporarily vary the discharge and sample points whilst the new treatment works is constructed

	Variation determined BP0366401
	15/01/2020
	Varied and consolidated permit issued in modern condition format.


End of introductory note
	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
Permit number

BP0366401
issued to:

Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is
Pentwyn Road
Nelson

Treharis

Mid Glamorgan

CF46 6LY

company registration number 02366777
to operate a regulated facility at
Llys y Fran Dam Wastewater Treatment Works
Llys y Fran

Clarbeston Road

Pembrokeshire

SA63 4RS

to the extent set out in the schedules.
The notice shall take effect from 15/01/2020
	Name
	Date

	Melissa Broad
	15/01/2020


Authorised on behalf of Natural Resources Wales
Schedule 1 

The following conditions were varied as a result of the application made by the operator:
3.1 Emissions to water

3.3 Monitoring

4.2 Reporting

4.3 Notifications
Schedule 1, Table S1.1

Schedule 3, Table S3.1a
Schedule 3, Table S3.1b

Schedule 3, Table S3.2

Schedule 3, Table S3.3

Schedule 3A

Schedule 3B

Schedule 4

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

BP0366401
This is the consolidated permit referred to in the variation and consolidation notice for application PAN-007498 authorising, 
Dŵr Cymru Cyfyngedig (“the operator”),

whose registered office is 

Pentwyn Road
Nelson

Treharris

Mid Glamorgan

CH46 6LY

company registration number 02366777
to operate a water discharge activity at
Llys y Fran Dam Wastewater Treatment Works
Llys y Fran

Clarbeston Road

Pembrokeshire

SA63 4RS

to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	  Melissa Broad
	15/01/2020


Authorised on behalf of Natural Resources Wales

Conditions
1.1 Management

1.1 General management

1.1 The operator shall manage and operate the activities:

1.1 in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

1.1 using sufficient competent persons and resources.

1.1 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.

2.1 Operations

2.1 Permitted activities

2.1 The only activities authorised by the permit are the activities specified in schedule 1 table S1.1.

2.2 The site 

2.2 The discharge activities shall take place at the discharge points marked on the site plans at schedule 7 to this permit, and as listed in table S3.2

3.1 Emissions and monitoring

3.1 Emissions to water

3.1 The limits given in schedule 3 table S3.1 shall not be exceeded.

3.1 The limits in schedule 3 table S3.1 to which this condition applies may be exceeded where: in any series of samples of the discharge taken at regular but randomised intervals in any period of twelve consecutive months as listed in column 1 of schedule 3A, no more than the relevant number of samples, as listed in column 2 of schedule 3A, exceed the applicable limit for that relevant parameter. 

3.1 For the emission limits in schedule 3 table S3.1 to which this condition applies, no sample of the discharge taken at a time when unusual weather conditions are adversely affecting the operation of the waste water treatment works, shall be taken into account in deciding whether or not the emission limit has been complied with.

3.1 On any occasion where unusual weather conditions adversely affect the operation of the waste water treatment works, the operator shall use its best endeavours to mitigate that adverse effect.

3.1 For any sample of the discharge taken to be considered for the purposes of (a) above, the operator shall notify Natural Resources Wales in writing within 14 days of becoming aware that an emission limit has been exceeded. That notification shall include a full description of the unusual weather conditions and their impact on the operation of the works.
3.1.3 The permitted Dry Weather Flow limit in schedule 3 table S3.1 is set at the operator`s planned annual 80% exceeded daily volume discharged. 

3.2 Emissions of substances not controlled by emission limits

3.2 For the activities A1 to A2 referenced in schedule 1, table S1.1 The operator shall take appropriate measures to minimise so far as reasonably practicable the polluting effects of the emissions of substances in the discharge not controlled by emission limits (excluding odour).

3.3 Monitoring 

3.3 The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:

3.3 point source emissions specified in tables S3.1 and S3.4;

3.3 inlet quality specified in tables S3.1 and S3.4.
3.3 The operator shall maintain records of all monitoring required by this permit.
3.3 Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.

3.3 Accessible monitoring points shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring points specified in table S3.3 of schedule 3 and shown marked on the site plans in schedule 7. 

3.3 The monitoring programme for the parameters subject to schedule 3B shall be:

3.3 pre-scheduled to cover a calendar year and the programme recorded before the start of a calendar year sample period; and

3.3 spot samples collected at approximately equal intervals during the year, including samples from different days of the week and different times.  Approximately 10% of samples should be outside the normal sampling window which is 9am-3pm, Monday to Friday.

3.3 After becoming aware, or following a notification that a sample has not been taken on the schedule 3B Monitoring Programme pre-scheduled date, or is lost, or a result for that sample cannot be reported, the operator shall record the details and reschedule the sample.

4.1 Information

4.1 Records

4.1 All records required to be made by schedule 3, 4 and 5 to this permit shall:

4.1 be legible;

4.1 be made as soon as reasonably practicable;

4.1 if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

4.1 be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made. 

4.1 The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 
4.2 Reporting

4.2 The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.2 Within the time period after the end of the reporting period specified in schedule 4 table S4.1 the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

4.2 in respect of the parameters and monitoring points specified in schedule 4 table S4.1;

4.2 for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and

4.2 giving the information from such results and assessments as may be required by the forms specified in those tables.

4.3 Notifications

4.3 Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution; and

(b) any breach of a limit specified in schedule 3 table S3.1 including individual exceedances of limits which are covered by condition 3.1.2.
Any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.

4.3 The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

4.3 Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling specified in schedule 3B, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3 Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

4.3 any change in the operator’s trading name, registered name or registered office address; and

4.3 any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(c) any change in the operator’s name or address; and

4.3 any steps taken with a view to the dissolution of the operator.

4.3 For the activities A1 to A2 referenced in schedule 1, table S1.1 where the operator proposes to make a change in the nature of the activity by increasing the concentration of, or the addition of, or allowing the introduction of, a substance to the activity to an extent that the operator considers could have a significant adverse environmental effect on the receiving waters, and the change is not permitted by emission limits specified within schedule 3 table S3.1 or the subject of an application for approval under the EP Regulations or under the terms of this permit:

4.3 Natural Resources Wales shall be notified in writing at least 14 days before the increase or addition or allowing the introduction; and

4.3 the notification shall contain a description of the proposed change.

4.4 Interpretation

4.4 In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4 In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.
Schedule 1 – Operations 
	Table S1.1 Activities

	Activity reference
	Description of activity
	Limits of specified activity

	A1
	Discharge of secondary treated sewage effluent via Temporary Discharge and Sample Point
	This activity is effective until 01/04/2020.
The population equivalent of the agglomeration served by the wastewater treatment works shall not exceed 250. The discharge shall not contain any trade effluent.

	A2
	Discharge of secondary treated sewage effluent via Discharge point
	This activity is effective from 02/04/2020
The population equivalent of the agglomeration served by the wastewater treatment works shall not exceed 250. The discharge shall not contain any trade effluent.


Schedule 2 – Waste types, raw materials and fuels
Schedule 2 not in use.

Schedule 3 – Emissions and monitoring
	Table S3.1a Point Source emissions to water (other than sewer) – emission limits and monitoring requirements
Effective up to and including 01/04/2020

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1 Discharge of secondary treated sewage effluent via Temporary Discharge and Sample Point
	Dry weather flow
	9.9 m3/day


	Total daily volume
	N/A                                                                
	N/A
	(Condition 3.1.4 applies)

	
	Visual appearance
	The discharge must so far as is reasonably practicable have no significant adverse visible effect on the receiving water, the bed of the watercourse or any plants or animals within the watercourse 
	Instantaneous (visual examination) 
	N/A
	N/A
	Condition 3.1.3 applies

	
	Visible oil or grease
	No significant trace present so far as is reasonably practicable
	Instantaneous (visual examination)
	N/A
	N/A
	No significant trace

(Condition 3.1.3 applies)


	Table S3.1b Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

Effective from 02/04/2020

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A2 Discharge of secondary treated sewage effluent via Discharge point
	Dry weather flow
	14.5m3/day
	Total daily volume
	N/A
	N/A
	(Condition 3.1.4 applies)

	
	ATU-BOD as O2
	40 mg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Look up table

(Conditions 3.1.2 and 3.1.3 apply)

	
	Ammoniacal nitrogen (expressed as N)
	20 mg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Look up table

(Conditions 3.1.2 and 3.1.3 apply)

	
	Suspended solids (measured after drying at 105oC)


	60 mg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Look up table

(Conditions 3.1.2 and 3.1.3 apply)

	
	Visible oil or grease
	No significant trace present so far as is reasonably practicable
	Instantaneous (visual examination)
	N/A
	N/A
	No significant trace

(Condition 3.1.3 applies)


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	 Discharge point NGR
	Receiving water

	A1 Discharge of secondary treated sewage effluent
	Temporary Discharge & Sample Point
	SN 03886 24216
	Tributary of the Afon Syfnwy

	A2 Discharge of secondary treated sewage effluent 
	Discharge point
	SN 03787 24195
	Afon Syfnwy


	Table S3.3 

	Table S3.3 not in use.


	Table S3.4 Monitoring points

	Effluent(s) and discharge point(s)
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1 Discharge of secondary treated sewage effluent via Temporary Discharge and Sample Point
	Effluent sampling point
	SN 03886 24216
	Temporary Discharge and Sample Point

	A2 Discharge of secondary treated sewage effluent via Discharge point
	Effluent sampling point
	SN 03950 24249
	Sample Point


Schedule 3A - Look up table
	Look up table

	Number of samples taken in any period of 12 months
	Maximum number of samples permitted to exceed limit for given parameter

	4–7  
	 1

	8–16
	 2

	17–28 
	 3

	29–40 
	 4

	41–53  
	 5

	54–67  
	 6

	68–81  
	 7

	82–95 
	 8

	96–110 
	 9

	111–125  
	 10

	126–140  
	 11

	141–155  
	 12

	156–171  
	 13

	172–187 
	 14

	188–203  
	 15

	204–219  
	 16

	220–235  
	 17

	236–251 
	 18

	252–268 
	 19

	269–284  
	 20

	285–300  
	 21

	301–317 
	 22

	318–334  
	 23

	335–350 
	 24

	351–365 
	 25


Schedule 3B - OSM tier 2 sampling frequency

	Tier 2 Category
	Parameter
	`Normal frequency` of  samples per year 


	Reduced Sampling frequency after 12 consecutive months of numeric permit compliance, samples per year or pro rata over the remainder of a year
	On numeric limit failure return to normal frequency as soon as reasonably practicable, samples per 12 months
	Out of hours samples

	> 5m3/d (but not in tier 3) with numeric limits for ammoniacal nitrogen (expressed as N), nutrients, hazardous pollutants, UWWTR self monitoring
	Sanitary 

Non sanitary
	12

6
	6

6
	12

6
	For 12 samples 1 out of hours sample per annum, for 6, 1 every 2 years on average



	>20 m3/d (but not in tier3) with numeric limits for one or more of biochemical oxygen demand or suspended solids or pH or temperature only.
	Sanitary
	12
	4
	12
	For 12 samples 1 out of hours sample per annum, for 4, 1 every 3 years on average




Schedule 4 – Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameter
	Monitoring point reference
	Reporting period
	Period begins

	A2 Operator Self Monitoring - ATU-BOD as O2, ammoniacal nitrogen (expressed as N), suspended solids (measured after drying at 105oC)
	Sample Point
	Quarterly

Report to be submitted within 28 days
	1st of month

	A2 Operator Self Monitoring 
	Sample Point
	Annually

Report to be submitted within 2 months of the end of the calendar year
	1 January


	Table S4.2 Reporting forms

	Parameter
	Reporting format

	OSM - ATU-BOD as O2, ammoniacal nitrogen (expressed as N), suspended solids (measured after drying at 105oC)
	Quarterly - Electronic format specified by Natural Resources Wales 

	Operator Self Monitoring summary report
	Annually - Summary report of compliance with the monitoring programme specified in Table 3.1 and schedule 3B in a format specified by Natural Resources Wales  


Schedule 5 – Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A

	Permit Number
	BP0366401

	Name of operator
	Dŵr Cymru Cyfyngedig

	Location of Facility
	Llys y Fran Wastewater Treatment Works, Llys y Fran, Clarbeston Road, Pembrokeshire, SA63 4RS

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques,  accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection unless otherwise agreed in writing by the Natural Resources Wales.

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released/type or nature of sewage released
	

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	

	Best estimate of the environmental impact of the discharge
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit specified in schedule 3 table S3.1 including individual exceedances of limits which are covered by condition 3.1.2

	The information specified below is to be notified to Natural Resources Wales as soon as reasonably practicable following detection.

	Monitoring point reference/ source
	

	Self monitoring regime (where relevant)
	e.g. OSM


	Type of failure 
	e.g. LUT failure/LUT exceedance

	Date of sample/event
	

	Parameter
	

	Result and units
	

	Limit and units
	


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales

	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator

Schedule 6 – Interpretation 

“abnormal operating conditions” include but are not limited to, the circumstances described in Regulation 40(1) of, or paragraph 6(5) of Schedule 21 to, the Environmental Permitting Regulations 2016 (illegal discharge to sewer), unusual weather, or during a defined period where the permit authorising the permitted activity has been varied for reasons such as capital works construction.
“accident” means an accident that may result in pollution.

"annually" means once every year.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

For the activities A1 to A2 referenced in schedule 1, table S1.1 “appropriate measures” for the purposes of the emission of substances not controlled by emission limits condition (condition 3.2.1) do not require the operator to undertake treatment to a level beyond that specified in schedule 1 table S1.1, or to carry out routine monitoring for substances not controlled by emission limits.

 “ATU-BOD as O2” means the biochemical oxygen demand (measured after 5 days at 20oC with nitrification suppressed by the addition of allylthiourea).

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“MCERTS” means the Natural Resources Wales’ Monitoring Certification Scheme.

“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“significant pollution” means a high level impact incident as indicated by NRW incident classification system.
“unusual weather conditions” includes, but is not limited to:

· low ambient temperatures, or the freezing of mechanical equipment in the works;

· significant snow deposits;

· tidal or fluvial flooding;

· weather conditions causing unforeseen loss of power supply to the sewage treatment that could not be ameliorated by the reasonable provision and operation of standby generation facilities.
“year” means calendar year ending 31 December.

[image: image2.png]or

Lys-y-fran

Temporary
Discharge &
Sample Point




Schedule 7 – Site plans
[image: image3.png]Lys-y-tran

sample Point

Discharge point





© Crown Copyright and database right 2020. Ordnance Survey licence number 100019741.

END OF PERMIT
	Variation and consolidation application number PAN-007498 
	Page i
-  -
- i -
- i -i



