| Permit Number: | PAN-004768 |
| --- | --- |
| Applicant name: | Mr Ralph Bradley |
| Site Address: | The Old School, Glascwm, Llandrindod Wells, Powys, LD1 5SE |
| Discharge Point NGR: | SO 15820 53211 |
| Respond by date: | 21/03/2019 (10 working days) |
| Permitting Officer: | Asta Smith |

Brief Description of proposal:

Permitting application for consultation – discharge to surface water of 1 cubic metres per day of domestic sewage.  The treatment system will be a package treatment plant built to British Standards and will serve a 1 bedroom house, previously a youth hostel, discharging into an unnamed tributary of the Clas Brook.  It will replace a septic tank which is unsuitable as it is too close to the property boundary.

The applicant does not qualify for an exemption as they are within screening distance of a SSSI.

Habitats Screening Report – Designations or protected species/habitats:

There is 1 designation within screening distance: The Glascwm and Gladestry Hills SSSI which is 190metres away from the discharge point.  However, as the SSSI is upstream of the SSSI, there is no hydrological connection so I will be completing an Appendix 4 to be filed for audit.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling has been conducted.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

No comment to add.  Thank you

Officers name: Julia Lloyd
Date: 07/03/19

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

No comments to make as no impacts on the SSSI. There is no need to consult the team on the Appendix 4.

Officers name:Ken Perry, Senior Conservation Officer
Date:6/3/19

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: